{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Лист1","Лист2","Лист3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":53,"n_cols":87,"rows_kept":53,"cut":false,"hidden":false,"merged":[[21,50,21,51],[21,57,21,58],[21,64,21,65],[21,71,21,72],[21,78,21,79],[21,85,21,86],[19,52,19,58],[18,45,18,86],[23,0,47,0],[19,45,19,51],[20,50,20,51],[20,57,20,58],[21,2,21,3],[21,5,21,6],[21,8,21,9],[21,11,21,12],[21,18,21,19],[21,24,21,25],[21,29,21,30],[21,33,21,34],[21,42,21,43],[21,38,21,39],[18,14,18,34],[19,14,19,19],[49,73,49,77],[50,73,50,77],[52,80,52,84],[17,45,17,86],[19,80,19,86],[20,85,20,86],[20,71,20,72],[19,73,19,79],[51,73,51,77],[52,73,52,77],[49,80,49,84],[50,80,50,84],[51,80,51,84],[20,78,20,79],[20,64,20,65],[19,66,19,72],[19,59,19,65],[49,45,49,49],[50,45,50,49],[51,45,51,49],[52,45,52,49],[49,52,49,56],[50,52,50,56],[51,52,51,56],[51,14,51,17],[51,20,51,23],[51,26,51,28],[52,36,52,37],[52,40,52,41],[49,40,49,41],[50,36,50,37],[50,40,50,41],[49,66,49,70],[50,66,50,70],[51,66,51,70],[52,66,52,70],[52,52,52,56],[49,59,49,63],[50,59,50,63],[51,59,51,63],[52,59,52,63],[49,36,49,37],[51,36,51,37],[51,40,51,41],[51,31,51,32],[52,14,52,17],[52,20,52,23],[52,26,52,28],[20,24,20,25],[20,29,20,30],[20,33,20,34],[17,36,17,43],[18,36,18,43],[19,36,19,39],[20,38,20,39],[20,42,20,43],[19,40,19,43],[52,31,52,32],[17,1,17,12],[18,1,18,12],[19,1,19,3],[19,4,19,6],[19,7,19,9],[19,10,19,12],[20,2,20,3],[20,5,20,6],[20,8,20,9],[20,11,20,12],[49,14,49,17],[49,20,49,23],[49,26,49,28],[49,31,49,32],[50,14,50,17],[50,20,50,23],[50,26,50,28],[50,31,50,32],[17,14,17,34],[19,20,19,25],[19,26,19,30],[19,31,19,34],[20,18,20,19]]}
["Напряжение",220,220,220,380]
["Аппарат","SH200L"]
["Модификация ","_"]
["Кол-во полюсов, шт","1P"]
["Тип кривой","C"]
["Тип диф. защиты"]
["Ном. диф. ток, mA"]
["Номинальный ток, A"]
["Отключ. способность"]
[]
["Ширина, мм",{"$f":"INDEX(B50:VV53,MATCH(A11,A50:A53,),MATCH(B2,B18:VV18,)+MATCH(B3,B19:VV19,)+MATCH(B4,B20:VV20,)+MATCH(B5,B21:VV21,)-3)","v":17.5}]
["Высота, мм",{"$f":"INDEX(B50:VV53,MATCH(A12,A50:A53,),MATCH(B2,B18:VV18,)+MATCH(B3,B19:VV19,)+MATCH(B4,B20:VV20,)+MATCH(B5,B21:VV21,)-3)","v":88}]
["Глубина, мм",{"$f":"INDEX(B50:VV53,MATCH(A13,A50:A53,),MATCH(B2,B18:VV18,)+MATCH(B3,B19:VV19,)+MATCH(B4,B20:VV20,)+MATCH(B5,B21:VV21,)-3)","v":69}]
["Масса, кг",{"$f":"INDEX(B50:VV53,MATCH(A14,A50:A53,),MATCH(B2,B18:VV18,)+MATCH(B3,B19:VV19,)+MATCH(B4,B20:VV20,)+MATCH(B5,B21:VV21,)-3)","v":0.125}]
[]
[]
[]
["Наименование АВ","SH200L",null,null,null,null,null,null,null,null,null,null,null,null,"S280_UC",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S200S",null,null,null,null,null,null,null,null,"S200"]
["Модификация аппарата","_",null,null,null,null,null,null,null,null,null,null,null,null,"_",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"_",null,null,null,null,null,null,null,null,"_"]
["Кол-во полюсов, шт","1P",null,null,"2P",null,null,"3P",null,null,"4P",null,null,null,"1P",null,null,null,null,null,"2P",null,null,null,null,null,"3P",null,null,null,null,"4P",null,null,null,null,"1P",null,null,null,"3P",null,null,null,null,"1P",null,null,null,null,null,null,"2P",null,null,null,null,null,null,"3P",null,null,null,null,null,null,"4P",null,null,null,null,null,null,"1P_N",null,null,null,null,null,null,"3P_N"]
["Тип кривой","C","Откл.",null,"C","Откл.",null,"C","Откл.",null,"C","Откл.",null,null,"B","C","K","Z","Откл.",null,"B","C","K","Z","Откл.",null,"C","K","Z","Откл.",null,"K","Z","Откл.",null,null,"B","C","Откл.",null,"B","C","Откл.",null,null,"B","C","D","K","Z","Откл.",null,"B","C","D","K","Z","Откл.",null,"B","C","D","K","Z","Откл.",null,"B","C","D","K","Z","Откл.",null,"B","C","D","K","Z","Откл.",null,"B","C","D","K","Z","Откл."]
["Тип диф. защиты","_","спос.",null,"_","спос.",null,"_","спос.",null,"_","спос.",null,null,"_","_","_","_","спос.",null,"_","_","_","_","спос.",null,"_","_","_","спос.",null,"_","_","спос.",null,null,"_","_","спос.",null,"_","_","спос.",null,null,"_","_","_","_","_","спос.",null,"_","_","_","_","_","спос.",null,"_","_","_","_","_","спос.",null,"_","_","_","_","_","спос.",null,"_","_","_","_","_","спос.",null,"_","_","_","_","_","спос."]
["Номин. диф. ток, мА","_",220,380,"_",220,380,"_",220,380,"_",220,380,null,"_","_","_","_",220,380,"_","_","_","_",220,380,"_","_","_",220,380,"_","_",220,380,null,"_","_",220,380,"_","_",220,380,null,"_","_","_","_","_",220,380,"_","_","_","_","_",220,380,"_","_","_","_","_",220,380,"_","_","_","_","_",220,380,"_","_","_","_","_",220,380,"_","_","_","_","_",220,380]
["Номинальный ток, А",null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-"]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-"]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-"]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-"]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-"]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-"]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,null,0.2,null,6,"-",null,null,0.2,null,"-",6,null,0.2,null,"-",6,0.2,null,"-",6,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-"]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,null,0.3,null,6,"-",null,null,0.3,null,"-",6,null,0.3,null,"-",6,0.3,null,"-",6,null,null,null,null,null,null,null,"-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-"]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,0.5,0.5,null,6,"-",null,0.5,0.5,null,"-",6,0.5,0.5,null,"-",6,0.5,null,"-",6,null,null,null,null,null,null,null,"-",null,null,null,0.5,0.5,0.5,null,10,"-",null,0.5,0.5,0.5,null,"-",10,null,0.5,0.5,0.5,null,"-",10,null,0.5,0.5,0.5,null,"-",10,null,0.5,0.5,0.5,null,10,"-",null,0.5,0.5,0.5,null,"-",10]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,1,0.75,0.5,6,"-",null,1,0.75,0.5,"-",6,1,0.75,0.5,"-",6,0.75,0.5,"-",6,null,null,null,null,null,null,null,"-",null,null,null,1,1,1,0.5,10,"-",null,1,1,1,0.5,"-",10,null,1,1,1,0.5,"-",10,null,1,1,1,0.5,"-",10,null,1,1,1,0.5,10,"-",null,1,1,1,0.5,"-",10]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,1.6,1,1,6,"-",null,1.6,1,1,"-",6,1.6,1,1,"-",6,1,1,"-",6,null,null,null,null,null,null,null,"-",null,null,null,1.6,1.6,1.6,1,10,"-",null,1.6,1.6,1.6,1,"-",10,null,1.6,1.6,1.6,1,"-",10,null,1.6,1.6,1.6,1,"-",10,null,1.6,1.6,1.6,1,10,"-",null,1.6,1.6,1.6,1,"-",10]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,2,1.6,1.6,6,"-",null,2,1.6,1.6,"-",6,2,1.6,1.6,"-",6,1.6,1.6,"-",6,null,null,null,null,null,null,null,"-",null,null,null,2,2,2,1.6,10,"-",null,2,2,2,1.6,"-",10,null,2,2,2,1.6,"-",10,null,2,2,2,1.6,"-",10,null,2,2,2,1.6,10,"-",null,2,2,2,1.6,"-",10]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,3,2,2,6,"-",null,3,2,2,"-",6,3,2,2,"-",6,2,2,"-",6,null,null,null,null,null,null,null,"-",null,null,null,3,3,3,2,10,"-",null,3,3,3,2,"-",10,null,3,3,3,2,"-",10,null,3,3,3,2,"-",10,null,3,3,3,2,10,"-",null,3,3,3,2,"-",10]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,4,3,3,6,"-",null,4,3,3,"-",6,4,3,3,"-",6,3,3,"-",6,null,null,null,null,null,null,null,"-",null,null,null,4,4,4,3,10,"-",null,4,4,4,3,"-",10,null,4,4,4,3,"-",10,null,4,4,4,3,"-",10,null,4,4,4,3,10,"-",null,4,4,4,3,"-",10]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,6,4,4,6,"-",null,6,4,4,"-",6,6,4,4,"-",6,4,4,"-",6,null,null,null,null,null,null,null,"-",null,null,null,6,6,6,4,10,"-",null,6,6,6,4,"-",10,null,6,6,6,4,"-",10,null,6,6,6,4,"-",10,null,6,6,6,4,10,"-",null,6,6,6,4,"-",10]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,8,6,6,6,"-",null,8,6,6,"-",6,8,6,6,"-",6,6,6,"-",6,null,null,null,null,null,null,null,"-",null,null,6,8,8,8,6,10,"-",6,8,8,8,6,"-",10,6,8,8,8,6,"-",10,6,8,8,8,6,"-",10,6,8,8,8,6,10,"-",6,8,8,8,6,"-",10]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,10,8,8,6,"-",null,10,8,8,"-",6,10,8,8,"-",6,8,8,"-",6,null,null,null,null,null,null,null,"-",null,null,10,10,10,10,8,10,"-",10,10,10,10,8,"-",10,10,10,10,10,8,"-",10,10,10,10,10,8,"-",10,10,10,10,10,8,10,"-",10,10,10,10,8,"-",10]
[null,null,null,"-",null,"-",null,null,"-",null,null,"-",null,null,null,13,10,10,6,"-",null,13,10,10,"-",6,13,10,10,"-",6,10,10,"-",6,null,null,null,null,null,null,null,"-",null,null,13,13,13,13,10,10,"-",13,13,13,13,10,"-",10,13,13,13,13,10,"-",10,13,13,13,13,10,"-",10,13,13,13,13,10,10,"-",13,13,13,13,10,"-",10]
[null,6,4.5,"-",6,"-",4.5,6,"-",4.5,6,"-",4.5,null,null,16,16,16,6,"-",null,16,16,16,"-",6,16,16,16,"-",6,16,16,"-",6,null,null,null,null,null,null,null,"-",null,null,16,16,16,16,16,10,"-",16,16,16,16,16,"-",10,16,16,16,16,16,"-",10,16,16,16,16,16,"-",10,16,16,16,16,16,10,"-",16,16,16,16,16,"-",10]
[null,10,4.5,"-",10,"-",4.5,10,"-",4.5,10,"-",4.5,null,null,20,20,20,6,"-",null,20,20,20,"-",6,20,20,20,"-",6,20,20,"-",6,null,null,6,6,"-",null,6,"-",6,null,20,20,20,20,20,10,"-",20,20,20,20,20,"-",10,20,20,20,20,20,"-",10,20,20,20,20,20,"-",10,20,20,20,20,20,10,"-",20,20,20,20,20,"-",10]
[null,16,4.5,"-",16,"-",4.5,16,"-",4.5,16,"-",4.5,null,6,25,25,25,6,"-",6,25,25,25,"-",6,25,25,25,"-",6,25,25,"-",6,null,6,8,6,"-",6,8,"-",6,null,25,25,25,25,25,10,"-",25,25,25,25,25,"-",10,25,25,25,25,25,"-",10,25,25,25,25,25,"-",10,25,25,25,25,25,10,"-",25,25,25,25,25,"-",10]
[null,20,4.5,"-",20,"-",4.5,20,"-",4.5,20,"-",4.5,null,10,32,32,32,6,"-",10,32,32,32,"-",6,32,32,32,"-",6,32,32,"-",6,null,10,10,6,"-",10,10,"-",6,null,32,32,32,32,32,10,"-",32,32,32,32,32,"-",10,32,32,32,32,32,"-",10,32,32,32,32,32,"-",10,32,32,32,32,32,10,"-",32,32,32,32,32,"-",10]
[null,25,4.5,"-",25,"-",4.5,25,"-",4.5,25,"-",4.5,null,16,40,40,40,6,"-",16,40,40,40,"-",6,40,40,40,"-",6,40,40,"-",6,null,13,13,6,"-",13,13,"-",6,null,40,40,40,40,40,10,"-",40,40,40,40,40,"-",10,40,40,40,40,40,"-",10,40,40,40,40,40,"-",10,40,40,40,40,40,10,"-",40,40,40,40,40,"-",10]
[null,32,4.5,"-",32,"-",4.5,32,"-",4.5,32,"-",4.5,null,20,50,50,50,4.5,"-",20,50,50,50,"-",4.5,50,50,50,"-",4.5,50,50,"-",4.5,null,16,16,6,"-",16,16,"-",6,null,50,50,50,50,50,10,"-",50,50,50,50,50,"-",10,50,50,50,50,50,"-",10,50,50,50,50,50,"-",10,50,50,50,50,50,10,"-",50,50,50,50,50,"-",10]
[null,40,4.5,"-",40,"-",4.5,40,"-",4.5,40,"-",4.5,null,25,63,63,63,4.5,"-",25,63,63,63,"-",4.5,63,63,63,"-",4.5,63,63,"-",4.5,null,20,20,6,"-",20,20,"-",6,null,63,63,63,63,63,10,"-",63,63,63,63,63,"-",10,63,63,63,63,63,"-",10,63,63,63,63,63,"-",10,63,63,63,63,63,10,"-",63,63,63,63,63,"-",10]
["Размеры:"]
["Ширина, мм",17.5,null,null,35,null,null,52.5,null,null,70,null,null,null,1,null,null,null,null,null,2,null,null,null,null,null,3,null,null,null,null,4]
["Высота, мм",88,null,null,88,null,null,88,null,null,88,null,null,null,1,null,null,null,null,null,2,null,null,null,null,null,3,null,null,null,null,4]
["Глубина, мм",69,null,null,69,null,null,69,null,null,69,null,null,null,1,null,null,null,null,null,2,null,null,null,null,null,3,null,null,null,null,4]
["Масса, кг",0.125,null,null,0.25,null,null,0.375,null,null,0.5,null,null,null,1,null,null,null,null,null,2,null,null,null,null,null,3,null,null,null,null,4]

{"sheet":"Лист2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Лист3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}