{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Ввод данных"],"not_rendered":{"charts":0,"images":3,"macros":1,"external_links":0,"defined_names":3,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Ввод данных","index":0,"n_rows":41,"n_cols":66,"rows_kept":41,"cut":false,"hidden":false,"merged":[[1,0,1,1]]}
[null,null,"Информировать за",0,"дней","(Всего ",{"$f":"AI40","v":{"$error":"#REF!"}},"приборов подлежащих поверке)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Сортировка",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"G7+20","v":"2015-07-22"}]
["Контроль за поверкой:",null,{"$f":"Y40","v":{"$error":"#REF!"}},{"$f":"IF(AB40=0,\" \",AB40)","v":{"$error":"#REF!"}},{"$f":"IF(AB40=0,\" \",\"шт. приборов\")","v":{"$error":"#REF!"}},"(Всего ",{"$f":"AP40","v":{"$error":"#REF!"}},"приборов подлежащих калибровке)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"0","v":0},null,"Ввод данных",null,null,"выб.",null,null,"неповер",null,null,"перечень",null,null,null,"В поверке","Подлежат калибровке","На хранении",null,null,"Оборудование "]
["даты ",{"$f":"Z40","v":{"$error":"#REF!"}},null,null,null,"(Всего ",{"$f":"AO40","v":{"$error":"#REF!"}},"единиц в резерве, на хранении )",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,null,null,1,null,null,1,null,null,1,null,null,null,1,1,1,null,null,1]
[{"$f":"IF(AA40=0,\" \",\"Приблизительные затраты на  поверку : \")","v":{"$error":"#REF!"}},null,null,{"$f":"AA41","v":{"$error":"#REF!"}},{"$f":"IF(AA40=0,\" \",\"руб\")","v":{"$error":"#REF!"}},"(Всего ",{"$f":"AX40","v":{"$error":"#REF!"}},"единиц телемеханики ,автоматики)"]
[null,"Руководитель:",{"$f":"LOOKUP(A7,#REF!,#REF!)","v":{"$error":"#REF!"}},null,null,"Итого:",{"$f":"SUM(G1:G4)","v":{"$error":"#REF!"}},"единиц оборудования КИП и А)"]
[{"$f":"LOOKUP(A7,#REF!,#REF!)","v":{"$error":"#REF!"}},null,{"$f":"LOOKUP(A7,#REF!,#REF!)&\" \"&LOOKUP(A7,#REF!,#REF!)&\" \"&LOOKUP(A7,#REF!,#REF!)","v":{"$error":"#REF!"}},null,null,"В их числе:",{"$f":"AQ40","v":{"$error":"#REF!"}},"СИ сданы в поверку "]
[3,{"$f":"IF(A7=0,\" \",\"Подразделение\")","v":"Подразделение"},{"$f":"IF(A7=0,\" \",#REF!)","v":{"$error":"#REF!"}},"Сегодня :",{"$f":"F7","v":"2015-07-02"},{"$f":"G7","v":"2015-07-02"},{"$f":"TODAY()","v":"2015-07-02"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"C7","v":{"$error":"#REF!"}}]
[null,null,null,null,null,"Электронный перечень КИП и А ",{"$f":"IF(A7=0,#REF!,\" \")","v":" "}]
["0бслуживание","Подразделение","Место установки","Номер измерений СИ","Номер измерений прибора","Заводской номер","Ориентировочная цена поверки","Наименование средств измерений","Тип ","Кол-во","Класс точности","Предел измерений","Периодичность поверки","Дата последней поверки","Место проведения поверки или потребность в СИ и СК",null,"Сроки проведения поверки",{"$f":"D1","v":0},null,null,null,null,null,null,"Внимание! срок поверки заканчивается!","Внимание! срок поверки истёк!","Текущие затраты на поверку","Кол-во приборов на поверку","Сортировка","Замена неиспр оборуд","Ввод данных","Выбор подразделения","всё","выб.","Выбор","сум","неповер","Неповереных","затраты","перечень","хранение","калибровка","Поверяется","В поверке","Подлежат калибровке","На хранении",null,null,"Оборудование ","Кол-во оборудования"]
[1,null,null,null,null,null,"Руб",null,null,"шт.",null,null,"лет",null,null,null,null,{"$f":"R9","v":0},null,null,null,null,null,null,null,null,null,null,0,null,0,1,null,1,null,null,1,1,null,1,null,null,null,1,1,1,null,null,1]
[null,"КИПиА","Цеховые",8,6,"0004",null,"Блок ручного управления","БРУ-107-3-3-24",1,0.2,"4-20 мА",1,"2014-10-01",null,{"$f":"N11+365*M11","v":"2015-10-01"},{"$f":"IF(P11>11111,P11,\"  \")","v":"2015-10-01"},{"$f":"R10","v":0},{"$f":"P11-R11","v":"2015-10-01"},{"$f":"TODAY()","v":"2015-07-02"},{"$f":"IF(S11<T11,Q11,\"ОК\")","v":"ОК"},{"$f":"IF(Q11<T11,Q11,\"-\")","v":"-"},{"$f":"IF(U11=0,\" \",U11)","v":"ОК"},"-",{"$f":"IF(W11>1000,W11,\" \")","v":"ОК"},"-",{"$f":"(G11*AB11)*IF(Y11=\"ОК\",0,1)","v":0},{"$f":"(J11)*IF(Y11=\"ОК\",0,1)*IF(D11=10,0,1)*IF(D11=11,0,1)","v":0},{"$f":"IF(AB11=0,0,1)","v":0},null,{"$f":"IF(B11=0,0,1)","v":1},{"$f":"IF(B11=$C$7,1,0)","v":{"$error":"#REF!"}},{"$f":"IF(C$7=\" \",AE11,0)","v":{"$error":"#REF!"}},{"$f":"(AG11+AF11)*AE11*IF(D11=10,0,1)*IF(D11=11,0,1)*IF(D11=12,0,1)","v":{"$error":"#REF!"}},{"$f":"AH11*J11","v":{"$error":"#REF!"}},{"$f":"AC11+AH11+AE11","v":{"$error":"#REF!"}},{"$f":"IF(AJ11=3,1,0)","v":{"$error":"#REF!"}},{"$f":"AK11*AI11","v":{"$error":"#REF!"}},{"$f":"AL11*G11","v":{"$error":"#REF!"}},{"$f":"AE11*(AG11+AF11)","v":{"$error":"#REF!"}},{"$f":"IF(D11=10,1,0)*J11*(AG11+AF11)*AE11","v":{"$error":"#REF!"}},{"$f":"IF(D11=11,1,0)*J11*(AG11+AF11)*AE11","v":{"$error":"#REF!"}},{"$f":"IF(G11=0,1,0)*AI11","v":{"$error":"#REF!"}},{"$f":"IF(G11=0,1,0)*AH11","v":{"$error":"#REF!"}},{"$f":"IF(AP11=0,0,1)","v":{"$error":"#REF!"}},{"$f":"IF(AO11=0,0,1)","v":{"$error":"#REF!"}},{"$f":"VALUE(AD11)","v":0},{"$f":"IF(AU11>0,1,0)","v":0},{"$f":"IF(D11=12,1,0)*(AF11+AG11)","v":{"$error":"#REF!"}},{"$f":"AW11*J11*(AG11+AF11)*AE11*IF(D11=10,0,1)*IF(D11=11,0,1)","v":{"$error":"#REF!"}},{"$f":"ISNUMBER(AD11)","v":false},{"$f":"IF(AD11=0,0,AY11)","v":0}]
[null,"КИПиА","Цеховые",8,6,"0005",null,"Блок ручного управления","БРУ-107-3-3-24",1,0.2,"4-20 мА",1,"2014-10-01",null,{"$f":"N12+365*M12","v":"2015-10-01"},{"$f":"IF(P12>11111,P12,\"  \")","v":"2015-10-01"},{"$f":"R11","v":0},{"$f":"P12-R12","v":"2015-10-01"},{"$f":"TODAY()","v":"2015-07-02"},{"$f":"IF(S12<T12,Q12,\"ОК\")","v":"ОК"},{"$f":"IF(Q12<T12,Q12,\"-\")","v":"-"},"ОК","-","ОК","-",{"$f":"(G12*AB12)*IF(Y12=\"ОК\",0,1)","v":0},{"$f":"(J12)*IF(Y12=\"ОК\",0,1)*IF(D12=10,0,1)*IF(D12=11,0,1)","v":0},{"$f":"IF(AB12=0,0,1)","v":0},null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Котельная","Горячее водоснабжение и отопление",8,6,"4056120104002331",null,"Блок управления микропроцессорный","ТРМ32-Щ4-01-RS",1,0.5,"-50-199,9°С",1,"2014-10-01",null,{"$f":"N13+365*M13","v":"2015-10-01"},{"$f":"IF(P13>11111,P13,\"  \")","v":"2015-10-01"},{"$f":"R12","v":0},{"$f":"P13-R13","v":"2015-10-01"},{"$f":"TODAY()","v":"2015-07-02"},{"$f":"IF(S13<T13,Q13,\"ОК\")","v":"ОК"},{"$f":"IF(Q13<T13,Q13,\"-\")","v":"-"},"ОК","-","ОК","-",{"$f":"(G13*AB13)*IF(Y13=\"ОК\",0,1)","v":0},{"$f":"(J13)*IF(Y13=\"ОК\",0,1)*IF(D13=10,0,1)*IF(D13=11,0,1)","v":0},{"$f":"IF(AB13=0,0,1)","v":0},null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Цех переработки сухого молока","Установка \"ВИГАНД\"",4,3,"б/н",null,"Вакуумметр показывающий","ВПЗ-УУ2",2,1.5,"-1-0 кгс/см2",1,"2014-10-01",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Диетцех","Пастеризационная установка (10 тонная)",6,5,"43142085",null,"Ввинчивающийся термометр сопротивления с прямой защитной трубкой","902030/10",1,0.5,"-50-500 °С",2,null,null,{"$f":"N15+365*M15","v":"1901-12-30"},{"$f":"IF(P15>11111,P15,\"  \")","v":"  "},{"$f":"R14","v":0},{"$f":"P15-R15","v":"1901-12-30"},{"$f":"TODAY()","v":"2015-07-02"},{"$f":"IF(S15<T15,Q15,\"ОК\")","v":"  "},{"$f":"IF(Q15<T15,Q15,\"-\")","v":"-"},{"$f":"IF(U15=0,\" \",U15)","v":"  "},{"$f":"IF(V15=0,\" \",V15)","v":"-"},{"$f":"IF(W15>1000,W15,\" \")","v":"  "},{"$f":"IF(X15>1000,X15,\" \")","v":"-"},{"$f":"(G15*AB15)*IF(Y15=\"ОК\",0,1)","v":0},{"$f":"(J15)*IF(Y15=\"ОК\",0,1)*IF(D15=10,0,1)*IF(D15=11,0,1)","v":1},{"$f":"IF(AB15=0,0,1)","v":1},null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Диетцех","Пастеризационная установка (10 тонная)",6,5,"43142090",null,"Ввинчивающийся термометр сопротивления с прямой защитной трубкой","902030/10",1,0.5,"-50-500 °С",2,null,null,"1901-12-30","  ",0,"1901-12-30","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Диетцех","Пастеризационная установка (10 тонная)",6,5,"31142035",null,"Ввинчивающийся термометр сопротивления с прямой защитной трубкой","902030/10",1,0.5,"-50-500 °С",2,null,null,"1901-12-30","  ",0,"1901-12-30","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Диетцех","Пастеризационная установка (10 тонная)",6,5,"43142096",null,"Ввинчивающийся термометр сопротивления с прямой защитной трубкой","902030/10",1,0.5,"-50-500 °С",2,null,null,"1901-12-30","  ",0,"1901-12-30","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Диетцех","Пастеризационная установка (10 тонная)",6,5,"41142057",null,"Ввинчивающийся термометр сопротивления с прямой защитной трубкой","902030/10",1,0.5,"-50-500 °С",2,null,null,"1901-12-30","  ",0,"1901-12-30","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Сырцех","Общецеховые",2,1,"00488",null,"Весы платформенные электронные","2HFS 1215",1,"d=50 г","0-2000 кг",1,null,null,"1900-12-30","  ",0,"1900-12-30","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Сырцех","Общецеховые",2,1,"80544051858",null,"Весы платформенные электронные","JPS-6000Т",1,"d=5 г","0-60 кг",1,null,null,"1900-12-30","  ",0,"1900-12-30","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Цех заготовки молока","Приемная молока",2,1,"0024",null,"Весы суммирующие дискретного действия","ДУЭТ-25",1,0.1,"0-25 тн/ч",1,"2013-07-01",null,"2014-07-01","2014-07-01",0,"2014-07-01","2015-07-02","2014-07-01","2014-07-01","2014-07-01","2014-07-01","2014-07-01","2014-07-01",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Сырцех","Общецеховые",2,1,"б/н",null,"Весы товарные электронные","ВЕСТ-60А12Е",1,"d=20 г","0,4-60 кг",1,null,null,"1900-12-30","  ",0,"1900-12-30","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Маслоцех","Цеховые",2,1,"051",null,"Весы товарные электронные","ВЕСТ-150А12Е",1,"d=50 г","1-150 кг",1,null,null,"1900-12-30","  ",0,"1900-12-30","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Маслоцех","Цеховые",2,1,"121",null,"Весы товарные электронные","ВЕСТ-60А12",1,"d=20 г","0,4-60 кг",1,null,null,"1900-12-30","  ",0,"1900-12-30","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Сырцех","Пастеризационная установка",8,6,"12048",null,"Восьмиканальный измеритель","Д-ИТ-4ТС-4АТ-ЭЗА-RSM-Н3-2И",1,0.5,"ТСМ,ТСП,     4-20 мА",1,"2014-10-01",null,"2015-10-01","2015-10-01",0,"2015-10-01","2015-07-02","ОК","-","ОК","-","ОК","-",0,0,0,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Сырцех","Пастеризационная установка",8,6,"13043",null,"Восьмиканальный измеритель","Д-ИТ-8ТС-ЭЗА-RSM-H3-2И",1,0.2,"ТСМ,ТСП",1,"2014-10-01",null,"2015-10-01","2015-10-01",0,"2015-10-01","2015-07-02","ОК","-","ОК","-","ОК","-",0,0,0,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Цех заготовки молока","СИП-мойка",8,6,"13045",null,"Восьмиканальный измеритель","Д-ИТ-8АТ-ЭЗА-RSM-Н3-2И",1,0.5,"4-20 мА",1,"2014-10-01",null,"2015-10-01","2015-10-01",0,"2015-10-01","2015-07-02","ОК","-","ОК","-","ОК","-",0,0,0,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Цех заготовки молока","СИП-мойка",8,6,"13044",null,"Восьмиканальный измеритель","Д-ИТ-8АТ-ЭЗА-RSM-Н3-2И",1,0.5,"4-20 мА",1,"2014-10-01",null,"2015-10-01","2015-10-01",0,"2015-10-01","2015-07-02","ОК","-","ОК","-","ОК","-",0,0,0,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Цех заготовки молока","СИП-мойка",8,6,"13041",null,"Восьмиканальный измеритель","Д-ИТ-8АТ-ЭЗА-RSM-Н3-2И",1,0.5,"4-20 мА",1,"2014-10-01",null,"2015-10-01","2015-10-01",0,"2015-10-01","2015-07-02","ОК","-","ОК","-","ОК","-",0,0,0,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Котельная","Щит регулирования",5,4,"100923",null,"Газоанализатор стационарный","ОКСИ 5С-02/СО",1,5,"0,1-10%",0.5,null,null,"1900-06-30T12:00:00","  ",0,"1900-06-30T12:00:00","2015-07-02","  ","-","  ","-","  ","-",0,1,1,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Цех переработки сухого молока","ВВУ",4,3,"813275",null,"Датчик гидростатического давления","САПФИР-22ДГ-2530",1,0.25,"0-25 кПа",2,"2014-10-01",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Цех переработки сухого молока","ВВУ",4,3,"460752",null,"Датчик гидростатического давления","САПФИР-22ДГ-2530",1,0.25,"0-25 кПа",2,"2014-10-01",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Котельная","Деаэратор",4,3,"12040254",null,"Датчик давления","LBP83000NT",1,0.5,"0-10 бар",1,"2014-10-01",null,{"$f":"N34+365*M34","v":"2015-10-01"},{"$f":"IF(P34>11111,P34,\"  \")","v":"2015-10-01"},{"$f":"R33","v":0},{"$f":"P34-R34","v":"2015-10-01"},{"$f":"TODAY()","v":"2015-07-02"},{"$f":"IF(S34<T34,Q34,\"ОК\")","v":"ОК"},{"$f":"IF(Q34<T34,Q34,\"-\")","v":"-"},{"$f":"IF(U34=0,\" \",U34)","v":"ОК"},"-",{"$f":"IF(W34>1000,W34,\" \")","v":"ОК"},"-",{"$f":"(G34*AB34)*IF(Y34=\"ОК\",0,1)","v":0},{"$f":"(J34)*IF(Y34=\"ОК\",0,1)*IF(D34=10,0,1)*IF(D34=11,0,1)","v":0},{"$f":"IF(AB34=0,0,1)","v":0},null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Котельная","Котел №1",4,3,"12040355",null,"Датчик давления","LBP83000NT",1,0.5,"0-20 бар",1,"2014-10-01",null,{"$f":"N35+365*M35","v":"2015-10-01"},{"$f":"IF(P35>11111,P35,\"  \")","v":"2015-10-01"},{"$f":"R34","v":0},{"$f":"P35-R35","v":"2015-10-01"},{"$f":"TODAY()","v":"2015-07-02"},{"$f":"IF(S35<T35,Q35,\"ОК\")","v":"ОК"},{"$f":"IF(Q35<T35,Q35,\"-\")","v":"-"},"ОК","-","ОК","-",{"$f":"(G35*AB35)*IF(Y35=\"ОК\",0,1)","v":0},{"$f":"(J35)*IF(Y35=\"ОК\",0,1)*IF(D35=10,0,1)*IF(D35=11,0,1)","v":0},{"$f":"IF(AB35=0,0,1)","v":0},null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Котельная","Расходомеры пара",4,3,"131003591",null,"Датчик давления","МТ2088W",1,0.5,"0-1,6 МПа",1,"2013-11-01",null,{"$f":"N36+365*M36","v":"2014-11-01"},{"$f":"IF(P36>11111,P36,\"  \")","v":"2014-11-01"},{"$f":"R35","v":0},{"$f":"P36-R36","v":"2014-11-01"},{"$f":"TODAY()","v":"2015-07-02"},{"$f":"IF(S36<T36,Q36,\"ОК\")","v":"2014-11-01"},{"$f":"IF(Q36<T36,Q36,\"-\")","v":"2014-11-01"},"2014-11-01","2014-11-01","2014-11-01","2014-11-01",{"$f":"(G36*AB36)*IF(Y36=\"ОК\",0,1)","v":0},{"$f":"(J36)*IF(Y36=\"ОК\",0,1)*IF(D36=10,0,1)*IF(D36=11,0,1)","v":1},{"$f":"IF(AB36=0,0,1)","v":1},null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"Котельная","Расходомеры пара",4,3,"131003592",null,"Датчик давления","МТ2088W",1,0.5,"0-1,6 МПа",1,"2013-11-01",null,{"$f":"N37+365*M37","v":"2014-11-01"},{"$f":"IF(P37>11111,P37,\"  \")","v":"2014-11-01"},{"$f":"R36","v":0},{"$f":"P37-R37","v":"2014-11-01"},{"$f":"TODAY()","v":"2015-07-02"},{"$f":"IF(S37<T37,Q37,\"ОК\")","v":"2014-11-01"},{"$f":"IF(Q37<T37,Q37,\"-\")","v":"2014-11-01"},"2014-11-01","2014-11-01","2014-11-01","2014-11-01",{"$f":"(G37*AB37)*IF(Y37=\"ОК\",0,1)","v":0},{"$f":"(J37)*IF(Y37=\"ОК\",0,1)*IF(D37=10,0,1)*IF(D37=11,0,1)","v":1},{"$f":"IF(AB37=0,0,1)","v":1},null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[null,"КИПиА","Цеховые",4,3,"14101146",null,"Датчик давления","МИДА-ДИ-13П-01",1,0.5,"0-1,6 МПа",2,"2014-10-01",null,{"$f":"N38+365*M38","v":"2016-09-30"},{"$f":"IF(P38>11111,P38,\"  \")","v":"2016-09-30"},{"$f":"R37","v":0},{"$f":"P38-R38","v":"2016-09-30"},{"$f":"TODAY()","v":"2015-07-02"},{"$f":"IF(S38<T38,Q38,\"ОК\")","v":"ОК"},{"$f":"IF(Q38<T38,Q38,\"-\")","v":"-"},"ОК","-","ОК","-",{"$f":"(G38*AB38)*IF(Y38=\"ОК\",0,1)","v":0},{"$f":"(J38)*IF(Y38=\"ОК\",0,1)*IF(D38=10,0,1)*IF(D38=11,0,1)","v":0},{"$f":"IF(AB38=0,0,1)","v":0},null,1,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},0,0,{"$error":"#REF!"},{"$error":"#REF!"},false,0]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(AK40=0,\"Отлично\",\"Неповерены:\")","v":{"$error":"#REF!"}},{"$f":"IF(AL40=0,\"не просрочены.\",\"просрочены!\")","v":{"$error":"#REF!"}},{"$f":"AM40","v":{"$error":"#REF!"}},{"$f":"AL40","v":{"$error":"#REF!"}},null,null,null,null,null,null,{"$f":"SUM(AI11:AI39)","v":{"$error":"#REF!"}},{"$f":"SUM(AJ11:AJ39)","v":{"$error":"#REF!"}},{"$f":"SUM(AK11:AK39)","v":{"$error":"#REF!"}},{"$f":"SUM(AL11:AL39)","v":{"$error":"#REF!"}},{"$f":"SUM(AM11:AM39)","v":{"$error":"#REF!"}},null,{"$f":"SUM(AO11:AO39)","v":{"$error":"#REF!"}},{"$f":"SUM(AP11:AP39)","v":{"$error":"#REF!"}},{"$f":"SUM(AQ11:AQ39)","v":{"$error":"#REF!"}},{"$f":"SUM(AR11:AR39)","v":{"$error":"#REF!"}},null,null,null,null,null,{"$f":"SUM(AX11:AX39)","v":{"$error":"#REF!"}}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(AA40=0,\"  \",AA40)","v":{"$error":"#REF!"}}]