{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Лист1","Лист2","Лист3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":21,"n_cols":36,"rows_kept":21,"cut":false,"hidden":false,"merged":[[14,31,14,34],[14,35,15,35],[0,1,0,2],[0,3,0,4],[14,11,14,14],[14,15,14,18],[14,19,14,22],[14,23,14,26],[14,27,14,30],[0,6,0,9],[0,11,0,14],[0,16,0,19],[14,0,15,0],[14,1,15,1],[14,2,15,2],[14,3,14,6],[14,7,14,10],[11,0,13,0],[11,16,13,20],[11,11,13,15],[11,6,13,10],[11,1,13,5]]}
["Дата измерения","Название шахты",null,"Кабель"]
["Сопротивление изоляции жил кабеля, Мом","А-Б","А-З","Б-З","Шлейф, МОм"]
["№ пары "]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
["Примечание"]
[]
[]
["Дата","Шахта","Кабель","1 пара",null,null,null,"2 пара",null,null,null,"3 пара",null,null,null,"4 пара",null,null,null,"5 пара",null,null,null,"6 пара",null,null,null,"7 пара",null,null,null,"8 пара",null,null,null,"Прмечания"]
[null,null,null,"Шлейф","А-З","Б-З","А-Б","Шлейф","А-З","Б-З","А-Б","Шлейф","А-З","Б-З","А-Б","Шлейф","А-З","Б-З","А-Б","Шлейф","А-З","Б-З","А-Б","Шлейф","А-З","Б-З","А-Б","Шлейф","А-З","Б-З","А-Б","Шлейф","А-З","Б-З","А-Б"]
["Столбец1","Столбец2","Столбец3","Столбец4","Столбец5","Столбец6","Столбец7","Столбец8","Столбец9","Столбец10","Столбец11","Столбец12","Столбец13","Столбец14","Столбец15","Столбец16","Столбец17","Столбец18","Столбец19","Столбец20","Столбец21","Столбец22","Столбец23","Столбец24","Столбец25","Столбец26","Столбец27","Столбец28","Столбец29","Столбец30","Столбец31","Столбец32","Столбец33","Столбец34","Столбец35","Столбец36"]
["2015-07-14","Космонавтов","ТЗБ",null,7,2.5,7,null,0.7,0.5,0.4,null,400,280,300,null,380,340,2.2000000000000002,null,140,80,90,null,280,120,250,null,400,150,300,null,300,300,50,"Работает"]
["2015-07-15","1-Шахтная","ТЗА-1",null,"кор","зем","зем",null,9,6.5,0.6,null,3.6,1.2,3,null,6,4.5,1.2,null,12,2.5,8,null,9,2.8,5,null,"кор","зем","зем",null,9,2.6,7,"не работает"]
["2015-07-16","5-Дарьевская","МКС",45,4,6,8,66,77,88,89,null,5,0,5,55,45,8,9,45,34,56,70,567,98,87,45,45,78,89,9,78,89,54,43]
["2015-07-16","Валентиновская","ТЗА-3",34,56,78,43,26,90,46,89,2,7,53,67,34,78,34,67,93,90,34,50,560,23,7,8,null,2,8,9,59,37,45,37]

{"sheet":"Лист2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Лист3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}