{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Ввод данных","2","ПАСПОРТ"],"not_rendered":{"charts":0,"images":3,"macros":1,"external_links":0,"defined_names":4,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Ввод данных","index":0,"n_rows":12,"n_cols":37,"rows_kept":12,"cut":false,"hidden":false,"merged":[[1,0,1,1]]}
[null,null,"Информировать за",0,"дней","(Всего ",{"$f":"#REF!","v":{"$error":"#REF!"}},"приборов подлежащих поверке)"]
["Контроль за поверкой:",null,{"$f":"#REF!","v":{"$error":"#REF!"}},{"$f":"IF(#REF!=0,\" \",#REF!)","v":{"$error":"#REF!"}},{"$f":"IF(#REF!=0,\" \",\"шт. приборов\")","v":{"$error":"#REF!"}},"(Всего ",{"$f":"#REF!","v":{"$error":"#REF!"}},"приборов подлежащих калибровке)",null,null,null,null,null,null,null,"Ввод данных",null,null,"выб.",null,null,"неповер",null,null,"перечень",null,null,null,"В поверке","Подлежат калибровке","На хранении",null,null,"Оборудование "]
["даты ",{"$f":"#REF!","v":{"$error":"#REF!"}},null,null,null,"(Всего ",{"$f":"#REF!","v":{"$error":"#REF!"}},"единиц в резерве, на хранении )",null,null,null,null,null,null,null,0,null,null,1,null,null,1,null,null,1,null,null,null,1,1,1,null,null,1]
[{"$f":"IF(#REF!=0,\" \",\"Приблизительные затраты на  поверку : \")","v":{"$error":"#REF!"}},null,null,{"$f":"#REF!","v":{"$error":"#REF!"}},{"$f":"IF(#REF!=0,\" \",\"руб\")","v":{"$error":"#REF!"}},"(Всего ",{"$f":"#REF!","v":{"$error":"#REF!"}},"единиц телемеханики ,автоматики)"]
[null,"Руководитель:",{"$f":"LOOKUP(A7,#REF!,#REF!)","v":{"$error":"#REF!"}},null,null,"Итого:",{"$f":"SUM(G1:G4)","v":{"$error":"#REF!"}},"единиц оборудования КИП и А)"]
[{"$f":"LOOKUP(A7,#REF!,#REF!)","v":{"$error":"#REF!"}},null,{"$f":"LOOKUP(A7,#REF!,#REF!)&\" \"&LOOKUP(A7,#REF!,#REF!)&\" \"&LOOKUP(A7,#REF!,#REF!)","v":{"$error":"#REF!"}},null,null,"В их числе:",{"$f":"#REF!","v":{"$error":"#REF!"}},"СИ сданы в поверку "]
[3,{"$f":"IF(A7=0,\" \",\"Подразделение\")","v":"Подразделение"},{"$f":"IF(A7=0,\" \",#REF!)","v":{"$error":"#REF!"}},"Сегодня :",{"$f":"F7","v":"2015-07-22"},{"$f":"G7","v":"2015-07-22"},{"$f":"TODAY()","v":"2015-07-22"},null,null,null,null,null,null,null,null,null,{"$f":"C7","v":{"$error":"#REF!"}}]
[null,null,null,null,null,"Электронный перечень КИП и А ",{"$f":"IF(A7=0,#REF!,\" \")","v":" "}]
["0бслуживание","Подразделение","Место установки","Номер измерений СИ","Номер измерений прибора","Заводской номер","Ориентировочная цена поверки","Наименование средств измерений","Тип ","Кол-во","Класс точности","Предел измерений","Периодичность поверки","Дата последней поверки","Место проведения поверки или потребность в СИ и СК","Ввод данных","Выбор подразделения","всё","выб.","Выбор","сум","неповер","Неповереных","затраты","перечень","хранение","калибровка","Поверяется","В поверке","Подлежат калибровке","На хранении",null,null,"Оборудование ","Кол-во оборудования"]
[1,null,null,null,null,null,"Руб",null,null,"шт.",null,null,"лет",null,null,0,1,null,1,null,null,1,1,null,1,null,null,null,1,1,1,null,null,1]
[null,"Цех переработки сухого молока","ОСВ",4,3,"133318",null,"Преобразователь давления измерительный","S-11",1,0.5,"0-0,16 бар",2,"2013-09-01",null,{"$f":"IF(B11=0,0,1)","v":1},{"$f":"IF(B11=$C$7,1,0)","v":{"$error":"#REF!"}},{"$f":"IF(C$7=\" \",P11,0)","v":{"$error":"#REF!"}},{"$f":"(R11+Q11)*P11*IF(D11=10,0,1)*IF(D11=11,0,1)*IF(D11=12,0,1)","v":{"$error":"#REF!"}},{"$f":"S11*J11","v":{"$error":"#REF!"}},{"$f":"#REF!+S11+P11","v":{"$error":"#REF!"}},{"$f":"IF(U11=3,1,0)","v":{"$error":"#REF!"}},{"$f":"V11*T11","v":{"$error":"#REF!"}},{"$f":"W11*G11","v":{"$error":"#REF!"}},{"$f":"P11*(R11+Q11)","v":{"$error":"#REF!"}},{"$f":"IF(D11=10,1,0)*J11*(R11+Q11)*P11","v":{"$error":"#REF!"}},{"$f":"IF(D11=11,1,0)*J11*(R11+Q11)*P11","v":{"$error":"#REF!"}},{"$f":"IF(G11=0,1,0)*T11","v":{"$error":"#REF!"}},{"$f":"IF(G11=0,1,0)*S11","v":{"$error":"#REF!"}},{"$f":"IF(AA11=0,0,1)","v":{"$error":"#REF!"}},{"$f":"IF(Z11=0,0,1)","v":{"$error":"#REF!"}},{"$f":"VALUE(#REF!)","v":{"$error":"#REF!"}},{"$f":"IF(AF11>0,1,0)","v":{"$error":"#REF!"}},{"$f":"IF(D11=12,1,0)*(Q11+R11)","v":{"$error":"#REF!"}},{"$f":"AH11*J11*(R11+Q11)*P11*IF(D11=10,0,1)*IF(D11=11,0,1)","v":{"$error":"#REF!"}},{"$f":"ISNUMBER(#REF!)","v":false},{"$f":"IF(#REF!=0,0,AJ11)","v":{"$error":"#REF!"}}]
[null,"Котельная","Расходомеры пара",6,5,"131003591",null,"Датчик температуры","W2P-230 (Pt100)",1,0.5,"-50-450 °С",1,"2013-10-01",null,{"$f":"IF(B12=0,0,1)","v":1},{"$f":"IF(B12=$C$7,1,0)","v":{"$error":"#REF!"}},{"$f":"IF(C$7=\" \",P12,0)","v":{"$error":"#REF!"}},{"$f":"(R12+Q12)*P12*IF(D12=10,0,1)*IF(D12=11,0,1)*IF(D12=12,0,1)","v":{"$error":"#REF!"}},{"$f":"S12*J12","v":{"$error":"#REF!"}},{"$f":"#REF!+S12+P12","v":{"$error":"#REF!"}},{"$f":"IF(U12=3,1,0)","v":{"$error":"#REF!"}},{"$f":"V12*T12","v":{"$error":"#REF!"}},{"$f":"W12*G12","v":{"$error":"#REF!"}},{"$f":"P12*(R12+Q12)","v":{"$error":"#REF!"}},{"$f":"IF(D12=10,1,0)*J12*(R12+Q12)*P12","v":{"$error":"#REF!"}},{"$f":"IF(D12=11,1,0)*J12*(R12+Q12)*P12","v":{"$error":"#REF!"}},{"$f":"IF(G12=0,1,0)*T12","v":{"$error":"#REF!"}},{"$f":"IF(G12=0,1,0)*S12","v":{"$error":"#REF!"}},{"$f":"IF(AA12=0,0,1)","v":{"$error":"#REF!"}},{"$f":"IF(Z12=0,0,1)","v":{"$error":"#REF!"}},{"$f":"VALUE(#REF!)","v":{"$error":"#REF!"}},{"$f":"IF(AF12>0,1,0)","v":{"$error":"#REF!"}},{"$f":"IF(D12=12,1,0)*(Q12+R12)","v":{"$error":"#REF!"}},{"$f":"AH12*J12*(R12+Q12)*P12*IF(D12=10,0,1)*IF(D12=11,0,1)","v":{"$error":"#REF!"}},{"$f":"ISNUMBER(#REF!)","v":false},{"$f":"IF(#REF!=0,0,AJ12)","v":{"$error":"#REF!"}}]

{"sheet":"2","index":1,"n_rows":20,"n_cols":13,"rows_kept":20,"cut":false,"hidden":true,"merged":[]}
["Осталось до нового года",null,null,{"$f":"F1-L1","v":-932},"дней","2013-01-01",null,null,null,null,"сегодня",{"$f":"TODAY()","v":"2015-07-22"}]
[]
["январь","февраль","март","апрель","май","июнь","июль","август","сентябрь","октябрь","ноябрь","декабрь"]
[31,28,31,30,31,30,31,31,30,31,30,31,{"$f":"SUM(A4:L4)","v":365}]
[{"$f":"A4+D1","v":-901},{"$f":"B4+A5","v":-873},-842,-812,-781,-751,-720,-689,-659,-628,-598,-567]
[]
[null,"до нового года нужно",null,null,{"$f":"IF('Ввод данных'!D4=\"\",0,'Ввод данных'!D4)","v":{"$error":"#REF!"}},"рублей",null,{"$f":"'Ввод данных'!C7","v":{"$error":"#REF!"}}]
[]
[207733,207733,207733,207733,207733,214533,216533,256533,264533,264533,265333,270333]
[{"$f":"IF(A9=\" \",0,A9)","v":207733},{"$f":"IF(B9=\" \",0,B9)","v":207733},{"$f":"IF(C9=\" \",0,C9)","v":207733},207733,207733,214533,216533,256533,264533,264533,265333,270333]
[null,null,null,null,null,null,null,null,null,null,null,null,"Cумма"]
[{"$f":"A10-E7","v":{"$error":"#REF!"}},{"$f":"B10-A10","v":0},{"$f":"C10-B10","v":0},0,0,6800,2000,40000,8000,0,800,5000,{"$f":"SUM(A12:L12)","v":{"$error":"#REF!"}}]
[]
[{"$f":"A12/1000","v":{"$error":"#REF!"}},{"$f":"B12/1000","v":0},0,0,0,6.8,2,40,8,0,0.8,5]
[]
[{"$f":"A14+11","v":{"$error":"#REF!"}},16.813000000000002,33.200000000000003,22.43,27.59,34.229999999999997,49.3,13.8,37.9,35.799999999999997,14.8,27.897380000000005]
[]
[]
[]
[{"$f":"A14+11.9","v":{"$error":"#REF!"}},{"$f":"B14+11.9","v":11.9},11.9,11.9,11.9,18.7,13.9,51.9,19.899999999999999,11.9,12.700000000000001,16.899999999999999]

{"sheet":"ПАСПОРТ","index":2,"n_rows":47,"n_cols":6,"rows_kept":47,"cut":false,"hidden":false,"merged":[[8,2,8,3],[8,4,8,5],[0,3,0,5],[1,0,1,5],[2,1,2,5],[3,2,3,3],[3,4,3,5],[4,2,4,3],[4,4,4,5],[5,2,5,3],[5,4,5,5],[6,0,6,5],[7,2,7,3],[7,4,7,5],[9,2,9,3],[9,4,9,5],[10,2,10,3],[10,4,10,5],[11,2,11,3],[11,4,11,5],[12,2,12,3],[12,4,12,5],[13,2,13,3],[13,4,13,5],[14,2,14,3],[14,4,14,5],[15,2,15,3],[15,4,15,5],[16,2,16,3],[16,4,16,5],[17,2,17,3],[17,4,17,5],[18,2,18,3],[18,4,18,5],[19,2,19,3],[19,4,19,5],[20,2,20,3],[20,4,20,5],[28,0,28,1],[28,3,28,5],[29,0,29,1],[29,3,29,5],[21,0,21,5],[22,2,22,3],[23,2,23,3],[24,2,24,3],[25,2,25,3],[26,2,26,3]]}
["ООО \"НОВАТОР\"","Вид измерений:",4]
["П А С П О Р Т"]
["Наименование СИ:","Преобразователь давления измерительный"]
["Тип СИ:","S-11","Предел (диапазон) измерений:",null,"4-20 мА"]
["Заводской №:","133318","Периодичность поверки (месяцы):",null,2]
["Класс точности:",0.5,"Завод      изготовитель:",null,"Остается пустым'"]
["РЕЗУЛЬТАТЫ ПОВЕРКИ"]
["Дата                       поверки","Заключение                                       (годен, не годен)","Место                    оттиска",null,"Подпись                          поверителя"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["СВЕДЕНИЯ О РЕМОНТЕ"]
["Дата                  ремонта","Краткая характеристика","Фамилия производившего ремонт",null,"Степень сложности ремонта","Подпись мастера"]
[]
[]
[]
[]
[]
["Дата составления паспорта",null,null,"Паспорт составил"]
[{"$f":"TODAY()-83","v":"2015-04-30"},null,null,"________________Муждабаев Р.Э."]
[]
[]
[]
[]
[]
["01","(измерения геометрических величин)"]
["02","(измерения механических величин)"]
["03","(измерения параметров потока затрат, уровня и объема)"]
["04","(измерения давления и  вакуумные измерения)"]
["05","(измерения физико-химического состава и свойств)"]
["06","(теплофизические и температурные измерения)"]
["07","(измерение времени и частоты)"]
["08","(измерения электрических и магнитных величин)"]
["09","(радиотехнические и радиоэлектронные измерения)"]
["10","(измерения акустических величин)"]
["11","(оптико-физические измерения)"]
["12","(средства измерения медицинского назначения)"]