## Лист1
| Score: (2) - In Place / (1) - Partially In Place / (0) - Unable to meet Standard/NA / (-2) - Not In Place | Criticality | Status | Composite Score | Comments / Supporting Documents | 1
| Perimeter |  |  |  |  | 2
S | .... | 3 | 1 | 3 |  | 0
S | Is the height of the facility boundaries a minimum of 5 feet (1.5 meters)? | 3 | 0 | 0 |  | -2
S | When facilities cannot comply with the fencing requirements due to local laws or regulations, is the RSD notified? | 3 | -2 | -6
S | Is a guard patrol documentation system used in facilities without fencing that have routine guard patrols of the perimeter ? | 3 | 2 | 6
Signage
S | Have “No Trespassing” signs been posted stating that violators will be prosecuted according to local laws? | 1 | 1 | 1
Perimeter Alarms
S | If the facility is not allowed to have fencing are video motion detection CCTVs used to monitor the perimeter? | 1 |  | 0
Gates
S | Are all access points through the perimeter secured by locks, guards, alarms, cameras and/or other security hardware consistent with local fire and safety codes? | 2 |  | 0
S | Are open gates always attended? | 3 |  | 0
S | Are gates secured either electronically or with case hardened heavy-duty padlocks and chains? | 2 |  | 0
S | Are lighting levels sufficient for vehicle identification and access control? | 2 |  | 0
S | Is the gate material/construction the same level of protection as the perimeter fence? | 1 |  | 0
S | Are vehicle gates kept closed to prevent routine entry and exit by personnel? | 2 |  | 0
Building Entrance
S | Do all building entrances with direct access to the interior of the location from underground, a ramp, or a controlled parking structure conform to the same standards of access control as the primary entrance to the facility/grounds? | 3 |  | 0
Drainage

## Список задач
| Score: (2) - In Place / (1) - Partially In Place / (0) - Unable to meet Standard/NA / (-2) - Not In Place | Criticality | Status | Composite Score | Comments / Supporting Documents
S | Is the height of the facility boundaries a minimum of 5 feet (1.5 meters)? | 3 | 0 | 0
S | When facilities cannot comply with the fencing requirements due to local laws or regulations, is the RSD notified? | 3 | -2 | -6