{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["table","table2","copy-sheet"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"table","index":0,"n_rows":13,"n_cols":40,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
["Проба",null,"HCO3-","CO32-","Cl-","NO2","SO42-","NO3","F-","PO43-","Br-","I-","Сумма анионов","NH4","K+","Na+ ","Li+","Mg2+","Sr2+","Ba2+","Ca2+","Feобщ.","Mn","Сумма катио-нов","Si","H4SiO4 (расчет)","В","H3BO3 (расчет)","Сумма солей","Сухой остаток расчет. (с.о.расч.)","Сухой остаток эксп. (с.о.эксп.)","Превыш. с.о.эксп. над с.о.расч., мг/л","Превыш. с.о.эксп. над с.о.расч., %","Допустимое превышение","Расхождение между катионами и анионами, %","Допустимое расхождение, %","pH","Eh","УЭП","плотность"]
["4597-15","мг/л",2,2,162509,0.27,111,0.35,1.3,7.3709999999999998E-2,5.32,25,162656.31370999999,90,7818,44255,124,3225,1371,10,38743,0,0,95636,null,0,null,0,258292.31370999999,258291.31370999999,null,-258291.31370999999,{"$error":"#DIV/0!"},"5%",2.3285803230908542,2]
["кп1","мг-экв/л",3.2777589306639265E-2,6.6656279396460724E-2,4583.7869855865511,5.8696290177067149E-3,2.3110170973625257,5.6452614481869836E-3,6.8421052631578952E-2,2.328328789970276E-3,6.6578229419567994E-2,0.19699868562476952,4586.543277739549,4.9893283809629407,199.93862206536753,1924.984123393853,17.864860971041637,265.3010858835143,31.294225062771055,0.14563460278162091,1933.2834331337326,0,0,4377.8013134940247]
[null,"%-экв",7.1464689902138044E-4,1.4533010016491521E-3,99.939904804422639,1.2797500562557708E-4,5.0386902671972537E-2,1.2308313922569631E-4,1.4917781973988015E-3,5.0764347984475556E-5,1.4515992848623176E-3,4.2951450296106041E-3,100.00000000000001,0.11396881730525231,4.5671013311883693,43.971482156130072,0.40807838665440199,6.0601445082890564,0.71483886137798269,3.3266608590188976E-3,44.16105927819585,0,0,100]
["4597-15","мг/л",4,4,162509,0.27,111,0.35,1.3,7.3709999999999998E-2,5.32,25,162660.31370999999,90,7818,44255,124,3225,1371,10,38743,0,0,95636,null,0,null,0,258296.31370999999,258294.31370999999,null,-258294.31370999999,{"$error":"#DIV/0!"},"5%",2.3296636972625286,2]
["рп1","мг-экв/л",6.5555178613278531E-2,0.13331255879292145,4583.7869855865511,5.8696290177067149E-3,2.3110170973625257,5.6452614481869836E-3,6.8421052631578952E-2,2.328328789970276E-3,6.6578229419567994E-2,0.19699868562476952,4586.6427116082523,4.9893283809629407,199.93862206536753,1924.984123393853,17.864860971041637,265.3010858835143,31.294225062771055,0.14563460278162091,1933.2834331337326,0,0,4377.8013134940247]
[null,"%-экв",1.4292628123696248E-3,2.9065389910472657E-3,99.937738206325207,1.2797223125427613E-4,5.0385810333855176E-2,1.2308047090521117E-4,1.4917458571258085E-3,5.0763247463717861E-5,1.4515678156283318E-3,4.2950519151227773E-3,99.999999999999957,0.11396881730525231,4.5671013311883693,43.971482156130072,0.40807838665440199,6.0601445082890564,0.71483886137798269,3.3266608590188976E-3,44.16105927819585,0,0,100]
["45977-15","мг/л",0,0,162509,0.27,111,0.35,1.3,7.3709999999999998E-2,5.32,25,162652.31370999999,90,7818,44255,124,3225,1371,10,38743,0,0,95636,null,0,null,0,258288.31370999999,258288.31370999999,null,-258288.31370999999,{"$error":"#DIV/0!"},"5%",2.3274969248850126,2]
["рп2","мг-экв/л",0,0,4583.7869855865511,5.8696290177067149E-3,2.3110170973625257,5.6452614481869836E-3,6.8421052631578952E-2,2.328328789970276E-3,6.6578229419567994E-2,0.19699868562476952,4586.4438438708457,4.9893283809629407,199.93862206536753,1924.984123393853,17.864860971041637,265.3010858835143,31.294225062771055,0.14563460278162091,1933.2834331337326,0,0,4377.8013134940247]
[null,"%-экв",0,0,99.942071496463541,1.2797778011717446E-4,5.0387995057453581E-2,1.2308580766187953E-4,1.4918105390740654E-3,5.0765448552951732E-5,1.4516307554608061E-3,4.2952381481358654E-3,99.999999999999972,0.11396881730525231,4.5671013311883693,43.971482156130072,0.40807838665440199,6.0601445082890564,0.71483886137798269,3.3266608590188976E-3,44.16105927819585,0,0,100]
["45977-15","мг/л",1,2,162509,0.27,111,0.35,1.3,7.3709999999999998E-2,5.32,25,162655.31370999999,90,7818,44255,124,3225,1371,10,38743,0,0,95636,null,0,null,0,258291.31370999999,258290.81370999999,null,-258290.81370999999,{"$error":"#DIV/0!"},"5%",2.3284017579151413,2]
["кп2","мг-экв/л",1.6388794653319633E-2,6.6656279396460724E-2,4583.7869855865511,5.8696290177067149E-3,2.3110170973625257,5.6452614481869836E-3,6.8421052631578952E-2,2.328328789970276E-3,6.6578229419567994E-2,0.19699868562476952,4586.5268889448953,4.9893283809629407,199.93862206536753,1924.984123393853,17.864860971041637,265.3010858835143,31.294225062771055,0.14563460278162091,1933.2834331337326,0,0,4377.8013134940247]
[null,"%-экв",3.5732472631572827E-4,1.453306194652979E-3,99.940261914413966,1.2797546291191568E-4,5.0387082716834619E-2,1.2308357903218669E-4,1.4917835278911629E-3,5.076452937804306E-5,1.4516044717854896E-3,4.2951603772258262E-3,100,0.11396881730525231,4.5671013311883693,43.971482156130072,0.40807838665440199,6.0601445082890564,0.71483886137798269,3.3266608590188976E-3,44.16105927819585,0,0,100]

{"sheet":"table2","index":1,"n_rows":1,"n_cols":40,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["Проба",null,"HCO3-","CO32-","Cl-","NO2","SO42-","NO3","F-","PO4 3-","Br-","I-","Сумма анионов","NH4","K+","Na+ ","Li+","Mg2+","Sr2+","Ba2+","Ca2+","Feобщ.","Mn","Сумма катио-нов","Si","H4SiO4 (расчет)","В","H3BO3 (расчет)","Сумма солей","Сухой остаток расчет. (с.о.расч.)","Сухой остаток эксп. (с.о.эксп.)","Превыш. с.о.эксп. над с.о.расч., мг/л","Превыш. с.о.эксп. над с.о.расч., %","Допустимое превышение","Расхождение между катионами и анионами, %","Допустимое расхождение, %","pH","Eh","УЭП","плотность"]

{"sheet":"copy-sheet","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}