{"text_format":"1","workbook":"xlsx","n_sheets":6,"sheets":["Лист1","Дано","ДО","РНС","ДМТР","Сводная"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":2,"n_cols":6,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,"Путь открытия файла:",null,null,"C:\\"]

{"sheet":"Дано","index":1,"n_rows":33,"n_cols":25,"rows_kept":33,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,1,2,3,"4.1","4.2",5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23]
[null,1,"УКС","ДО",1264329,null,"12-070406","Короб СП 100х50 П-2,0 УТ2,5","Короб СП 100х50 П-2,0 УТ2,5",null,"ШТ",12,"2017-01-01",457,null,"2017-02-01","Договор РСН-0130/16 (Короб прямой СП 100х50 УТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,2,"УКС","ДО",1196485,null,"12-070100","Стойка кабельная К1150 цУТ1,5  ХЛ1","Стойка кабельная К1150 цУТ1,5  ХЛ1",null,"ШТ",323,"2017-01-01",54.6,null,"2017-02-01","Договор РСН-0092/14 (Стойка кабельная К1150-ЦУТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,3,"УКС","ДО",1009235,null,"12-070100","Стойка кабельная К1151-ЦУТ1,5","Стойка кабельная К1151-ЦУТ1,5",null,"ШТ",343,"2017-01-01",53.69,null,"2017-02-01","Договор РСН-0092/14 (Стойка кабельная К1151-ЦУТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,4,"УКС","РНС",1196487,null,"12-070100","Стойка кабельная К1152 цУТ1,5  ХЛ1","Стойка кабельная К1152 цУТ1,5 ХЛ1",null,"ШТ",12,"2017-01-01",110.6,null,"2017-02-01","Договор РСН-0092/14 (Стойка кабельная К1152-ЦУТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,5,"УКС","РНС",1009236,null,"12-070100","Стойка кабельная К1153 цУТ1,5","Стойка кабельная К1153 цУТ1,5",null,"ШТ",12,"2017-01-01",161,null,"2017-02-01","Договор РСН-0092/14 (Стойка кабельная К1153 цУТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,6,"УКС","ДО",1196490,null,"12-070403","Полка кабельная К1163 цУТ1,5 ХЛ1","Полка кабельная К1163 цУТ1,5 ХЛ1",null,"ШТ",23,"2017-01-01",65.8,null,"2017-02-01","Договор РСН-0092/14 (Полка кабельная К1163 цУТ1,5 ХЛ1)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,7,"УКС","ДМТР",1175452,null,"12-070402","Лоток перфорированный ЛМ 400х100 УТ1,5","Лоток перфорированный ЛМ 400х100 УТ1,5",null,"ШТ",32,"2017-01-01",1126.99,null,"2017-02-01","Договор РСН-0904/15 (Лоток ЛМ 400х100 УХЛ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,8,"УКС","ДМТР",1523779,null,"12-070402","Крышка КЛ400ц УТ1,5","Крышка лотка КЛ400ц УТ1,5",null,"ШТ",44,"2017-01-01",732.28,null,"2017-02-01","ДоговорРСН-0126/16 (Крышка КЛ 400 УХЛ1)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,9,"УКС","ДО",1145716,null,"12-070402","Лоток глухой ЛМГ 400Х65УХЛ2,5","Лоток глухой ЛМГ 400Х65 УХЛ2,5",null,"ШТ",54,"2017-01-01",1207.71,null,"2017-02-01","ДоговорРСН-0126/16 (Лоток ЛМГ 400Х65 УХЛ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,10,"УКС","ДО",1214263,null,"12-070402","Лоток перфорированный ЛМ 100х65 УТ1,5","Лоток перфорированный ЛМ 100х65 УТ1,5",null,"ШТ",66,"2017-01-01",307.8,null,"2017-02-01","ДоговорРСН-0126/16 (Лоток перфорированный ЛМ 100Х65УХЛ2,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,11,"УКС","ДМТР",1214261,null,"12-070402","Крышка КЛ 100 УТ1,5","Крышка КЛ 100 УТ1,5",null,"ШТ",33,"2017-01-01",126.9,null,"2017-02-01","ДоговорРСН-0126/16 (Крышка КЛ 100 УХЛ1)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,12,"УКС","ДМТР",1818011,null,"12-070402","Лоток ЛМ 200х65 цУТ1,5","Лоток прямой перфорированный ЛМ 200х65 цУТ1,5",null,"ШТ",12,"2017-01-01",445.5,null,"2017-02-01","ДоговорРСН-0126/16 (Лоток перфорированный ЛМ 200Х65 УТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,13,"УКС","ДО",1175459,null,"12-070402","Крышка КЛ 200 УТ1,5","Крышка КЛ 200 УТ1,5",null,"ШТ",3,"2017-01-01",210.59,null,"2017-02-01","ДоговорРСН-0126/16 (Крышка КЛ 200 УХЛ2,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,14,"УКС","ДО",1176288,null,"12-070402","Соединитель лотковый СЛ 240Х65 УТ1,5","Соединитель лотковый СЛ 240Х65 УТ1,5",null,"ШТ",11,"2017-01-01",15.62,null,"2017-02-01","ДоговорРСН-0126/16 (Соединитель лотковый СЛ 240Х65 УХЛ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]

{"sheet":"ДО","index":2,"n_rows":15,"n_cols":25,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[null,1,2,3,"4.1","4.2",5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23]
[null,1,"УКС","ДО",1264329,null,"12-070406","Короб СП 100х50 П-2,0 УТ2,5","Короб СП 100х50 П-2,0 УТ2,5",null,"ШТ",12,"2017-01-01",457,null,"2017-02-01","Договор РСН-0130/16 (Короб прямой СП 100х50 УТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,2,"УКС","ДО",1196485,null,"12-070100","Стойка кабельная К1150 цУТ1,5  ХЛ1","Стойка кабельная К1150 цУТ1,5  ХЛ1",null,"ШТ",323,"2017-01-01",54.6,null,"2017-02-01","Договор РСН-0092/14 (Стойка кабельная К1150-ЦУТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,3,"УКС","ДО",1009235,null,"12-070100","Стойка кабельная К1151-ЦУТ1,5","Стойка кабельная К1151-ЦУТ1,5",null,"ШТ",343,"2017-01-01",53.69,null,"2017-02-01","Договор РСН-0092/14 (Стойка кабельная К1151-ЦУТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,6,"УКС","ДО",1196490,null,"12-070403","Полка кабельная К1163 цУТ1,5 ХЛ1","Полка кабельная К1163 цУТ1,5 ХЛ1",null,"ШТ",23,"2017-01-01",65.8,null,"2017-02-01","Договор РСН-0092/14 (Полка кабельная К1163 цУТ1,5 ХЛ1)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,9,"УКС","ДО",1145716,null,"12-070402","Лоток глухой ЛМГ 400Х65УХЛ2,5","Лоток глухой ЛМГ 400Х65 УХЛ2,5",null,"ШТ",54,"2017-01-01",1207.71,null,"2017-02-01","ДоговорРСН-0126/16 (Лоток ЛМГ 400Х65 УХЛ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,10,"УКС","ДО",1214263,null,"12-070402","Лоток перфорированный ЛМ 100х65 УТ1,5","Лоток перфорированный ЛМ 100х65 УТ1,5",null,"ШТ",66,"2017-01-01",307.8,null,"2017-02-01","ДоговорРСН-0126/16 (Лоток перфорированный ЛМ 100Х65УХЛ2,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,13,"УКС","ДО",1175459,null,"12-070402","Крышка КЛ 200 УТ1,5","Крышка КЛ 200 УТ1,5",null,"ШТ",3,"2017-01-01",210.59,null,"2017-02-01","ДоговорРСН-0126/16 (Крышка КЛ 200 УХЛ2,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,14,"УКС","ДО",1176288,null,"12-070402","Соединитель лотковый СЛ 240Х65 УТ1,5","Соединитель лотковый СЛ 240Х65 УТ1,5",null,"ШТ",11,"2017-01-01",15.62,null,"2017-02-01","ДоговорРСН-0126/16 (Соединитель лотковый СЛ 240Х65 УХЛ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]

{"sheet":"РНС","index":3,"n_rows":9,"n_cols":25,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[null,1,2,3,"4.1","4.2",5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23]
[null,4,"УКС","РНС",1196487,null,"12-070100","Стойка кабельная К1152 цУТ1,5  ХЛ1","Стойка кабельная К1152 цУТ1,5 ХЛ1",null,"ШТ",12,"2017-01-01",110.6,null,"2017-02-01","Договор РСН-0092/14 (Стойка кабельная К1152-ЦУТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,5,"УКС","РНС",1009236,null,"12-070100","Стойка кабельная К1153 цУТ1,5","Стойка кабельная К1153 цУТ1,5",null,"ШТ",12,"2017-01-01",161,null,"2017-02-01","Договор РСН-0092/14 (Стойка кабельная К1153 цУТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]

{"sheet":"ДМТР","index":4,"n_rows":11,"n_cols":25,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[null,1,2,3,"4.1","4.2",5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23]
[null,7,"УКС","ДМТР",1175452,null,"12-070402","Лоток перфорированный ЛМ 400х100 УТ1,5","Лоток перфорированный ЛМ 400х100 УТ1,5",null,"ШТ",32,"2017-01-01",1126.99,null,"2017-02-01","Договор РСН-0904/15 (Лоток ЛМ 400х100 УХЛ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,8,"УКС","ДМТР",1523779,null,"12-070402","Крышка КЛ400ц УТ1,5","Крышка лотка КЛ400ц УТ1,5",null,"ШТ",44,"2017-01-01",732.28,null,"2017-02-01","ДоговорРСН-0126/16 (Крышка КЛ 400 УХЛ1)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,11,"УКС","ДМТР",1214261,null,"12-070402","Крышка КЛ 100 УТ1,5","Крышка КЛ 100 УТ1,5",null,"ШТ",33,"2017-01-01",126.9,null,"2017-02-01","ДоговорРСН-0126/16 (Крышка КЛ 100 УХЛ1)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]
[null,12,"УКС","ДМТР",1818011,null,"12-070402","Лоток ЛМ 200х65 цУТ1,5","Лоток прямой перфорированный ЛМ 200х65 цУТ1,5",null,"ШТ",12,"2017-01-01",445.5,null,"2017-02-01","ДоговорРСН-0126/16 (Лоток перфорированный ЛМ 200Х65 УТ1,5)","F","Отечественный производитель",null,"07.03.6.ВО.003_00.0000","Вахтовый жилой комплекс (ВЖК) 400 чел.","Материалы","2440-П","927105_РЕЧ"]

{"sheet":"Сводная","index":5,"n_rows":15,"n_cols":9,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[null,1,2,3,6,11,23,6,16]
[null,1,"УКС","ДО","Короб СП 100х50 П-2,0 УТ2,5","2017-01-01","927105_РЕЧ","Короб СП 100х50 П-2,0 УТ2,5","F"]
[null,2,"УКС","ДО","Стойка кабельная К1150 цУТ1,5  ХЛ1","2017-01-01","927105_РЕЧ","Стойка кабельная К1150 цУТ1,5  ХЛ1","F"]
[null,3,"УКС","ДО","Стойка кабельная К1151-ЦУТ1,5","2017-01-01","927105_РЕЧ","Стойка кабельная К1151-ЦУТ1,5","F"]
[null,6,"УКС","ДО","Полка кабельная К1163 цУТ1,5 ХЛ1","2017-01-01","927105_РЕЧ","Полка кабельная К1163 цУТ1,5 ХЛ1","F"]
[null,9,"УКС","ДО","Лоток глухой ЛМГ 400Х65УХЛ2,5","2017-01-01","927105_РЕЧ","Лоток глухой ЛМГ 400Х65УХЛ2,5","F"]
[null,10,"УКС","ДО","Лоток перфорированный ЛМ 100х65 УТ1,5","2017-01-01","927105_РЕЧ","Лоток перфорированный ЛМ 100х65 УТ1,5","F"]
[null,13,"УКС","ДО","Крышка КЛ 200 УТ1,5","2017-01-01","927105_РЕЧ","Крышка КЛ 200 УТ1,5","F"]
[null,14,"УКС","ДО","Соединитель лотковый СЛ 240Х65 УТ1,5","2017-01-01","927105_РЕЧ","Соединитель лотковый СЛ 240Х65 УТ1,5","F"]