{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Лист1","Лист2","Лист3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":72,"n_cols":22,"rows_kept":72,"cut":false,"hidden":false,"merged":[[0,7,2,7],[0,9,2,9],[0,5,2,5],[0,8,2,8],[0,3,2,3],[0,6,2,6],[0,0,2,0],[0,1,2,1],[0,2,2,2]]}
["№","код","Наименование товара",null,null,"Количество\nитого",null,"Цена (руб.)","Минимальный запас","Ед.\n изм","Склады",null," ",null," ",null," ",null," ",null," "]
["№","код","Наименование товара",null,null,"Количество\nитого",null,"Цена (руб.)","Минимальный запас","Ед.\n изм","2 инфекционное отделение",null,"Аптека (инвентарное) ФГБУ \"1472 ВМКГ\" МО РФ",null,"Гастроэнтерологическое отделение (на 30 коек)",null,"Гинекологическое отделение (на 20 коек)",null,"Инфекционное отделение",null,"Кардиологическое отделение (на 30 коек)"]
["№","код","Наименование товара",null,null,"Количество\nитого",null,"Цена (руб.)","Минимальный запас","Ед.\n изм","Кол-во","Сумма","Кол-во","Сумма","Кол-во","Сумма","Кол-во","Сумма","Кол-во","Сумма","Кол-во","Сумма"]
[null,494,"ИНВЕНТАРНОЕ"]
[null,1086,"АППАРАТЫ, ПРИБОРЫ  ДЛЯ ФУНКЦИОНАЛЬНЫХ ИССЛЕДОВАНИЙ"]
[1,450031,"Аппарат для исследования функции внешнего дыхания ср.кл. \"Прессотахоспирограф ПТС-14П-01\" с  перс. к",null,null,1,null,242550," ","комп."," "," "," "," "," "," "," "," "," "," "," "," "]
[2,450050,"Доплеркардиофон ДКФ-01",{"$f":"Sklad($K$2:$V$7,1)","v":"Аптека (инвентарное) ФГБУ \"1472 ВМКГ\" МО РФ"},{"$f":"Sklad($K$2:$V$7,2)","v":"Гинекологическое отделение (на 20 коек)"},2,null,23564.37," ","шт."," "," ",1,23564.37," "," ",1,23564.37," "," "," "," "]
[3,450313,"Комплекс аппаратно-программный суточного мониторирования ЭКГ и АД"," ",null,1,null,626915," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[4,"450313Б","Комплекс аппаратно-программный суточного мониторирования ЭКГ и АД \"БиПиЛаб\""," ",null,1,null,268117.5," ","комп."," "," "," "," "," "," "," "," "," "," "," "," "]
[5,450026,"Комплекс для проведения проб с физической нагрузкой -\"АСТРОКАРД ПОЛИСИСТЕМ ФС\""," ",null,1,null,336033.47," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[6,"450519Б","Комплекс реографический диагност. сиситемы DXNT \"Регина 2000\""," ",null,1,null,98293.16," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[7,"Т2450519П","Комплекс реографический для автом. оценки систем. и регион. кровотока \"Рео-Спектр\" НС 1005"," ",null,1,null,173107.29," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[8,"450313А","Комплекс суточного мониторирования ЭКГ и АД \"Валента\""," ",null,1,null,373022," ","комп."," "," "," "," "," "," "," "," "," "," "," "," "]
[9,450213,"Комплекс ЭКГ Shiller АТ-104, Швейцария"," ",null,1,null,484821.48," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[10,"450451В","Комплекс эхоэнцефалоскопический компьютеризированый 2-х канальный \"Эхоэнцефалоскоп-01-МБН\""," ",null,1,null,136638.69," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[11,450074,"Комплект мониторов комп. носимых суточ. мониторирования ЭКГ (малого класса)","Кардиологическое отделение (на 30 коек)",null,2,null,330362.52," ","шт."," "," "," "," "," "," "," "," "," "," ",1,289005.73]
[12,"Т2450635А","Монитор носимый суточного наблюдения автоматического измерения арт. давления и пульса МнСД","Кардиологическое отделение (на 30 коек)",null,1,null,154659.32," ","шт."," "," "," "," "," "," "," "," "," "," ",1,154659.32]
[17,"450106А","Реограф-полианализатор РГПА 6/12 \"Реан-поли\""," ",null,1,null,215136.24," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[18,450491,"Система анализа ЭКГ пациента в состоянии покоя  МАС 5000"," ",null,3,null,405928.77," ","комп."," "," "," "," "," "," "," "," "," "," "," "," "]
[19,"450171А","Система холтеровская мониторирования АД малого класса","Кардиологическое отделение (на 30 коек)",null,2,null,108648.31," ","шт."," "," "," "," "," "," "," "," "," "," ",1,62637.3]
[20,450195,"Спироанализатор \"Спиросифт SP-5000\" (Фукуда)"," ",null,1,null,60748.13," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[21,"Т2450591Д","Спирограф микропроцессорный СМП-21/01-Р-Д"," ",null,1,null,42120.76," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[22,"Т2450591Д","Спирограф микропроцессорный СМП-21/01-Р-Д с принтером"," ",null,1,null,38419.79," ","комп."," "," "," "," "," "," "," "," "," "," "," "," "]
[23,"450196А","Спирограф портативный \"Спиро Про\""," ",null,1,null,126075.75," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[24,"Т24505959","Спирометр CPFS-D/USB с принадлежностями (аппарат для исследования функции внешнего дыхания"," ",null,1,null,102137.05," ","комп."," "," "," "," "," "," "," "," "," "," "," "," "]
[25,"Т2450191Ф","Спирометр сухой портативный ССП"," ",null,1,null,14.25," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[26,"Т2450191 Ф","Спирометр сухой портативный ССП"," ",null,1,null,14.26," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[27,"Т2450191 Ф","Спирометр сухой портативный ССП"," ",null,1,null,14.26," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[28,"Т2450191 Ф","Спирометр сухой портативный ССП"," ",null,1,null,14.26," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[29,"Т2450191 Ф","Спирометр сухой портативный ССП"," ",null,1,null,14.26," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[30,"Т2450191 Ф","Спирометр сухой портативный ССП"," ",null,1,null,14.26," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[31,"450213А","Стресс-система кардиологическая CASE (велоэргометр для тестов eBike, с принадлежностями)"," ",null,1,null,889431.8," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[32,450250,"Устройство-спиротест для определения жизненой емкости легких УСПЦ-01"," ",null,2,null,3712.3," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[33,450453,"Цифровая система ЭЭГ \"Galileo Sirius\" (Италия)"," ",null,1,null,307673.46000000002," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[34,450494,"Электрокардиограф  12-кан. ЭК 12Кр-01-\"Р-Д\""," ",null,1,null,26809," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[35,450489,"Электрокардиограф  12-кан. ЭК 12Т-01-\"Р-Д\""," ",null,9,null,25180.73," ","комп."," "," "," "," "," "," "," "," ",1,26809,1,26809]
[36,450490,"Электрокардиограф  12-кан.ЭК 12Т-01-2Р-Д2"," ",null,1,null,26135.15," ","комп."," "," "," "," "," "," "," "," "," "," "," "," "]
[37,450485,"Электрокардиограф  6-12 канальный Cardiett-546"," ",null,1,null,237808.98," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[38,450487,"Электрокардиограф  Эк-12КР-01-РД"," ",null,1,null,33346.82," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[39,450495,"Электрокардиограф \" Юкард-100\""," ",null,5,null,28500," ","шт."," "," "," "," "," "," "," "," "," "," ",1,28500]
[40,"450510А","Электрокардиограф \"Heart Mirror Iко\""," ",null,4,null,32345.599999999999," ","шт."," "," "," "," "," "," "," "," ",1,37088," "," "]
[41,"450512А","Электрокардиограф \"Heart Screen 60G\""," ",null,1,null,55597.8," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[42,450512,"Электрокардиограф \"Heart Screen 80GL\""," ",null,3,null,63415.69," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[43,"450211Д","Электрокардиограф 1-кан. с сетевым питанием ЭК1Т-03М"," ",null,1,null,984.58," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[44,450212,"Электрокардиограф 1-кан. с сетевым питанием ЭК1Т-03М2"," ",null,2,null,1701.58," ","шт."," "," "," "," ",1,2418.58," "," "," "," ",1,984.58]
[45,450521,"Электрокардиограф 1-кан. ЭК-1Т-04 \"Аксион\""," ",null,1,null,16158.55," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[46,450493,"Электрокардиограф 3-6-ти канальный  \"Kenz-Cardio 1210\""," ",null,1,null,168852.35," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[47,450511,"Электрокардиограф 3-х канальный с тепловой записью \"Биосет-3000\"","Инфекционное отделение",null,1,null,35211.03," ","шт."," "," "," "," "," "," "," "," ",1,35211.03," "," "]
[48,450494,"Электрокардиограф 3/6 канальный  ЭКЗТЦ-3/6-04 \"АКСИОН\"","Инфекционное отделение",null,10,null,64350," ","шт."," "," "," "," ",1,64350," "," ",1,64350,1,64350]
[49,"450510А","Электрокардиограф 6-ти канальный \"Cardio Smart\" (Германия)"," ",null,1,null,59902.78," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[50,450514,"Электрокардиограф трехканальный \"Bioset-3500\""," ",null,2,null,56720.47," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[51,"Т2450520Э","Электрокардиограф ЭК-3-Т-01-\"Р-Д\" (миниатюрный) 1-3 канальный","Гинекологическое отделение (на 20 коек)",null,8,null,32918.15," ","шт."," "," "," "," "," "," ",1,32918.15," "," "," "," "]
[52,450489,"Электрокардиограф ЭК12Т-01-\"Р-Д\""," ",null,1,null,26135.15," ","шт."," "," "," "," ",1,26135.15," "," "," "," "," "," "]
[53,"450211 Д","Электрокардиограф ЭК1Т-03М с комб.пит."," ",null,1,null,984.58," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[54,450212,"Электрокардиограф ЭК1Т-03М2 с комбин. питанием"," ",null,1,null,984.58," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[55,450212,"Электрокардиограф ЭК1Т-03М2 с комбин. питанием"," ",null,1,null,984.58," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[56,450212,"Электрокардиограф ЭК1Т-03М2 с комбин. питанием"," ",null,1,null,984.58," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[57,450212,"Электрокардиограф ЭК1Т-03М2 с сетевым питанием"," ",null,1,null,984.58," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[58,"450211 Д","Электрокардиограф ЭК1Т-03М2 с сетевым питанием"," ",null,1,null,984.58," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[59,910750,"Электрокардиограф ЭК1Т-03М2 с сетевым питанием"," ",null,1,null,2418.58," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[60,910750,"Электрокардиограф ЭК1Т-03М2 с сетевым питанием"," ",null,1,null,2418.58," ","шт.",1,2418.58," "," "," "," "," "," "," "," "," "," "]
[61,450520,"Электрокардиограф ЭК1Т-07 \"Аксион\""," ",null,3,null,19396.72," ","шт."," "," "," "," "," "," "," "," ",1,12024.11," "," "]
[62,450221,"Электрокардиограф ЭК1Т-07 \"Аксион\""," ",null,1,null,12024.11," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[63,"450221А","Электрокардиограф ЭК1Т-07 (1- кан. с комб. питан.)"," ",null,1,null,29100.59," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[64,"450451А","Электрокардиостимулятор чреспищеводный програмируемый портативный \"Эзотест\""," ",null,1,null,70735.37," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[65,910789,"Электрокардиостимулятор ЧЭЭКС-3"," ",null,1,null,75196.149999999994," ","шт."," "," "," "," "," "," "," "," "," "," ",1,75196.149999999994]
[66,450451,"Электрокардиостимулятор ЭКС-15-3"," ",null,1,null,974.55," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[67,910788,"Электрокардиостимулятор ЭКСК-02"," ",null,1,null,974.53," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[68,"Т2450645И","Электромиограф четырехканальный \"Viking Quest\""," ",null,1,null,2408728.5699999998," ","комп."," "," "," "," "," "," "," "," "," "," "," "," "]
[69,"Т2340065Т","Электростимулятор для оценки нейромыш.функц.во время наркоза"," ",null,1,null,6820.09," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[70,"450451Д","Электростимулятор ТUR RS-10"," ",null,1,null,1185.52," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]
[71,"450451Б","Эхоэнцефалоскоп переносной ЭЭС-12"," ",null,3,null,5655.44," ","шт."," "," "," "," "," "," "," "," "," "," "," "," "]

{"sheet":"Лист2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Лист3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}