{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["01.08","secr"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"01.08","index":0,"n_rows":1432,"n_cols":1,"rows_kept":1432,"cut":false,"hidden":false,"merged":[]}
["14,08,2016 02:32:47 Обнулить весы"]
["14,08,2016 03:05:53 Обнулить весы"]
["14,08,2016 03:23:38 Обнулить весы"]
["14,08,2016 03:59:53 Обнулить весы"]
["14,08,2016 04:52:06 Обнулить весы"]
["14,08,2016 06:19:54 Обнулить весы"]
["14,08,2016 07:17:11 Обнулить весы"]
["14,08,2016 07:56:13 Весы разблокированы"]
["14,08,2016 07:56:13 Открыть левый шлагбаум"]
["14,08,2016 07:56:13 Открыть правый шлагбаум"]
["14,08,2016 08:28:09 Перекрыт правый датчик,"]
["14,08,2016 08:28:10 Закрыть левый шлагбаум"]
["14,08,2016 08:28:10 Нестабильный вес около нуля,"]
["14,08,2016 08:28:10 Текущий вес: 0,040"]
["14,08,2016 08:28:11 Нестабильный вес,"]
["14,08,2016 08:28:11 Текущий вес: 1,380"]
["14,08,2016 08:28:11 Текущий вес: 2,880"]
["14,08,2016 08:28:12 Текущий вес: 6,020"]
["14,08,2016 08:28:12 Текущий вес: 6,060"]
["14,08,2016 08:28:13 Текущий вес: 12,580"]
["14,08,2016 08:28:13 Текущий вес: 15,720"]
["14,08,2016 08:28:14 Текущий вес: 21,820"]
["14,08,2016 08:28:14 Открыты оба датчика,"]
["14,08,2016 08:28:15 Текущий вес: 24,620"]
["14,08,2016 08:28:15 Перекрыт правый датчик,"]
["14,08,2016 08:28:15 Текущий вес: 24,700"]
["14,08,2016 08:28:15 Текущий вес: 24,780"]
["14,08,2016 08:28:17 Текущий вес: 24,800"]
["14,08,2016 08:28:18 Открыты оба датчика,"]
["14,08,2016 08:28:18 Перекрыт правый датчик,"]
["14,08,2016 08:28:18 Текущий вес: 24,820"]
["14,08,2016 08:28:19 Текущий вес: 24,900"]
["14,08,2016 08:28:19 Текущий вес: 26,620"]
["14,08,2016 08:28:20 Текущий вес: 29,000"]
["14,08,2016 08:28:20 Текущий вес: 34,900"]
["14,08,2016 08:28:21 Текущий вес: 38,900"]
["14,08,2016 08:28:21 Текущий вес: 42,740"]
["14,08,2016 08:28:21 Открыты оба датчика,"]
["14,08,2016 08:28:22 Текущий вес: 43,040"]
["14,08,2016 08:28:22 Текущий вес: 42,780"]
["14,08,2016 08:28:23 Текущий вес: 42,760"]
["14,08,2016 08:28:23 Текущий вес: 42,820"]
["14,08,2016 08:28:24 Текущий вес: 42,780"]
["14,08,2016 08:28:25 Стабильный вес,"]
["14,08,2016 08:28:28 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 08:28:29 Закрыть правый шлагбаум"]
["14,08,2016 08:28:33 Нестабильный вес,"]
["14,08,2016 08:28:33 Табло: \"Погасить все надписи,\""]
["14,08,2016 08:28:33 Текущий вес: 42,760"]
["14,08,2016 08:28:34 Текущий вес: 42,740"]
["14,08,2016 08:28:34 Текущий вес: 42,720"]
["14,08,2016 08:28:35 Текущий вес: 42,700"]
["14,08,2016 08:28:36 Стабильный вес,"]
["14,08,2016 08:28:39 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 08:28:40 Отсканирован пропуск \"D26,1 970512\""]
["14,08,2016 08:28:40 Табло: \"Погасить все надписи,\""]
["14,08,2016 08:28:40 Зарегистрированный вес: 42,700"]
["14,08,2016 08:28:40 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 08:28:41 Табло: \"Освободите весы\""]
["14,08,2016 08:28:41 Открыть левый шлагбаум"]
["14,08,2016 08:28:52 Нестабильный вес,"]
["14,08,2016 08:28:52 Табло: \"Погасить все надписи,\""]
["14,08,2016 08:28:53 Текущий вес: 42,720"]
["14,08,2016 08:28:53 Текущий вес: 42,740"]
["14,08,2016 08:28:54 Текущий вес: 42,760"]
["14,08,2016 08:28:54 Текущий вес: 42,780"]
["14,08,2016 08:28:55 Стабильный вес,"]
["14,08,2016 08:29:05 Нестабильный вес,"]
["14,08,2016 08:29:05 Перекрыт левый датчик,"]
["14,08,2016 08:29:05 Текущий вес: 42,300"]
["14,08,2016 08:29:05 Текущий вес: 40,840"]
["14,08,2016 08:29:06 Текущий вес: 36,760"]
["14,08,2016 08:29:06 Текущий вес: 36,720"]
["14,08,2016 08:29:07 Текущий вес: 28,780"]
["14,08,2016 08:29:08 Текущий вес: 24,660"]
["14,08,2016 08:29:08 Текущий вес: 18,080"]
["14,08,2016 08:29:08 Открыты оба датчика,"]
["14,08,2016 08:29:09 Перекрыт левый датчик,"]
["14,08,2016 08:29:09 Текущий вес: 18,200"]
["14,08,2016 08:29:09 Открыты оба датчика,"]
["14,08,2016 08:29:09 Перекрыт левый датчик,"]
["14,08,2016 08:29:09 Текущий вес: 18,080"]
["14,08,2016 08:29:10 Текущий вес: 18,100"]
["14,08,2016 08:29:10 Текущий вес: 18,180"]
["14,08,2016 08:29:10 Открыты оба датчика,"]
["14,08,2016 08:29:11 Текущий вес: 18,260"]
["14,08,2016 08:29:11 Перекрыт левый датчик,"]
["14,08,2016 08:29:11 Текущий вес: 18,340"]
["14,08,2016 08:29:12 Текущий вес: 16,980"]
["14,08,2016 08:29:12 Текущий вес: 14,140"]
["14,08,2016 08:29:13 Текущий вес: 3,800"]
["14,08,2016 08:29:13 Нестабильный вес около нуля,"]
["14,08,2016 08:29:13 Текущий вес: 0,000"]
["14,08,2016 08:29:14 Открыты оба датчика,"]
["14,08,2016 08:29:14 Открыть правый шлагбаум"]
["14,08,2016 08:29:14 Стабильный ноль,"]
[]
["14,08,2016 08:44:48 Перекрыт правый датчик,"]
["14,08,2016 08:44:49 Открыты оба датчика,"]
["14,08,2016 08:44:49 Закрыть левый шлагбаум"]
["14,08,2016 08:44:49 Открыть левый шлагбаум"]
["14,08,2016 08:44:50 Нестабильный вес около нуля,"]
["14,08,2016 08:44:50 Текущий вес: 0,040"]
["14,08,2016 08:44:50 Текущий вес: 0,160"]
["14,08,2016 08:44:51 Нестабильный вес,"]
["14,08,2016 08:44:51 Текущий вес: 0,300"]
["14,08,2016 08:44:51 Текущий вес: 0,460"]
["14,08,2016 08:44:52 Текущий вес: 0,560"]
["14,08,2016 08:44:52 Текущий вес: 0,600"]
["14,08,2016 08:44:53 Стабильный вес,"]
["14,08,2016 08:44:56 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 08:44:57 Закрыть правый шлагбаум"]
["14,08,2016 08:44:57 Закрыть левый шлагбаум"]
["14,08,2016 08:45:02 Нестабильный вес,"]
["14,08,2016 08:45:02 Табло: \"Погасить все надписи,\""]
["14,08,2016 08:45:02 Текущий вес: 0,580"]
["14,08,2016 08:45:03 Текущий вес: 0,560"]
["14,08,2016 08:45:03 Текущий вес: 0,540"]
["14,08,2016 08:45:04 Текущий вес: 0,520"]
["14,08,2016 08:45:05 Стабильный вес,"]
["14,08,2016 08:45:06 Отсканирован пропуск \"D26,1 970514\""]
["14,08,2016 08:45:08 Зарегистрированный вес: 0,520"]
["14,08,2016 08:45:08 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 08:45:09 Табло: \"Освободите весы\""]
["14,08,2016 08:45:09 Открыть правый шлагбаум"]
["14,08,2016 08:45:09 Открыть левый шлагбаум"]
["14,08,2016 08:45:21 Текущий вес: 0,540"]
["14,08,2016 08:45:22 Нестабильный вес,"]
["14,08,2016 08:45:22 Табло: \"Погасить все надписи,\""]
["14,08,2016 08:45:22 Текущий вес: 0,560"]
["14,08,2016 08:45:23 Текущий вес: 0,580"]
["14,08,2016 08:45:24 Текущий вес: 0,600"]
["14,08,2016 08:45:25 Стабильный вес,"]
["14,08,2016 08:45:42 Нестабильный вес,"]
["14,08,2016 08:45:42 Перекрыт левый датчик,"]
["14,08,2016 08:45:42 Текущий вес: 0,580"]
["14,08,2016 08:45:42 Открыты оба датчика,"]
["14,08,2016 08:45:42 Текущий вес: 0,520"]
["14,08,2016 08:45:43 Текущий вес: 0,400"]
["14,08,2016 08:45:43 Текущий вес: 0,240"]
["14,08,2016 08:45:44 Нестабильный вес около нуля,"]
["14,08,2016 08:45:44 Текущий вес: 0,100"]
["14,08,2016 08:45:44 Текущий вес: 0,020"]
["14,08,2016 08:45:45 Текущий вес: 0,000"]
["14,08,2016 08:45:46 Стабильный ноль,"]
[]
["14,08,2016 08:51:38 Перекрыт правый датчик,"]
["14,08,2016 08:51:39 Открыты оба датчика,"]
["14,08,2016 08:51:39 Закрыть левый шлагбаум"]
["14,08,2016 08:51:39 Открыть левый шлагбаум"]
["14,08,2016 08:51:39 Нестабильный вес около нуля,"]
["14,08,2016 08:51:39 Текущий вес: 0,040"]
["14,08,2016 08:51:40 Текущий вес: 0,140"]
["14,08,2016 08:51:40 Нестабильный вес,"]
["14,08,2016 08:51:40 Текущий вес: 0,260"]
["14,08,2016 08:51:41 Текущий вес: 0,380"]
["14,08,2016 08:51:42 Текущий вес: 0,460"]
["14,08,2016 08:51:42 Текущий вес: 0,480"]
["14,08,2016 08:51:43 Стабильный вес,"]
["14,08,2016 08:51:46 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 08:51:47 Закрыть правый шлагбаум"]
["14,08,2016 08:51:47 Закрыть левый шлагбаум"]
["14,08,2016 08:51:50 Нестабильный вес,"]
["14,08,2016 08:51:50 Табло: \"Погасить все надписи,\""]
["14,08,2016 08:51:50 Текущий вес: 0,460"]
["14,08,2016 08:51:51 Текущий вес: 0,440"]
["14,08,2016 08:51:51 Текущий вес: 0,420"]
["14,08,2016 08:51:52 Текущий вес: 0,400"]
["14,08,2016 08:51:53 Стабильный вес,"]
["14,08,2016 08:51:56 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 08:52:13 Отсканирован пропуск \"D26,1 970514\""]
["14,08,2016 08:52:13 Табло: \"Погасить все надписи,\""]
["14,08,2016 08:52:13 Зарегистрированный вес: 0,400"]
["14,08,2016 08:52:13 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 08:52:14 Табло: \"Освободите весы\""]
["14,08,2016 08:52:14 Открыть правый шлагбаум"]
["14,08,2016 08:52:14 Открыть левый шлагбаум"]
["14,08,2016 08:52:14 Отсканирован пропуск \"D26,1 970514\""]
["14,08,2016 08:52:29 Нестабильный вес,"]
["14,08,2016 08:52:29 Табло: \"Погасить все надписи,\""]
["14,08,2016 08:52:29 Текущий вес: 0,420"]
["14,08,2016 08:52:30 Текущий вес: 0,440"]
["14,08,2016 08:52:30 Текущий вес: 0,460"]
["14,08,2016 08:52:31 Текущий вес: 0,480"]
["14,08,2016 08:52:32 Стабильный вес,"]
["14,08,2016 08:52:34 Перекрыт левый датчик,"]
["14,08,2016 08:52:34 Открыты оба датчика,"]
["14,08,2016 08:52:35 Перекрыт левый датчик,"]
["14,08,2016 08:52:36 Нестабильный вес,"]
["14,08,2016 08:52:36 Текущий вес: 0,440"]
["14,08,2016 08:52:37 Текущий вес: 0,400"]
["14,08,2016 08:52:37 Текущий вес: 0,340"]
["14,08,2016 08:52:38 Текущий вес: 0,240"]
["14,08,2016 08:52:38 Открыты оба датчика,"]
["14,08,2016 08:52:38 Нестабильный вес около нуля,"]
["14,08,2016 08:52:38 Текущий вес: 0,140"]
["14,08,2016 08:52:39 Текущий вес: 0,060"]
["14,08,2016 08:52:39 Текущий вес: 0,020"]
["14,08,2016 08:52:40 Текущий вес: 0,000"]
["14,08,2016 08:52:41 Стабильный ноль,"]
[]
["14,08,2016 09:22:59 Нестабильный вес около нуля,"]
["14,08,2016 09:22:59 Стабильный ноль,"]
[]
["14,08,2016 09:29:22 Перекрыт левый датчик,"]
["14,08,2016 09:29:22 Нестабильный вес около нуля,"]
["14,08,2016 09:29:22 Текущий вес: 0,160"]
["14,08,2016 09:29:23 Закрыть правый шлагбаум"]
["14,08,2016 09:29:23 Нестабильный вес,"]
["14,08,2016 09:29:23 Текущий вес: 1,360"]
["14,08,2016 09:29:23 Текущий вес: 2,620"]
["14,08,2016 09:29:24 Текущий вес: 7,260"]
["14,08,2016 09:29:25 Текущий вес: 10,020"]
["14,08,2016 09:29:25 Открыты оба датчика,"]
["14,08,2016 09:29:25 Перекрыт левый датчик,"]
["14,08,2016 09:29:25 Открыты оба датчика,"]
["14,08,2016 09:29:25 Текущий вес: 13,260"]
["14,08,2016 09:29:25 Перекрыт левый датчик,"]
["14,08,2016 09:29:25 Открыты оба датчика,"]
["14,08,2016 09:29:25 Перекрыт левый датчик,"]
["14,08,2016 09:29:26 Текущий вес: 13,180"]
["14,08,2016 09:29:27 Текущий вес: 13,200"]
["14,08,2016 09:29:27 Открыты оба датчика,"]
["14,08,2016 09:29:28 Перекрыт левый датчик,"]
["14,08,2016 09:29:28 Текущий вес: 13,240"]
["14,08,2016 09:29:28 Текущий вес: 13,300"]
["14,08,2016 09:29:29 Текущий вес: 13,420"]
["14,08,2016 09:29:29 Текущий вес: 14,340"]
["14,08,2016 09:29:30 Текущий вес: 15,240"]
["14,08,2016 09:29:30 Текущий вес: 17,020"]
["14,08,2016 09:29:31 Открыты оба датчика,"]
["14,08,2016 09:29:31 Перекрыт левый датчик,"]
["14,08,2016 09:29:31 Текущий вес: 20,020"]
["14,08,2016 09:29:31 Открыты оба датчика,"]
["14,08,2016 09:29:31 Текущий вес: 20,400"]
["14,08,2016 09:29:34 Стабильный вес,"]
["14,08,2016 09:29:37 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 09:29:38 Закрыть левый шлагбаум"]
["14,08,2016 09:29:43 Нестабильный вес,"]
["14,08,2016 09:29:43 Табло: \"Погасить все надписи,\""]
["14,08,2016 09:29:43 Текущий вес: 20,380"]
["14,08,2016 09:29:43 Текущий вес: 20,360"]
["14,08,2016 09:29:44 Текущий вес: 20,340"]
["14,08,2016 09:29:45 Текущий вес: 20,320"]
["14,08,2016 09:29:46 Стабильный вес,"]
["14,08,2016 09:29:46 Отсканирован пропуск \"D26,1 970512\""]
["14,08,2016 09:29:49 Зарегистрированный вес: 20,320"]
["14,08,2016 09:29:49 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 09:29:49 Отсканирован пропуск \"D26,1 970512\""]
["14,08,2016 09:29:49 Табло: \"Освободите весы\""]
["14,08,2016 09:29:49 Открыть правый шлагбаум"]
["14,08,2016 09:30:03 Нестабильный вес,"]
["14,08,2016 09:30:03 Табло: \"Погасить все надписи,\""]
["14,08,2016 09:30:03 Текущий вес: 20,340"]
["14,08,2016 09:30:03 Текущий вес: 20,360"]
["14,08,2016 09:30:04 Текущий вес: 20,380"]
["14,08,2016 09:30:04 Текущий вес: 20,400"]
["14,08,2016 09:30:06 Стабильный вес,"]
["14,08,2016 09:30:16 Нестабильный вес,"]
["14,08,2016 09:30:16 Перекрыт правый датчик,"]
["14,08,2016 09:30:17 Текущий вес: 19,880"]
["14,08,2016 09:30:17 Текущий вес: 18,540"]
["14,08,2016 09:30:18 Текущий вес: 14,980"]
["14,08,2016 09:30:18 Текущий вес: 14,000"]
["14,08,2016 09:30:19 Текущий вес: 11,100"]
["14,08,2016 09:30:19 Текущий вес: 8,220"]
["14,08,2016 09:30:20 Открыты оба датчика,"]
["14,08,2016 09:30:20 Текущий вес: 7,040"]
["14,08,2016 09:30:20 Перекрыт правый датчик,"]
["14,08,2016 09:30:20 Открыты оба датчика,"]
["14,08,2016 09:30:21 Текущий вес: 7,020"]
["14,08,2016 09:30:21 Текущий вес: 7,000"]
["14,08,2016 09:30:22 Текущий вес: 7,020"]
["14,08,2016 09:30:22 Перекрыт правый датчик,"]
["14,08,2016 09:30:23 Текущий вес: 6,920"]
["14,08,2016 09:30:23 Текущий вес: 6,180"]
["14,08,2016 09:30:24 Текущий вес: 5,240"]
["14,08,2016 09:30:24 Нестабильный вес около нуля,"]
["14,08,2016 09:30:24 Текущий вес: 0,020"]
["14,08,2016 09:30:25 Текущий вес: 0,000"]
["14,08,2016 09:30:26 Открыты оба датчика,"]
["14,08,2016 09:30:26 Открыть левый шлагбаум"]
["14,08,2016 09:30:26 Стабильный ноль,"]
[]
["14,08,2016 10:31:19 Нестабильный вес около нуля,"]
["14,08,2016 10:31:19 Стабильный ноль,"]
[]
["14,08,2016 11:20:33 Перекрыт правый датчик,"]
["14,08,2016 11:20:34 Закрыть левый шлагбаум"]
["14,08,2016 11:20:34 Нестабильный вес,"]
["14,08,2016 11:20:34 Текущий вес: 0,240"]
["14,08,2016 11:20:35 Текущий вес: 1,760"]
["14,08,2016 11:20:35 Текущий вес: 6,660"]
["14,08,2016 11:20:36 Текущий вес: 6,700"]
["14,08,2016 11:20:37 Текущий вес: 6,680"]
["14,08,2016 11:20:37 Открыты оба датчика,"]
["14,08,2016 11:20:37 Текущий вес: 8,440"]
["14,08,2016 11:20:37 Перекрыт правый датчик,"]
["14,08,2016 11:20:38 Открыты оба датчика,"]
["14,08,2016 11:20:38 Текущий вес: 10,740"]
["14,08,2016 11:20:38 Перекрыт правый датчик,"]
["14,08,2016 11:20:38 Текущий вес: 15,780"]
["14,08,2016 11:20:39 Текущий вес: 15,840"]
["14,08,2016 11:20:39 Текущий вес: 15,820"]
["14,08,2016 11:20:40 Стабильный вес,"]
["14,08,2016 11:20:40 Табло: \"Не все оси автомобиля на весах\""]
["14,08,2016 11:20:41 Нестабильный вес,"]
["14,08,2016 11:20:41 Текущий вес: 16,300"]
["14,08,2016 11:20:42 Текущий вес: 17,820"]
["14,08,2016 11:20:42 Текущий вес: 24,380"]
["14,08,2016 11:20:43 Текущий вес: 28,580"]
["14,08,2016 11:20:43 Текущий вес: 31,020"]
["14,08,2016 11:20:44 Текущий вес: 34,920"]
["14,08,2016 11:20:44 Текущий вес: 34,120"]
["14,08,2016 11:20:45 Открыты оба датчика,"]
["14,08,2016 11:20:45 Табло: \"Погасить все надписи,\""]
["14,08,2016 11:20:45 Текущий вес: 34,700"]
["14,08,2016 11:20:45 Текущий вес: 34,600"]
["14,08,2016 11:20:47 Текущий вес: 34,620"]
["14,08,2016 11:20:48 Стабильный вес,"]
["14,08,2016 11:20:48 Текущий вес: 34,600"]
["14,08,2016 11:20:48 Нестабильный вес,"]
["14,08,2016 11:20:48 Текущий вес: 34,620"]
["14,08,2016 11:20:49 Текущий вес: 34,600"]
["14,08,2016 11:20:50 Текущий вес: 34,580"]
["14,08,2016 11:20:51 Текущий вес: 34,600"]
["14,08,2016 11:20:53 Стабильный вес,"]
["14,08,2016 11:20:55 Нестабильный вес,"]
["14,08,2016 11:20:55 Текущий вес: 34,580"]
["14,08,2016 11:20:56 Текущий вес: 34,560"]
["14,08,2016 11:20:56 Текущий вес: 34,540"]
["14,08,2016 11:20:57 Текущий вес: 34,520"]
["14,08,2016 11:20:57 Текущий вес: 34,500"]
["14,08,2016 11:20:58 Стабильный вес,"]
["14,08,2016 11:21:01 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 11:21:02 Закрыть правый шлагбаум"]
["14,08,2016 11:21:06 Отсканирован пропуск \"D26,1 970568\""]
["14,08,2016 11:21:06 Табло: \"Погасить все надписи,\""]
["14,08,2016 11:21:06 Зарегистрированный вес: 34,500"]
["14,08,2016 11:21:06 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 11:21:07 Табло: \"Освободите весы\""]
["14,08,2016 11:21:07 Открыть левый шлагбаум"]
["14,08,2016 11:21:08 Отсканирован пропуск \"D26,1 970568\""]
["14,08,2016 11:21:16 Нестабильный вес,"]
["14,08,2016 11:21:16 Табло: \"Погасить все надписи,\""]
["14,08,2016 11:21:16 Текущий вес: 34,520"]
["14,08,2016 11:21:17 Текущий вес: 34,540"]
["14,08,2016 11:21:17 Текущий вес: 34,580"]
["14,08,2016 11:21:18 Текущий вес: 34,600"]
["14,08,2016 11:21:19 Стабильный вес,"]
["14,08,2016 11:21:22 Нестабильный вес,"]
["14,08,2016 11:21:25 Перекрыт левый датчик,"]
["14,08,2016 11:21:25 Открыты оба датчика,"]
["14,08,2016 11:21:25 Перекрыт левый датчик,"]
["14,08,2016 11:21:26 Текущий вес: 34,580"]
["14,08,2016 11:21:26 Текущий вес: 34,420"]
["14,08,2016 11:21:27 Текущий вес: 32,760"]
["14,08,2016 11:21:27 Текущий вес: 31,100"]
["14,08,2016 11:21:28 Текущий вес: 27,920"]
["14,08,2016 11:21:29 Текущий вес: 27,940"]
["14,08,2016 11:21:29 Текущий вес: 27,740"]
["14,08,2016 11:21:30 Текущий вес: 25,740"]
["14,08,2016 11:21:30 Текущий вес: 23,500"]
["14,08,2016 11:21:31 Открыты оба датчика,"]
["14,08,2016 11:21:31 Перекрыт левый датчик,"]
["14,08,2016 11:21:31 Открыты оба датчика,"]
["14,08,2016 11:21:31 Перекрыт левый датчик,"]
["14,08,2016 11:21:31 Текущий вес: 18,800"]
["14,08,2016 11:21:31 Текущий вес: 18,760"]
["14,08,2016 11:21:32 Текущий вес: 18,740"]
["14,08,2016 11:21:33 Текущий вес: 18,780"]
["14,08,2016 11:21:34 Текущий вес: 18,800"]
["14,08,2016 11:21:34 Текущий вес: 17,520"]
["14,08,2016 11:21:35 Текущий вес: 15,900"]
["14,08,2016 11:21:35 Текущий вес: 7,180"]
["14,08,2016 11:21:36 Текущий вес: 5,900"]
["14,08,2016 11:21:36 Текущий вес: 1,340"]
["14,08,2016 11:21:37 Нестабильный вес около нуля,"]
["14,08,2016 11:21:37 Текущий вес: 0,000"]
["14,08,2016 11:21:38 Стабильный ноль,"]
[]
["14,08,2016 11:21:38 Открыты оба датчика,"]
["14,08,2016 11:21:38 Открыть правый шлагбаум"]
["14,08,2016 12:02:15 Нестабильный вес около нуля,"]
["14,08,2016 12:02:15 Стабильный ноль,"]
[]
["14,08,2016 12:43:07 Нестабильный вес около нуля,"]
["14,08,2016 12:43:07 Стабильный ноль,"]
[]
["14,08,2016 12:54:05 Перекрыт правый датчик,"]
["14,08,2016 12:54:06 Закрыть левый шлагбаум"]
["14,08,2016 12:54:07 Нестабильный вес,"]
["14,08,2016 12:54:07 Текущий вес: 0,520"]
["14,08,2016 12:54:07 Текущий вес: 1,620"]
["14,08,2016 12:54:08 Текущий вес: 4,360"]
["14,08,2016 12:54:08 Текущий вес: 4,340"]
["14,08,2016 12:54:09 Текущий вес: 4,300"]
["14,08,2016 12:54:09 Текущий вес: 8,980"]
["14,08,2016 12:54:10 Текущий вес: 9,720"]
["14,08,2016 12:54:11 Текущий вес: 14,180"]
["14,08,2016 12:54:11 Открыты оба датчика,"]
["14,08,2016 12:54:11 Перекрыт правый датчик,"]
["14,08,2016 12:54:11 Открыты оба датчика,"]
["14,08,2016 12:54:11 Перекрыт правый датчик,"]
["14,08,2016 12:54:11 Открыты оба датчика,"]
["14,08,2016 12:54:11 Текущий вес: 18,760"]
["14,08,2016 12:54:12 Текущий вес: 19,200"]
["14,08,2016 12:54:12 Перекрыт правый датчик,"]
["14,08,2016 12:54:12 Открыты оба датчика,"]
["14,08,2016 12:54:12 Текущий вес: 19,140"]
["14,08,2016 12:54:13 Текущий вес: 19,200"]
["14,08,2016 12:54:13 Перекрыт правый датчик,"]
["14,08,2016 12:54:14 Текущий вес: 19,220"]
["14,08,2016 12:54:15 Текущий вес: 19,240"]
["14,08,2016 12:54:15 Текущий вес: 19,200"]
["14,08,2016 12:54:16 Текущий вес: 19,120"]
["14,08,2016 12:54:16 Текущий вес: 20,480"]
["14,08,2016 12:54:17 Текущий вес: 22,760"]
["14,08,2016 12:54:17 Текущий вес: 28,380"]
["14,08,2016 12:54:18 Текущий вес: 29,740"]
["14,08,2016 12:54:18 Открыты оба датчика,"]
["14,08,2016 12:54:18 Текущий вес: 34,100"]
["14,08,2016 12:54:19 Текущий вес: 34,520"]
["14,08,2016 12:54:19 Текущий вес: 34,140"]
["14,08,2016 12:54:20 Текущий вес: 34,280"]
["14,08,2016 12:54:20 Текущий вес: 34,320"]
["14,08,2016 12:54:21 Текущий вес: 34,280"]
["14,08,2016 12:54:22 Текущий вес: 34,300"]
["14,08,2016 12:54:23 Стабильный вес,"]
["14,08,2016 12:54:24 Нестабильный вес,"]
["14,08,2016 12:54:24 Текущий вес: 34,280"]
["14,08,2016 12:54:25 Стабильный вес,"]
["14,08,2016 12:54:28 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 12:54:29 Закрыть правый шлагбаум"]
["14,08,2016 12:54:36 Нестабильный вес,"]
["14,08,2016 12:54:36 Табло: \"Погасить все надписи,\""]
["14,08,2016 12:54:36 Текущий вес: 34,260"]
["14,08,2016 12:54:37 Текущий вес: 34,240"]
["14,08,2016 12:54:38 Текущий вес: 34,220"]
["14,08,2016 12:54:39 Стабильный вес,"]
["14,08,2016 12:54:41 Отсканирован пропуск \"D26,1 970607\""]
["14,08,2016 12:54:42 Зарегистрированный вес: 34,220"]
["14,08,2016 12:54:42 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 12:54:43 Табло: \"Освободите весы\""]
["14,08,2016 12:54:43 Открыть левый шлагбаум"]
["14,08,2016 12:54:53 Текущий вес: 34,240"]
["14,08,2016 12:54:54 Нестабильный вес,"]
["14,08,2016 12:54:54 Табло: \"Погасить все надписи,\""]
["14,08,2016 12:54:54 Текущий вес: 34,260"]
["14,08,2016 12:54:55 Текущий вес: 34,280"]
["14,08,2016 12:54:56 Стабильный вес,"]
["14,08,2016 12:55:06 Нестабильный вес,"]
["14,08,2016 12:55:06 Перекрыт левый датчик,"]
["14,08,2016 12:55:06 Текущий вес: 34,260"]
["14,08,2016 12:55:06 Текущий вес: 34,180"]
["14,08,2016 12:55:07 Текущий вес: 33,580"]
["14,08,2016 12:55:07 Текущий вес: 32,500"]
["14,08,2016 12:55:08 Текущий вес: 29,880"]
["14,08,2016 12:55:08 Текущий вес: 29,840"]
["14,08,2016 12:55:09 Текущий вес: 25,660"]
["14,08,2016 12:55:09 Текущий вес: 22,200"]
["14,08,2016 12:55:10 Текущий вес: 18,000"]
["14,08,2016 12:55:10 Текущий вес: 15,020"]
["14,08,2016 12:55:10 Открыты оба датчика,"]
["14,08,2016 12:55:10 Перекрыт левый датчик,"]
["14,08,2016 12:55:11 Открыты оба датчика,"]
["14,08,2016 12:55:11 Текущий вес: 15,260"]
["14,08,2016 12:55:11 Перекрыт левый датчик,"]
["14,08,2016 12:55:11 Текущий вес: 15,220"]
["14,08,2016 12:55:11 Открыты оба датчика,"]
["14,08,2016 12:55:12 Текущий вес: 15,280"]
["14,08,2016 12:55:12 Перекрыт левый датчик,"]
["14,08,2016 12:55:12 Текущий вес: 15,340"]
["14,08,2016 12:55:13 Текущий вес: 15,320"]
["14,08,2016 12:55:13 Текущий вес: 15,300"]
["14,08,2016 12:55:14 Текущий вес: 14,860"]
["14,08,2016 12:55:14 Текущий вес: 12,740"]
["14,08,2016 12:55:15 Текущий вес: 6,260"]
["14,08,2016 12:55:15 Текущий вес: 3,220"]
["14,08,2016 12:55:16 Нестабильный вес около нуля,"]
["14,08,2016 12:55:16 Текущий вес: 0,000"]
["14,08,2016 12:55:17 Открыты оба датчика,"]
["14,08,2016 12:55:17 Открыть правый шлагбаум"]
["14,08,2016 12:55:17 Стабильный ноль,"]
[]
["14,08,2016 12:59:09 Нестабильный вес около нуля,"]
["14,08,2016 12:59:09 Стабильный ноль,"]
[]
["14,08,2016 13:05:40 Перекрыт правый датчик,"]
["14,08,2016 13:05:41 Закрыть левый шлагбаум"]
["14,08,2016 13:05:41 Нестабильный вес,"]
["14,08,2016 13:05:41 Текущий вес: 0,440"]
["14,08,2016 13:05:42 Текущий вес: 1,340"]
["14,08,2016 13:05:42 Текущий вес: 3,640"]
["14,08,2016 13:05:43 Текущий вес: 3,660"]
["14,08,2016 13:05:43 Открыты оба датчика,"]
["14,08,2016 13:05:43 Перекрыт правый датчик,"]
["14,08,2016 13:05:43 Текущий вес: 5,600"]
["14,08,2016 13:05:43 Открыты оба датчика,"]
["14,08,2016 13:05:44 Текущий вес: 8,980"]
["14,08,2016 13:05:44 Текущий вес: 8,660"]
["14,08,2016 13:05:45 Текущий вес: 8,680"]
["14,08,2016 13:05:46 Стабильный вес,"]
["14,08,2016 13:05:49 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 13:05:50 Закрыть правый шлагбаум"]
["14,08,2016 13:05:53 Текущий вес: 8,660"]
["14,08,2016 13:05:53 Нестабильный вес,"]
["14,08,2016 13:05:53 Табло: \"Погасить все надписи,\""]
["14,08,2016 13:05:54 Текущий вес: 8,640"]
["14,08,2016 13:05:55 Текущий вес: 8,620"]
["14,08,2016 13:05:56 Стабильный вес,"]
["14,08,2016 13:05:59 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 13:06:06 Табло: \"Погасить все надписи,\""]
["14,08,2016 13:06:06 Зарегистрированный вес: 8,620"]
["14,08,2016 13:06:06 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 13:06:06 Табло: \"Освободите весы\""]
["14,08,2016 13:06:06 Открыть левый шлагбаум"]
["14,08,2016 13:06:18 Нестабильный вес,"]
["14,08,2016 13:06:18 Табло: \"Погасить все надписи,\""]
["14,08,2016 13:06:18 Текущий вес: 8,640"]
["14,08,2016 13:06:19 Текущий вес: 8,660"]
["14,08,2016 13:06:20 Текущий вес: 8,680"]
["14,08,2016 13:06:21 Стабильный вес,"]
["14,08,2016 13:06:23 Текущий вес: 8,660"]
["14,08,2016 13:06:26 Нестабильный вес,"]
["14,08,2016 13:06:26 Перекрыт левый датчик,"]
["14,08,2016 13:06:26 Текущий вес: 7,980"]
["14,08,2016 13:06:26 Текущий вес: 7,080"]
["14,08,2016 13:06:27 Текущий вес: 5,000"]
["14,08,2016 13:06:28 Стабильный вес,"]
["14,08,2016 13:06:29 Нестабильный вес,"]
["14,08,2016 13:06:29 Текущий вес: 2,900"]
["14,08,2016 13:06:29 Текущий вес: 2,180"]
["14,08,2016 13:06:29 Открыты оба датчика,"]
["14,08,2016 13:06:29 Перекрыт левый датчик,"]
["14,08,2016 13:06:29 Открыты оба датчика,"]
["14,08,2016 13:06:30 Нестабильный вес около нуля,"]
["14,08,2016 13:06:30 Текущий вес: 0,000"]
["14,08,2016 13:06:31 Открыть правый шлагбаум"]
["14,08,2016 13:06:31 Стабильный ноль,"]
[]
["14,08,2016 13:07:42 Перекрыт левый датчик,"]
["14,08,2016 13:07:43 Закрыть правый шлагбаум"]
["14,08,2016 13:07:43 Нестабильный вес около нуля,"]
["14,08,2016 13:07:43 Текущий вес: 0,020"]
["14,08,2016 13:07:43 Нестабильный вес,"]
["14,08,2016 13:07:43 Текущий вес: 1,160"]
["14,08,2016 13:07:44 Текущий вес: 2,580"]
["14,08,2016 13:07:44 Текущий вес: 5,620"]
["14,08,2016 13:07:45 Текущий вес: 5,680"]
["14,08,2016 13:07:45 Текущий вес: 6,060"]
["14,08,2016 13:07:46 Открыты оба датчика,"]
["14,08,2016 13:07:46 Перекрыт левый датчик,"]
["14,08,2016 13:07:46 Текущий вес: 10,000"]
["14,08,2016 13:07:46 Открыты оба датчика,"]
["14,08,2016 13:07:46 Перекрыт левый датчик,"]
["14,08,2016 13:07:46 Текущий вес: 10,140"]
["14,08,2016 13:07:47 Текущий вес: 10,160"]
["14,08,2016 13:07:47 Текущий вес: 10,140"]
["14,08,2016 13:07:48 Стабильный вес,"]
["14,08,2016 13:07:48 Табло: \"Не все оси автомобиля на весах\""]
["14,08,2016 13:07:49 Нестабильный вес,"]
["14,08,2016 13:07:49 Текущий вес: 10,160"]
["14,08,2016 13:07:49 Текущий вес: 10,340"]
["14,08,2016 13:07:50 Текущий вес: 10,840"]
["14,08,2016 13:07:50 Текущий вес: 11,460"]
["14,08,2016 13:07:51 Текущий вес: 13,140"]
["14,08,2016 13:07:51 Текущий вес: 13,780"]
["14,08,2016 13:07:52 Текущий вес: 14,820"]
["14,08,2016 13:07:52 Открыты оба датчика,"]
["14,08,2016 13:07:52 Табло: \"Погасить все надписи,\""]
["14,08,2016 13:07:52 Текущий вес: 15,640"]
["14,08,2016 13:07:53 Текущий вес: 15,740"]
["14,08,2016 13:07:56 Текущий вес: 15,760"]
["14,08,2016 13:07:56 Текущий вес: 15,740"]
["14,08,2016 13:07:57 Текущий вес: 15,760"]
["14,08,2016 13:07:57 Текущий вес: 15,740"]
["14,08,2016 13:07:58 Текущий вес: 15,760"]
["14,08,2016 13:07:59 Стабильный вес,"]
["14,08,2016 13:08:00 Текущий вес: 15,740"]
["14,08,2016 13:08:00 Нестабильный вес,"]
["14,08,2016 13:08:01 Текущий вес: 15,720"]
["14,08,2016 13:08:01 Текущий вес: 15,700"]
["14,08,2016 13:08:02 Текущий вес: 15,680"]
["14,08,2016 13:08:02 Текущий вес: 15,660"]
["14,08,2016 13:08:03 Текущий вес: 15,640"]
["14,08,2016 13:08:04 Стабильный вес,"]
["14,08,2016 13:08:04 Отсканирован пропуск \"D26,1 970568\""]
["14,08,2016 13:08:07 Зарегистрированный вес: 15,640"]
["14,08,2016 13:08:07 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 13:08:08 Табло: \"Освободите весы\""]
["14,08,2016 13:08:08 Открыть правый шлагбаум"]
["14,08,2016 13:08:08 Закрыть левый шлагбаум"]
["14,08,2016 13:08:19 Нестабильный вес,"]
["14,08,2016 13:08:19 Табло: \"Погасить все надписи,\""]
["14,08,2016 13:08:19 Текущий вес: 15,660"]
["14,08,2016 13:08:19 Текущий вес: 15,680"]
["14,08,2016 13:08:20 Текущий вес: 15,700"]
["14,08,2016 13:08:20 Текущий вес: 15,740"]
["14,08,2016 13:08:22 Стабильный вес,"]
["14,08,2016 13:08:22 Текущий вес: 15,760"]
["14,08,2016 13:08:29 Нестабильный вес,"]
["14,08,2016 13:08:29 Текущий вес: 15,740"]
["14,08,2016 13:08:29 Перекрыт правый датчик,"]
["14,08,2016 13:08:30 Текущий вес: 15,640"]
["14,08,2016 13:08:30 Текущий вес: 14,220"]
["14,08,2016 13:08:31 Текущий вес: 12,720"]
["14,08,2016 13:08:31 Текущий вес: 9,840"]
["14,08,2016 13:08:32 Текущий вес: 9,860"]
["14,08,2016 13:08:32 Текущий вес: 6,820"]
["14,08,2016 13:08:33 Текущий вес: 5,480"]
["14,08,2016 13:08:33 Открыты оба датчика,"]
["14,08,2016 13:08:33 Перекрыт правый датчик,"]
["14,08,2016 13:08:33 Открыты оба датчика,"]
["14,08,2016 13:08:33 Текущий вес: 5,440"]
["14,08,2016 13:08:33 Перекрыт правый датчик,"]
["14,08,2016 13:08:36 Текущий вес: 5,280"]
["14,08,2016 13:08:37 Текущий вес: 4,780"]
["14,08,2016 13:08:37 Текущий вес: 3,900"]
["14,08,2016 13:08:38 Открыты оба датчика,"]
["14,08,2016 13:08:38 Текущий вес: 0,500"]
["14,08,2016 13:08:38 Нестабильный вес около нуля,"]
["14,08,2016 13:08:38 Текущий вес: 0,020"]
["14,08,2016 13:08:39 Текущий вес: 0,000"]
["14,08,2016 13:08:40 Открыть левый шлагбаум"]
["14,08,2016 13:08:40 Стабильный ноль,"]
[]
["14,08,2016 13:20:31 Перекрыт левый датчик,"]
["14,08,2016 13:20:31 Открыты оба датчика,"]
["14,08,2016 13:20:32 Перекрыт левый датчик,"]
["14,08,2016 13:20:32 Открыты оба датчика,"]
["14,08,2016 13:20:32 Закрыть правый шлагбаум"]
["14,08,2016 13:20:32 Открыть правый шлагбаум"]
["14,08,2016 13:20:33 Нестабильный вес около нуля,"]
["14,08,2016 13:20:33 Текущий вес: 0,020"]
["14,08,2016 13:20:34 Текущий вес: 0,040"]
["14,08,2016 13:20:34 Текущий вес: 0,060"]
["14,08,2016 13:20:34 Текущий вес: 0,100"]
["14,08,2016 13:20:36 Стабильный вес около нуля,"]
["14,08,2016 13:20:37 Нестабильный вес около нуля,"]
["14,08,2016 13:20:37 Текущий вес: 0,080"]
["14,08,2016 13:20:38 Текущий вес: 0,060"]
["14,08,2016 13:20:38 Текущий вес: 0,040"]
["14,08,2016 13:20:39 Текущий вес: 0,020"]
["14,08,2016 13:20:39 Текущий вес: 0,000"]
["14,08,2016 13:20:40 Стабильный ноль,"]
[]
["14,08,2016 13:21:03 Перекрыт правый датчик,"]
["14,08,2016 13:21:03 Открыты оба датчика,"]
["14,08,2016 13:21:04 Перекрыт правый датчик,"]
["14,08,2016 13:21:04 Закрыть левый шлагбаум"]
["14,08,2016 13:21:09 Открыты оба датчика,"]
["14,08,2016 13:21:09 Открыть левый шлагбаум"]
["14,08,2016 13:21:09 Перекрыт правый датчик,"]
["14,08,2016 13:21:09 Открыты оба датчика,"]
["14,08,2016 13:21:11 Перекрыт правый датчик,"]
["14,08,2016 13:21:11 Открыты оба датчика,"]
["14,08,2016 13:21:12 Перекрыт правый датчик,"]
["14,08,2016 13:21:12 Открыты оба датчика,"]
["14,08,2016 13:21:12 Закрыть левый шлагбаум"]
["14,08,2016 13:21:12 Открыть левый шлагбаум"]
["14,08,2016 13:22:26 Перекрыт левый датчик,"]
["14,08,2016 13:22:26 Открыты оба датчика,"]
["14,08,2016 13:22:27 Закрыть правый шлагбаум"]
["14,08,2016 13:22:27 Открыть правый шлагбаум"]
["14,08,2016 13:28:19 Нестабильный вес около нуля,"]
["14,08,2016 13:28:19 Стабильный ноль,"]
[]
["14,08,2016 13:30:14 Перекрыт правый датчик,"]
["14,08,2016 13:30:15 Нестабильный вес около нуля,"]
["14,08,2016 13:30:15 Текущий вес: 0,020"]
["14,08,2016 13:30:15 Закрыть левый шлагбаум"]
["14,08,2016 13:30:16 Нестабильный вес,"]
["14,08,2016 13:30:16 Текущий вес: 0,580"]
["14,08,2016 13:30:16 Текущий вес: 1,260"]
["14,08,2016 13:30:17 Текущий вес: 2,700"]
["14,08,2016 13:30:17 Текущий вес: 2,760"]
["14,08,2016 13:30:17 Открыты оба датчика,"]
["14,08,2016 13:30:18 Текущий вес: 2,800"]
["14,08,2016 13:30:18 Текущий вес: 3,660"]
["14,08,2016 13:30:19 Текущий вес: 3,980"]
["14,08,2016 13:30:19 Текущий вес: 5,200"]
["14,08,2016 13:30:21 Стабильный вес,"]
["14,08,2016 13:30:24 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 13:30:25 Закрыть правый шлагбаум"]
["14,08,2016 13:30:27 Нестабильный вес,"]
["14,08,2016 13:30:27 Табло: \"Погасить все надписи,\""]
["14,08,2016 13:30:28 Текущий вес: 5,180"]
["14,08,2016 13:30:28 Текущий вес: 5,160"]
["14,08,2016 13:30:29 Текущий вес: 5,140"]
["14,08,2016 13:30:30 Стабильный вес,"]
["14,08,2016 13:30:33 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 13:30:36 Отсканирован пропуск \"D26,1 970611\""]
["14,08,2016 13:30:36 Табло: \"Погасить все надписи,\""]
["14,08,2016 13:30:36 Зарегистрированный вес: 5,140"]
["14,08,2016 13:30:37 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 13:30:37 Табло: \"Освободите весы\""]
["14,08,2016 13:30:37 Открыть левый шлагбаум"]
["14,08,2016 13:30:49 Нестабильный вес,"]
["14,08,2016 13:30:49 Табло: \"Погасить все надписи,\""]
["14,08,2016 13:30:49 Текущий вес: 5,160"]
["14,08,2016 13:30:49 Текущий вес: 5,180"]
["14,08,2016 13:30:50 Текущий вес: 5,200"]
["14,08,2016 13:30:51 Стабильный вес,"]
["14,08,2016 13:30:55 Нестабильный вес,"]
["14,08,2016 13:30:55 Перекрыт левый датчик,"]
["14,08,2016 13:30:55 Текущий вес: 4,860"]
["14,08,2016 13:30:56 Текущий вес: 4,180"]
["14,08,2016 13:30:56 Текущий вес: 2,460"]
["14,08,2016 13:30:57 Открыты оба датчика,"]
["14,08,2016 13:30:57 Нестабильный вес около нуля,"]
["14,08,2016 13:30:57 Текущий вес: 0,140"]
["14,08,2016 13:30:58 Текущий вес: 0,000"]
["14,08,2016 13:30:59 Открыть правый шлагбаум"]
["14,08,2016 13:30:59 Стабильный ноль,"]
[]
["14,08,2016 13:58:51 Нестабильный вес около нуля,"]
["14,08,2016 13:58:51 Стабильный ноль,"]
[]
["14,08,2016 14:14:21 Нестабильный вес около нуля,"]
["14,08,2016 14:14:21 Стабильный ноль,"]
[]
["14,08,2016 14:21:24 Нестабильный вес около нуля,"]
["14,08,2016 14:21:24 Стабильный ноль,"]
[]
["14,08,2016 15:04:00 Перекрыт левый датчик,"]
["14,08,2016 15:04:01 Закрыть правый шлагбаум"]
["14,08,2016 15:04:02 Нестабильный вес,"]
["14,08,2016 15:04:02 Текущий вес: 0,580"]
["14,08,2016 15:04:02 Текущий вес: 1,500"]
["14,08,2016 15:04:03 Текущий вес: 3,600"]
["14,08,2016 15:04:03 Текущий вес: 5,140"]
["14,08,2016 15:04:04 Текущий вес: 6,720"]
["14,08,2016 15:04:04 Открыты оба датчика,"]
["14,08,2016 15:04:04 Перекрыт левый датчик,"]
["14,08,2016 15:04:04 Открыты оба датчика,"]
["14,08,2016 15:04:04 Текущий вес: 9,100"]
["14,08,2016 15:04:05 Перекрыт левый датчик,"]
["14,08,2016 15:04:05 Открыты оба датчика,"]
["14,08,2016 15:04:05 Текущий вес: 9,140"]
["14,08,2016 15:04:05 Текущий вес: 9,040"]
["14,08,2016 15:04:05 Перекрыт левый датчик,"]
["14,08,2016 15:04:06 Текущий вес: 8,980"]
["14,08,2016 15:04:06 Открыты оба датчика,"]
["14,08,2016 15:04:06 Текущий вес: 8,960"]
["14,08,2016 15:04:06 Перекрыт левый датчик,"]
["14,08,2016 15:04:07 Текущий вес: 8,980"]
["14,08,2016 15:04:07 Текущий вес: 9,040"]
["14,08,2016 15:04:08 Текущий вес: 9,600"]
["14,08,2016 15:04:08 Текущий вес: 10,280"]
["14,08,2016 15:04:09 Открыты оба датчика,"]
["14,08,2016 15:04:09 Текущий вес: 13,060"]
["14,08,2016 15:04:09 Текущий вес: 14,140"]
["14,08,2016 15:04:10 Текущий вес: 14,100"]
["14,08,2016 15:04:10 Текущий вес: 14,120"]
["14,08,2016 15:04:12 Стабильный вес,"]
["14,08,2016 15:04:15 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 15:04:16 Закрыть левый шлагбаум"]
["14,08,2016 15:04:26 Нестабильный вес,"]
["14,08,2016 15:04:26 Табло: \"Погасить все надписи,\""]
["14,08,2016 15:04:26 Текущий вес: 14,100"]
["14,08,2016 15:04:27 Текущий вес: 14,080"]
["14,08,2016 15:04:28 Текущий вес: 14,060"]
["14,08,2016 15:04:29 Стабильный вес,"]
["14,08,2016 15:04:30 Отсканирован пропуск \"D26,1 970607\""]
["14,08,2016 15:04:32 Зарегистрированный вес: 14,060"]
["14,08,2016 15:04:32 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 15:04:33 Табло: \"Освободите весы\""]
["14,08,2016 15:04:33 Открыть правый шлагбаум"]
["14,08,2016 15:04:43 Нестабильный вес,"]
["14,08,2016 15:04:43 Табло: \"Погасить все надписи,\""]
["14,08,2016 15:04:43 Текущий вес: 14,080"]
["14,08,2016 15:04:44 Текущий вес: 14,100"]
["14,08,2016 15:04:45 Текущий вес: 14,120"]
["14,08,2016 15:04:46 Стабильный вес,"]
["14,08,2016 15:04:58 Нестабильный вес,"]
["14,08,2016 15:04:58 Перекрыт правый датчик,"]
["14,08,2016 15:04:58 Текущий вес: 14,080"]
["14,08,2016 15:04:58 Текущий вес: 13,180"]
["14,08,2016 15:04:59 Текущий вес: 12,220"]
["14,08,2016 15:04:59 Текущий вес: 10,320"]
["14,08,2016 15:05:00 Текущий вес: 10,340"]
["14,08,2016 15:05:00 Текущий вес: 8,200"]
["14,08,2016 15:05:01 Текущий вес: 7,600"]
["14,08,2016 15:05:01 Текущий вес: 5,300"]
["14,08,2016 15:05:02 Открыты оба датчика,"]
["14,08,2016 15:05:02 Текущий вес: 4,860"]
["14,08,2016 15:05:02 Перекрыт правый датчик,"]
["14,08,2016 15:05:02 Открыты оба датчика,"]
["14,08,2016 15:05:02 Текущий вес: 4,840"]
["14,08,2016 15:05:03 Перекрыт правый датчик,"]
["14,08,2016 15:05:03 Открыты оба датчика,"]
["14,08,2016 15:05:04 Стабильный вес,"]
["14,08,2016 15:05:04 Нестабильный вес,"]
["14,08,2016 15:05:05 Текущий вес: 4,860"]
["14,08,2016 15:05:05 Перекрыт правый датчик,"]
["14,08,2016 15:05:06 Текущий вес: 4,580"]
["14,08,2016 15:05:06 Текущий вес: 4,000"]
["14,08,2016 15:05:07 Текущий вес: 2,280"]
["14,08,2016 15:05:07 Текущий вес: 0,720"]
["14,08,2016 15:05:08 Нестабильный вес около нуля,"]
["14,08,2016 15:05:08 Текущий вес: 0,000"]
["14,08,2016 15:05:09 Открыты оба датчика,"]
["14,08,2016 15:05:09 Открыть левый шлагбаум"]
["14,08,2016 15:05:09 Стабильный ноль,"]
[]
["14,08,2016 16:20:49 Нестабильный вес около нуля,"]
["14,08,2016 16:20:49 Стабильный ноль,"]
[]
["14,08,2016 17:08:44 Нестабильный вес около нуля,"]
["14,08,2016 17:08:44 Стабильный ноль,"]
[]
["14,08,2016 17:21:27 Перекрыт правый датчик,"]
["14,08,2016 17:21:28 Закрыть левый шлагбаум"]
["14,08,2016 17:21:29 Нестабильный вес,"]
["14,08,2016 17:21:29 Текущий вес: 1,040"]
["14,08,2016 17:21:29 Текущий вес: 2,580"]
["14,08,2016 17:21:30 Текущий вес: 6,060"]
["14,08,2016 17:21:30 Текущий вес: 6,140"]
["14,08,2016 17:21:31 Текущий вес: 12,080"]
["14,08,2016 17:21:31 Текущий вес: 15,800"]
["14,08,2016 17:21:32 Открыты оба датчика,"]
["14,08,2016 17:21:32 Текущий вес: 21,280"]
["14,08,2016 17:21:32 Перекрыт правый датчик,"]
["14,08,2016 17:21:32 Текущий вес: 24,120"]
["14,08,2016 17:21:33 Текущий вес: 24,140"]
["14,08,2016 17:21:34 Текущий вес: 25,320"]
["14,08,2016 17:21:34 Текущий вес: 32,600"]
["14,08,2016 17:21:35 Текущий вес: 33,640"]
["14,08,2016 17:21:35 Текущий вес: 39,800"]
["14,08,2016 17:21:36 Текущий вес: 41,100"]
["14,08,2016 17:21:36 Открыты оба датчика,"]
["14,08,2016 17:21:36 Текущий вес: 46,120"]
["14,08,2016 17:21:37 Текущий вес: 45,200"]
["14,08,2016 17:21:37 Текущий вес: 45,920"]
["14,08,2016 17:21:38 Текущий вес: 45,560"]
["14,08,2016 17:21:38 Текущий вес: 45,640"]
["14,08,2016 17:21:39 Текущий вес: 45,680"]
["14,08,2016 17:21:39 Текущий вес: 45,640"]
["14,08,2016 17:21:40 Текущий вес: 45,660"]
["14,08,2016 17:21:40 Стабильный вес,"]
["14,08,2016 17:21:41 Нестабильный вес,"]
["14,08,2016 17:21:42 Стабильный вес,"]
["14,08,2016 17:21:45 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 17:21:46 Закрыть правый шлагбаум"]
["14,08,2016 17:21:50 Нестабильный вес,"]
["14,08,2016 17:21:50 Табло: \"Погасить все надписи,\""]
["14,08,2016 17:21:51 Текущий вес: 45,640"]
["14,08,2016 17:21:51 Текущий вес: 45,620"]
["14,08,2016 17:21:52 Текущий вес: 45,600"]
["14,08,2016 17:21:52 Текущий вес: 45,580"]
["14,08,2016 17:21:53 Стабильный вес,"]
["14,08,2016 17:21:56 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 17:22:00 Отсканирован пропуск \"D26,1 970664\""]
["14,08,2016 17:22:00 Табло: \"Погасить все надписи,\""]
["14,08,2016 17:22:00 Зарегистрированный вес: 45,580"]
["14,08,2016 17:22:00 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 17:22:01 Табло: \"Освободите весы\""]
["14,08,2016 17:22:01 Открыть левый шлагбаум"]
["14,08,2016 17:22:02 Отсканирован пропуск \"D26,1 970664\""]
["14,08,2016 17:22:12 Текущий вес: 45,600"]
["14,08,2016 17:22:13 Нестабильный вес,"]
["14,08,2016 17:22:13 Табло: \"Погасить все надписи,\""]
["14,08,2016 17:22:13 Текущий вес: 45,620"]
["14,08,2016 17:22:14 Текущий вес: 45,640"]
["14,08,2016 17:22:14 Текущий вес: 45,660"]
["14,08,2016 17:22:15 Стабильный вес,"]
["14,08,2016 17:22:24 Нестабильный вес,"]
["14,08,2016 17:22:25 Текущий вес: 45,640"]
["14,08,2016 17:22:26 Стабильный вес,"]
["14,08,2016 17:22:26 Нестабильный вес,"]
["14,08,2016 17:22:26 Текущий вес: 45,660"]
["14,08,2016 17:22:26 Перекрыт левый датчик,"]
["14,08,2016 17:22:27 Текущий вес: 44,660"]
["14,08,2016 17:22:28 Текущий вес: 43,120"]
["14,08,2016 17:22:28 Текущий вес: 39,460"]
["14,08,2016 17:22:29 Текущий вес: 39,520"]
["14,08,2016 17:22:29 Текущий вес: 39,560"]
["14,08,2016 17:22:30 Текущий вес: 39,340"]
["14,08,2016 17:22:30 Текущий вес: 37,500"]
["14,08,2016 17:22:31 Текущий вес: 30,360"]
["14,08,2016 17:22:31 Текущий вес: 27,480"]
["14,08,2016 17:22:32 Текущий вес: 22,120"]
["14,08,2016 17:22:32 Открыты оба датчика,"]
["14,08,2016 17:22:32 Текущий вес: 22,160"]
["14,08,2016 17:22:32 Перекрыт левый датчик,"]
["14,08,2016 17:22:33 Текущий вес: 22,300"]
["14,08,2016 17:22:33 Текущий вес: 19,720"]
["14,08,2016 17:22:34 Текущий вес: 17,880"]
["14,08,2016 17:22:34 Текущий вес: 9,340"]
["14,08,2016 17:22:35 Текущий вес: 3,600"]
["14,08,2016 17:22:35 Текущий вес: 2,140"]
["14,08,2016 17:22:36 Нестабильный вес около нуля,"]
["14,08,2016 17:22:36 Текущий вес: 0,000"]
["14,08,2016 17:22:37 Открыты оба датчика,"]
["14,08,2016 17:22:37 Открыть правый шлагбаум"]
["14,08,2016 17:22:37 Стабильный ноль,"]
[]
["14,08,2016 17:34:34 Нестабильный вес около нуля,"]
["14,08,2016 17:34:35 Стабильный ноль,"]
[]
["14,08,2016 17:42:56 Перекрыт левый датчик,"]
["14,08,2016 17:42:57 Нестабильный вес,"]
["14,08,2016 17:42:57 Текущий вес: 0,300"]
["14,08,2016 17:42:57 Закрыть правый шлагбаум"]
["14,08,2016 17:42:58 Текущий вес: 1,480"]
["14,08,2016 17:42:58 Текущий вес: 5,200"]
["14,08,2016 17:42:59 Текущий вес: 5,240"]
["14,08,2016 17:42:59 Текущий вес: 8,400"]
["14,08,2016 17:43:00 Текущий вес: 9,480"]
["14,08,2016 17:43:00 Открыты оба датчика,"]
["14,08,2016 17:43:00 Перекрыт левый датчик,"]
["14,08,2016 17:43:00 Открыты оба датчика,"]
["14,08,2016 17:43:00 Перекрыт левый датчик,"]
["14,08,2016 17:43:00 Текущий вес: 12,220"]
["14,08,2016 17:43:01 Текущий вес: 12,760"]
["14,08,2016 17:43:01 Текущий вес: 14,300"]
["14,08,2016 17:43:02 Текущий вес: 16,560"]
["14,08,2016 17:43:02 Текущий вес: 18,220"]
["14,08,2016 17:43:03 Текущий вес: 19,140"]
["14,08,2016 17:43:03 Открыты оба датчика,"]
["14,08,2016 17:43:03 Текущий вес: 20,680"]
["14,08,2016 17:43:04 Текущий вес: 20,540"]
["14,08,2016 17:43:04 Текущий вес: 20,640"]
["14,08,2016 17:43:05 Текущий вес: 20,660"]
["14,08,2016 17:43:06 Текущий вес: 20,640"]
["14,08,2016 17:43:06 Текущий вес: 20,620"]
["14,08,2016 17:43:07 Стабильный вес,"]
["14,08,2016 17:43:07 Текущий вес: 20,640"]
["14,08,2016 17:43:08 Нестабильный вес,"]
["14,08,2016 17:43:08 Текущий вес: 20,660"]
["14,08,2016 17:43:09 Стабильный вес,"]
["14,08,2016 17:43:12 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 17:43:13 Закрыть левый шлагбаум"]
["14,08,2016 17:43:17 Нестабильный вес,"]
["14,08,2016 17:43:17 Табло: \"Погасить все надписи,\""]
["14,08,2016 17:43:17 Текущий вес: 20,640"]
["14,08,2016 17:43:18 Текущий вес: 20,620"]
["14,08,2016 17:43:18 Текущий вес: 20,600"]
["14,08,2016 17:43:19 Текущий вес: 20,580"]
["14,08,2016 17:43:20 Стабильный вес,"]
["14,08,2016 17:43:23 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 17:43:28 Отсканирован пропуск \"D26,1 970664\""]
["14,08,2016 17:43:28 Табло: \"Погасить все надписи,\""]
["14,08,2016 17:43:28 Зарегистрированный вес: 20,580"]
["14,08,2016 17:43:28 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 17:43:28 Табло: \"Освободите весы\""]
["14,08,2016 17:43:28 Открыть правый шлагбаум"]
["14,08,2016 17:43:41 Нестабильный вес,"]
["14,08,2016 17:43:41 Табло: \"Погасить все надписи,\""]
["14,08,2016 17:43:41 Текущий вес: 20,600"]
["14,08,2016 17:43:42 Текущий вес: 20,620"]
["14,08,2016 17:43:42 Текущий вес: 20,640"]
["14,08,2016 17:43:43 Текущий вес: 20,660"]
["14,08,2016 17:43:44 Стабильный вес,"]
["14,08,2016 17:43:58 Нестабильный вес,"]
["14,08,2016 17:43:58 Перекрыт правый датчик,"]
["14,08,2016 17:43:58 Текущий вес: 20,640"]
["14,08,2016 17:43:58 Текущий вес: 19,400"]
["14,08,2016 17:43:59 Текущий вес: 17,980"]
["14,08,2016 17:43:59 Текущий вес: 15,000"]
["14,08,2016 17:44:00 Текущий вес: 13,780"]
["14,08,2016 17:44:00 Текущий вес: 11,260"]
["14,08,2016 17:44:01 Текущий вес: 9,580"]
["14,08,2016 17:44:01 Текущий вес: 7,220"]
["14,08,2016 17:44:02 Открыты оба датчика,"]
["14,08,2016 17:44:02 Перекрыт правый датчик,"]
["14,08,2016 17:44:02 Текущий вес: 7,340"]
["14,08,2016 17:44:02 Открыты оба датчика,"]
["14,08,2016 17:44:02 Перекрыт правый датчик,"]
["14,08,2016 17:44:02 Текущий вес: 7,120"]
["14,08,2016 17:44:03 Текущий вес: 4,920"]
["14,08,2016 17:44:03 Текущий вес: 3,280"]
["14,08,2016 17:44:04 Текущий вес: 1,700"]
["14,08,2016 17:44:04 Нестабильный вес около нуля,"]
["14,08,2016 17:44:04 Текущий вес: 0,000"]
["14,08,2016 17:44:05 Открыты оба датчика,"]
["14,08,2016 17:44:05 Открыть левый шлагбаум"]
["14,08,2016 17:44:05 Стабильный ноль,"]
[]
["14,08,2016 17:45:02 Нестабильный вес около нуля,"]
["14,08,2016 17:45:03 Стабильный ноль,"]
[]
["14,08,2016 17:47:46 Перекрыт правый датчик,"]
["14,08,2016 17:47:47 Закрыть левый шлагбаум"]
["14,08,2016 17:47:48 Нестабильный вес,"]
["14,08,2016 17:47:48 Текущий вес: 0,900"]
["14,08,2016 17:47:48 Текущий вес: 2,360"]
["14,08,2016 17:47:49 Текущий вес: 5,340"]
["14,08,2016 17:47:49 Текущий вес: 6,780"]
["14,08,2016 17:47:50 Текущий вес: 12,380"]
["14,08,2016 17:47:50 Открыты оба датчика,"]
["14,08,2016 17:47:50 Текущий вес: 16,760"]
["14,08,2016 17:47:50 Перекрыт правый датчик,"]
["14,08,2016 17:47:51 Текущий вес: 18,260"]
["14,08,2016 17:47:51 Текущий вес: 18,640"]
["14,08,2016 17:47:52 Текущий вес: 25,540"]
["14,08,2016 17:47:52 Текущий вес: 30,140"]
["14,08,2016 17:47:53 Текущий вес: 35,260"]
["14,08,2016 17:47:53 Открыты оба датчика,"]
["14,08,2016 17:47:53 Текущий вес: 39,320"]
["14,08,2016 17:47:54 Текущий вес: 42,220"]
["14,08,2016 17:47:54 Текущий вес: 42,420"]
["14,08,2016 17:47:55 Текущий вес: 41,520"]
["14,08,2016 17:47:55 Текущий вес: 41,400"]
["14,08,2016 17:47:56 Текущий вес: 41,920"]
["14,08,2016 17:47:56 Текущий вес: 41,700"]
["14,08,2016 17:47:57 Текущий вес: 41,620"]
["14,08,2016 17:47:57 Текущий вес: 42,020"]
["14,08,2016 17:47:58 Текущий вес: 41,800"]
["14,08,2016 17:47:58 Текущий вес: 41,740"]
["14,08,2016 17:47:59 Текущий вес: 41,940"]
["14,08,2016 17:48:00 Текущий вес: 41,800"]
["14,08,2016 17:48:00 Текущий вес: 41,820"]
["14,08,2016 17:48:01 Текущий вес: 41,840"]
["14,08,2016 17:48:02 Текущий вес: 41,860"]
["14,08,2016 17:48:04 Стабильный вес,"]
["14,08,2016 17:48:05 Нестабильный вес,"]
["14,08,2016 17:48:06 Стабильный вес,"]
["14,08,2016 17:48:09 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 17:48:10 Закрыть правый шлагбаум"]
["14,08,2016 17:48:11 Нестабильный вес,"]
["14,08,2016 17:48:11 Табло: \"Погасить все надписи,\""]
["14,08,2016 17:48:11 Текущий вес: 41,840"]
["14,08,2016 17:48:13 Текущий вес: 41,860"]
["14,08,2016 17:48:15 Стабильный вес,"]
["14,08,2016 17:48:16 Нестабильный вес,"]
["14,08,2016 17:48:16 Текущий вес: 41,840"]
["14,08,2016 17:48:17 Текущий вес: 41,820"]
["14,08,2016 17:48:18 Текущий вес: 41,800"]
["14,08,2016 17:48:19 Стабильный вес,"]
["14,08,2016 17:48:22 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 17:48:24 Отсканирован пропуск \"D26,1 970665\""]
["14,08,2016 17:48:24 Табло: \"Погасить все надписи,\""]
["14,08,2016 17:48:24 Зарегистрированный вес: 41,800"]
["14,08,2016 17:48:24 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 17:48:24 Табло: \"Освободите весы\""]
["14,08,2016 17:48:24 Открыть левый шлагбаум"]
["14,08,2016 17:48:24 Отсканирован пропуск \"D26,1 970665\""]
["14,08,2016 17:48:25 Отсканирован пропуск \"D26,1 970665\""]
["14,08,2016 17:48:32 Нестабильный вес,"]
["14,08,2016 17:48:32 Табло: \"Погасить все надписи,\""]
["14,08,2016 17:48:32 Текущий вес: 41,820"]
["14,08,2016 17:48:33 Текущий вес: 41,840"]
["14,08,2016 17:48:33 Текущий вес: 41,860"]
["14,08,2016 17:48:35 Стабильный вес,"]
["14,08,2016 17:48:54 Нестабильный вес,"]
["14,08,2016 17:48:55 Стабильный вес,"]
["14,08,2016 17:48:56 Перекрыт левый датчик,"]
["14,08,2016 17:48:57 Нестабильный вес,"]
["14,08,2016 17:48:57 Текущий вес: 41,740"]
["14,08,2016 17:48:57 Текущий вес: 40,460"]
["14,08,2016 17:48:58 Текущий вес: 39,100"]
["14,08,2016 17:48:58 Текущий вес: 36,460"]
["14,08,2016 17:48:59 Текущий вес: 32,720"]
["14,08,2016 17:49:00 Текущий вес: 29,200"]
["14,08,2016 17:49:00 Текущий вес: 24,760"]
["14,08,2016 17:49:01 Текущий вес: 23,400"]
["14,08,2016 17:49:01 Открыты оба датчика,"]
["14,08,2016 17:49:01 Перекрыт левый датчик,"]
["14,08,2016 17:49:01 Текущий вес: 23,480"]
["14,08,2016 17:49:02 Текущий вес: 20,180"]
["14,08,2016 17:49:02 Текущий вес: 15,520"]
["14,08,2016 17:49:03 Текущий вес: 8,580"]
["14,08,2016 17:49:03 Текущий вес: 4,480"]
["14,08,2016 17:49:04 Нестабильный вес около нуля,"]
["14,08,2016 17:49:04 Текущий вес: 0,000"]
["14,08,2016 17:49:05 Открыты оба датчика,"]
["14,08,2016 17:49:05 Открыть правый шлагбаум"]
["14,08,2016 17:49:05 Стабильный ноль,"]
[]
["14,08,2016 18:06:23 Перекрыт правый датчик,"]
["14,08,2016 18:06:24 Нестабильный вес около нуля,"]
["14,08,2016 18:06:24 Текущий вес: 0,060"]
["14,08,2016 18:06:24 Закрыть левый шлагбаум"]
["14,08,2016 18:06:25 Нестабильный вес,"]
["14,08,2016 18:06:25 Текущий вес: 1,100"]
["14,08,2016 18:06:25 Текущий вес: 2,560"]
["14,08,2016 18:06:26 Текущий вес: 5,280"]
["14,08,2016 18:06:27 Текущий вес: 5,240"]
["14,08,2016 18:06:27 Текущий вес: 5,180"]
["14,08,2016 18:06:28 Текущий вес: 9,080"]
["14,08,2016 18:06:28 Текущий вес: 11,960"]
["14,08,2016 18:06:29 Текущий вес: 26,780"]
["14,08,2016 18:06:29 Открыты оба датчика,"]
["14,08,2016 18:06:29 Текущий вес: 35,380"]
["14,08,2016 18:06:30 Текущий вес: 35,260"]
["14,08,2016 18:06:30 Текущий вес: 35,540"]
["14,08,2016 18:06:31 Текущий вес: 35,400"]
["14,08,2016 18:06:31 Текущий вес: 35,440"]
["14,08,2016 18:06:32 Стабильный вес,"]
["14,08,2016 18:06:33 Нестабильный вес,"]
["14,08,2016 18:06:33 Текущий вес: 35,420"]
["14,08,2016 18:06:34 Текущий вес: 35,400"]
["14,08,2016 18:06:35 Стабильный вес,"]
["14,08,2016 18:06:36 Нестабильный вес,"]
["14,08,2016 18:06:36 Текущий вес: 35,420"]
["14,08,2016 18:06:37 Текущий вес: 35,440"]
["14,08,2016 18:06:39 Стабильный вес,"]
["14,08,2016 18:06:39 Нестабильный вес,"]
["14,08,2016 18:06:40 Стабильный вес,"]
["14,08,2016 18:06:43 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 18:06:44 Закрыть правый шлагбаум"]
["14,08,2016 18:06:45 Нестабильный вес,"]
["14,08,2016 18:06:45 Табло: \"Погасить все надписи,\""]
["14,08,2016 18:06:45 Текущий вес: 35,420"]
["14,08,2016 18:06:46 Текущий вес: 35,400"]
["14,08,2016 18:06:46 Текущий вес: 35,380"]
["14,08,2016 18:06:47 Текущий вес: 35,360"]
["14,08,2016 18:06:47 Текущий вес: 35,340"]
["14,08,2016 18:06:48 Стабильный вес,"]
["14,08,2016 18:06:51 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 18:06:52 Отсканирован пропуск \"D26,1 970671\""]
["14,08,2016 18:06:52 Табло: \"Погасить все надписи,\""]
["14,08,2016 18:06:52 Зарегистрированный вес: 35,340"]
["14,08,2016 18:06:52 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 18:06:53 Табло: \"Освободите весы\""]
["14,08,2016 18:06:53 Открыть левый шлагбаум"]
["14,08,2016 18:06:54 Отсканирован пропуск \"D26,1 970671\""]
["14,08,2016 18:07:03 Нестабильный вес,"]
["14,08,2016 18:07:03 Табло: \"Погасить все надписи,\""]
["14,08,2016 18:07:03 Текущий вес: 35,360"]
["14,08,2016 18:07:04 Текущий вес: 35,380"]
["14,08,2016 18:07:04 Текущий вес: 35,400"]
["14,08,2016 18:07:05 Текущий вес: 35,420"]
["14,08,2016 18:07:06 Текущий вес: 35,440"]
["14,08,2016 18:07:06 Стабильный вес,"]
["14,08,2016 18:07:16 Текущий вес: 35,420"]
["14,08,2016 18:07:17 Нестабильный вес,"]
["14,08,2016 18:07:18 Перекрыт левый датчик,"]
["14,08,2016 18:07:18 Текущий вес: 35,320"]
["14,08,2016 18:07:19 Текущий вес: 34,180"]
["14,08,2016 18:07:19 Текущий вес: 32,860"]
["14,08,2016 18:07:20 Текущий вес: 30,220"]
["14,08,2016 18:07:21 Текущий вес: 30,280"]
["14,08,2016 18:07:21 Текущий вес: 30,340"]
["14,08,2016 18:07:22 Текущий вес: 23,800"]
["14,08,2016 18:07:22 Текущий вес: 21,360"]
["14,08,2016 18:07:23 Текущий вес: 2,380"]
["14,08,2016 18:07:23 Открыты оба датчика,"]
["14,08,2016 18:07:23 Нестабильный вес около нуля,"]
["14,08,2016 18:07:23 Текущий вес: 0,000"]
["14,08,2016 18:07:24 Открыть правый шлагбаум"]
["14,08,2016 18:07:24 Стабильный ноль,"]
[]
["14,08,2016 18:07:52 Перекрыт левый датчик,"]
["14,08,2016 18:07:53 Закрыть правый шлагбаум"]
["14,08,2016 18:07:54 Нестабильный вес,"]
["14,08,2016 18:07:54 Текущий вес: 0,360"]
["14,08,2016 18:07:54 Текущий вес: 1,440"]
["14,08,2016 18:07:55 Текущий вес: 4,800"]
["14,08,2016 18:07:55 Текущий вес: 4,820"]
["14,08,2016 18:07:56 Текущий вес: 5,640"]
["14,08,2016 18:07:57 Текущий вес: 8,300"]
["14,08,2016 18:07:57 Открыты оба датчика,"]
["14,08,2016 18:07:57 Текущий вес: 10,560"]
["14,08,2016 18:07:57 Перекрыт левый датчик,"]
["14,08,2016 18:07:58 Текущий вес: 11,580"]
["14,08,2016 18:07:58 Текущий вес: 11,720"]
["14,08,2016 18:07:59 Текущий вес: 11,980"]
["14,08,2016 18:07:59 Текущий вес: 12,620"]
["14,08,2016 18:08:00 Текущий вес: 13,860"]
["14,08,2016 18:08:00 Открыты оба датчика,"]
["14,08,2016 18:08:00 Текущий вес: 15,360"]
["14,08,2016 18:08:01 Текущий вес: 16,680"]
["14,08,2016 18:08:01 Текущий вес: 17,540"]
["14,08,2016 18:08:02 Текущий вес: 17,640"]
["14,08,2016 18:08:02 Текущий вес: 17,680"]
["14,08,2016 18:08:03 Текущий вес: 17,700"]
["14,08,2016 18:08:04 Стабильный вес,"]
["14,08,2016 18:08:04 Нестабильный вес,"]
["14,08,2016 18:08:05 Стабильный вес,"]
["14,08,2016 18:08:06 Нестабильный вес,"]
["14,08,2016 18:08:07 Стабильный вес,"]
["14,08,2016 18:08:08 Нестабильный вес,"]
["14,08,2016 18:08:09 Стабильный вес,"]
["14,08,2016 18:08:12 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 18:08:13 Закрыть левый шлагбаум"]
["14,08,2016 18:08:22 Нестабильный вес,"]
["14,08,2016 18:08:22 Табло: \"Погасить все надписи,\""]
["14,08,2016 18:08:22 Текущий вес: 17,680"]
["14,08,2016 18:08:23 Текущий вес: 17,660"]
["14,08,2016 18:08:24 Текущий вес: 17,640"]
["14,08,2016 18:08:24 Стабильный вес,"]
["14,08,2016 18:08:27 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 18:08:27 Текущий вес: 17,660"]
["14,08,2016 18:08:28 Текущий вес: 17,640"]
["14,08,2016 18:08:31 Текущий вес: 17,660"]
["14,08,2016 18:08:33 Текущий вес: 17,640"]
["14,08,2016 18:08:34 Отсканирован пропуск \"D26,1 970665\""]
["14,08,2016 18:08:34 Табло: \"Погасить все надписи,\""]
["14,08,2016 18:08:34 Зарегистрированный вес: 17,640"]
["14,08,2016 18:08:34 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 18:08:35 Табло: \"Освободите весы\""]
["14,08,2016 18:08:35 Открыть правый шлагбаум"]
["14,08,2016 18:08:36 Текущий вес: 17,660"]
["14,08,2016 18:08:36 Текущий вес: 17,640"]
["14,08,2016 18:08:43 Текущий вес: 17,660"]
["14,08,2016 18:08:44 Текущий вес: 17,640"]
["14,08,2016 18:08:46 Нестабильный вес,"]
["14,08,2016 18:08:46 Табло: \"Погасить все надписи,\""]
["14,08,2016 18:08:46 Текущий вес: 17,660"]
["14,08,2016 18:08:47 Текущий вес: 17,680"]
["14,08,2016 18:08:47 Текущий вес: 17,700"]
["14,08,2016 18:08:49 Стабильный вес,"]
["14,08,2016 18:08:59 Текущий вес: 17,720"]
["14,08,2016 18:09:00 Текущий вес: 17,700"]
["14,08,2016 18:09:00 Нестабильный вес,"]
["14,08,2016 18:09:01 Перекрыт правый датчик,"]
["14,08,2016 18:09:01 Текущий вес: 17,620"]
["14,08,2016 18:09:02 Текущий вес: 16,400"]
["14,08,2016 18:09:02 Текущий вес: 15,020"]
["14,08,2016 18:09:03 Текущий вес: 12,340"]
["14,08,2016 18:09:04 Текущий вес: 12,380"]
["14,08,2016 18:09:04 Текущий вес: 10,900"]
["14,08,2016 18:09:05 Текущий вес: 9,380"]
["14,08,2016 18:09:05 Текущий вес: 7,020"]
["14,08,2016 18:09:06 Текущий вес: 6,160"]
["14,08,2016 18:09:06 Открыты оба датчика,"]
["14,08,2016 18:09:06 Перекрыт правый датчик,"]
["14,08,2016 18:09:07 Текущий вес: 6,020"]
["14,08,2016 18:09:08 Текущий вес: 5,780"]
["14,08,2016 18:09:08 Текущий вес: 5,240"]
["14,08,2016 18:09:09 Текущий вес: 2,540"]
["14,08,2016 18:09:09 Открыты оба датчика,"]
["14,08,2016 18:09:09 Текущий вес: 1,300"]
["14,08,2016 18:09:10 Текущий вес: 0,200"]
["14,08,2016 18:09:10 Нестабильный вес около нуля,"]
["14,08,2016 18:09:10 Текущий вес: 0,000"]
["14,08,2016 18:09:11 Открыть левый шлагбаум"]
["14,08,2016 18:09:11 Стабильный ноль,"]
[]
["14,08,2016 18:23:02 Перекрыт левый датчик,"]
["14,08,2016 18:23:03 Закрыть правый шлагбаум"]
["14,08,2016 18:23:03 Нестабильный вес,"]
["14,08,2016 18:23:03 Текущий вес: 0,680"]
["14,08,2016 18:23:03 Текущий вес: 1,900"]
["14,08,2016 18:23:04 Текущий вес: 4,860"]
["14,08,2016 18:23:05 Текущий вес: 4,880"]
["14,08,2016 18:23:05 Текущий вес: 4,860"]
["14,08,2016 18:23:06 Текущий вес: 8,040"]
["14,08,2016 18:23:06 Открыты оба датчика,"]
["14,08,2016 18:23:06 Текущий вес: 8,920"]
["14,08,2016 18:23:07 Текущий вес: 14,480"]
["14,08,2016 18:23:07 Текущий вес: 14,540"]
["14,08,2016 18:23:08 Текущий вес: 14,480"]
["14,08,2016 18:23:10 Текущий вес: 14,460"]
["14,08,2016 18:23:11 Стабильный вес,"]
["14,08,2016 18:23:12 Текущий вес: 14,480"]
["14,08,2016 18:23:13 Текущий вес: 14,460"]
["14,08,2016 18:23:14 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 18:23:15 Закрыть левый шлагбаум"]
["14,08,2016 18:23:18 Нестабильный вес,"]
["14,08,2016 18:23:18 Табло: \"Погасить все надписи,\""]
["14,08,2016 18:23:19 Текущий вес: 14,440"]
["14,08,2016 18:23:19 Текущий вес: 14,400"]
["14,08,2016 18:23:20 Текущий вес: 14,380"]
["14,08,2016 18:23:22 Стабильный вес,"]
["14,08,2016 18:23:25 Табло: \"Отсканируйте пропуск\""]
["14,08,2016 18:23:25 Отсканирован пропуск \"D26,1 970671\""]
["14,08,2016 18:23:25 Зарегистрированный вес: 14,380"]
["14,08,2016 18:23:25 Телеграмма отправлена (см, лог телеграмм)"]
["14,08,2016 18:23:26 Табло: \"Освободите весы\""]
["14,08,2016 18:23:26 Открыть правый шлагбаум"]
["14,08,2016 18:23:37 Нестабильный вес,"]
["14,08,2016 18:23:37 Табло: \"Погасить все надписи,\""]
["14,08,2016 18:23:38 Текущий вес: 14,400"]
["14,08,2016 18:23:38 Текущий вес: 14,420"]
["14,08,2016 18:23:39 Текущий вес: 14,440"]
["14,08,2016 18:23:40 Текущий вес: 14,460"]
["14,08,2016 18:23:41 Стабильный вес,"]
["14,08,2016 18:23:50 Нестабильный вес,"]
["14,08,2016 18:23:50 Перекрыт правый датчик,"]
["14,08,2016 18:23:50 Текущий вес: 13,640"]
["14,08,2016 18:23:51 Текущий вес: 12,320"]
["14,08,2016 18:23:51 Текущий вес: 9,260"]
["14,08,2016 18:23:52 Текущий вес: 9,060"]
["14,08,2016 18:23:52 Текущий вес: 5,120"]
["14,08,2016 18:23:53 Текущий вес: 0,500"]
["14,08,2016 18:23:53 Открыты оба датчика,"]
["14,08,2016 18:23:53 Нестабильный вес около нуля,"]
["14,08,2016 18:23:53 Текущий вес: 0,000"]
["14,08,2016 18:23:54 Открыть левый шлагбаум"]
["14,08,2016 18:23:54 Стабильный ноль,"]
[]
["14,08,2016 18:25:34 Нестабильный вес около нуля,"]
["14,08,2016 18:25:34 Стабильный ноль,"]
[]
["14,08,2016 18:30:07 Нестабильный вес около нуля,"]
["14,08,2016 18:30:07 Стабильный ноль,"]
[]
["14,08,2016 19:00:03 Нестабильный вес около нуля,"]
["14,08,2016 19:00:03 Стабильный ноль,"]
[]
["14,08,2016 19:13:08 Нестабильный вес около нуля,"]
["14,08,2016 19:13:08 Стабильный ноль,"]
[]
["14,08,2016 19:27:57 Нестабильный вес около нуля,"]
["14,08,2016 19:27:57 Стабильный ноль,"]
[]
["14,08,2016 19:59:30 Нестабильный вес около нуля,"]
["14,08,2016 19:59:30 Стабильный ноль,"]
[]
["14,08,2016 20:15:15 Нестабильный вес около нуля,"]
["14,08,2016 20:15:15 Стабильный ноль,"]
[]
["14,08,2016 20:16:44 Нестабильный вес около нуля,"]
["14,08,2016 20:16:44 Стабильный ноль,"]
[]
["14,08,2016 20:23:30 Нестабильный вес около нуля,"]
["14,08,2016 20:23:30 Стабильный ноль,"]
[]
["14,08,2016 20:24:05 Нестабильный вес около нуля,"]
["14,08,2016 20:24:05 Стабильный ноль,"]
[]
["14,08,2016 20:35:59 Весы заблокированы"]
["14,08,2016 20:36:00 Закрыть правый шлагбаум"]
["14,08,2016 20:36:00 Закрыть левый шлагбаум"]
["14,08,2016 21:08:06 Обнулить весы"]
["14,08,2016 22:28:09 Обнулить весы"]
["14,08,2016 22:55:20 Обнулить весы"]
["14,08,2016 23:38:32 Обнулить весы"]
["01,08,2016 10:34:38 Открыты оба датчика,"]
["01,08,2016 10:34:39 Текущий вес: 7,580"]
["01,08,2016 10:34:39 Текущий вес: 4,340"]
["01,08,2016 10:34:40 Нестабильный вес около нуля,"]
["01,08,2016 10:34:40 Текущий вес: 0,100"]
["01,08,2016 10:34:40 Текущий вес: 0,000"]
["01,08,2016 10:34:41 Открыты оба датчика,"]
["01,08,2016 10:34:41 Стабильный ноль,"]
[]
["01,08,2016 10:36:16 Нестабильный вес,"]
["01,08,2016 10:36:16 Текущий вес: 0,200"]
["01,08,2016 10:36:16 Открыты оба датчика,"]
["01,08,2016 10:36:16 Текущий вес: 1,500"]
["01,08,2016 10:36:17 Текущий вес: 5,840"]
["01,08,2016 10:36:17 Текущий вес: 7,360"]
["01,08,2016 10:36:18 Текущий вес: 14,260"]
["01,08,2016 10:36:18 Открыты оба датчика,"]
["01,08,2016 10:36:18 Текущий вес: 20,240"]
["01,08,2016 10:36:19 Текущий вес: 21,160"]
["01,08,2016 10:36:19 Текущий вес: 21,040"]
["01,08,2016 10:36:20 Текущий вес: 20,860"]
["01,08,2016 10:36:20 Текущий вес: 21,100"]
["01,08,2016 10:36:21 Текущий вес: 21,080"]
["01,08,2016 10:36:21 Текущий вес: 21,060"]
["01,08,2016 10:36:22 Текущий вес: 21,020"]
["01,08,2016 10:36:22 Текущий вес: 21,000"]
["01,08,2016 10:36:23 Текущий вес: 21,020"]
["01,08,2016 10:36:24 Текущий вес: 21,040"]
["01,08,2016 10:36:25 Стабильный вес,"]
["01,08,2016 10:36:26 Нестабильный вес,"]
["01,08,2016 10:36:26 Текущий вес: 21,020"]
["01,08,2016 10:36:27 Стабильный вес,"]
["01,08,2016 10:36:29 Нестабильный вес,"]
["01,08,2016 10:36:29 Текущий вес: 21,000"]
["01,08,2016 10:36:30 Текущий вес: 20,980"]
["01,08,2016 10:36:30 Текущий вес: 20,960"]
["01,08,2016 10:36:31 Текущий вес: 20,940"]
["01,08,2016 10:36:31 Текущий вес: 20,920"]
["01,08,2016 10:36:32 Стабильный вес,"]
["01,08,2016 10:36:33 Отсканирован пропуск \"D26,1 961561\""]
["01,08,2016 10:36:35 Отсканирован пропуск \"D26,1 961561\""]
["01,08,2016 10:36:35 Зарегистрированный вес: 20,920"]
["01,08,2016 10:36:35 Телеграмма отправлена (см, лог телеграмм)"]
["01,08,2016 10:36:36 Отсканирован пропуск \"D26,1 961561\""]
["01,08,2016 10:36:43 Нестабильный вес,"]
["01,08,2016 10:36:44 Текущий вес: 20,940"]
["01,08,2016 10:36:45 Текущий вес: 20,980"]
["01,08,2016 10:36:45 Текущий вес: 21,000"]
["01,08,2016 10:36:46 Текущий вес: 21,020"]
["01,08,2016 10:36:47 Стабильный вес,"]
["01,08,2016 10:36:53 Текущий вес: 21,000"]
["01,08,2016 10:36:54 Нестабильный вес,"]
["01,08,2016 10:36:54 Текущий вес: 20,540"]
["01,08,2016 10:36:54 Текущий вес: 19,240"]
["01,08,2016 10:36:55 Открыты оба датчика,"]
["01,08,2016 10:36:55 Текущий вес: 16,040"]
["01,08,2016 10:36:55 Текущий вес: 15,980"]
["01,08,2016 10:36:56 Текущий вес: 10,580"]
["01,08,2016 10:36:56 Текущий вес: 3,840"]
["01,08,2016 10:36:57 Открыты оба датчика,"]
["01,08,2016 10:36:57 Нестабильный вес около нуля,"]
["01,08,2016 10:36:57 Текущий вес: 0,000"]
["01,08,2016 10:36:58 Стабильный ноль,"]
[]
["01,08,2016 10:37:13 Нестабильный вес,"]
["01,08,2016 10:37:13 Текущий вес: 0,240"]
["01,08,2016 10:37:13 Текущий вес: 1,680"]
["01,08,2016 10:37:14 Текущий вес: 6,180"]
["01,08,2016 10:37:14 Текущий вес: 6,120"]
["01,08,2016 10:37:15 Текущий вес: 6,060"]
["01,08,2016 10:37:15 Текущий вес: 6,000"]
["01,08,2016 10:37:16 Текущий вес: 7,620"]
["01,08,2016 10:37:16 Текущий вес: 9,980"]
["01,08,2016 10:37:17 Открыты оба датчика,"]
["01,08,2016 10:37:17 Текущий вес: 22,320"]
["01,08,2016 10:37:17 Текущий вес: 22,780"]
["01,08,2016 10:37:19 Текущий вес: 22,800"]
["01,08,2016 10:37:20 Текущий вес: 22,780"]
["01,08,2016 10:37:23 Текущий вес: 22,800"]
["01,08,2016 10:37:24 Стабильный вес,"]
["01,08,2016 10:37:28 Нестабильный вес,"]
["01,08,2016 10:37:28 Текущий вес: 22,780"]
["01,08,2016 10:37:29 Текущий вес: 22,760"]
["01,08,2016 10:37:30 Текущий вес: 22,740"]
["01,08,2016 10:37:30 Текущий вес: 22,720"]
["01,08,2016 10:37:31 Стабильный вес,"]
["01,08,2016 10:37:33 Отсканирован пропуск \"D26,1 961552\""]
["01,08,2016 10:37:34 Зарегистрированный вес: 22,720"]
["01,08,2016 10:37:34 Телеграмма отправлена (см, лог телеграмм)"]
["01,08,2016 10:37:35 Отсканирован пропуск \"D26,1 961552\""]
["01,08,2016 10:37:43 Нестабильный вес,"]
["01,08,2016 10:37:43 Текущий вес: 22,740"]
["01,08,2016 10:37:44 Текущий вес: 22,760"]
["01,08,2016 10:37:44 Текущий вес: 22,780"]
["01,08,2016 10:37:45 Текущий вес: 22,800"]
["01,08,2016 10:37:46 Стабильный вес,"]
["01,08,2016 10:37:48 Текущий вес: 22,780"]
["01,08,2016 10:37:49 Нестабильный вес,"]
["01,08,2016 10:37:50 Текущий вес: 22,160"]
["01,08,2016 10:37:51 Текущий вес: 20,620"]
["01,08,2016 10:37:51 Текущий вес: 16,500"]
["01,08,2016 10:37:52 Текущий вес: 16,520"]
["01,08,2016 10:37:53 Текущий вес: 16,540"]
["01,08,2016 10:37:53 Текущий вес: 14,680"]
["01,08,2016 10:37:54 Текущий вес: 13,100"]
["01,08,2016 10:37:54 Текущий вес: 1,980"]
["01,08,2016 10:37:54 Открыты оба датчика,"]
["01,08,2016 10:37:55 Нестабильный вес около нуля,"]
["01,08,2016 10:37:55 Текущий вес: 0,000"]
["01,08,2016 10:37:56 Стабильный ноль,"]

{"sheet":"secr","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}