{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["Лист1","Лист2","Лист3","Лист4","Лист5"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":5,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":19,"n_cols":2,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["KKS","марка"]
["4KLA100DD001","АВЦ-5000"]
["4KLA100DD002","ДМ160L4ОМ5"]
["4KLA100DD003","АВЦ-5000"]
["4KLA100DD004","ДМ160L4ОМ5"]
["4KLA100DD005","АВЦ-5000"]
["4KLA100DD006","ДМ160L4ОМ5"]
["4KLA200DD001","АИР 112 М2А3У "]
["4KLA200DD002","GRUNDFOS  0,25кВт, 1350об/мин"]
["4KLA200DD003","ПР9000"]
["4KLA200DD004","5АИ 315 M4 "]
["4KLA200DD005","GRUNDFOS       MG90LC4-24FF165-B"]
["4KLA200DD006","5АИ 315 M4 "]
["4KLA300DD001","GRUNDFOS       MG90LC4-24FF165-B"]
["4KLA300DD002","5АИ315M4У3"]
["4KLA300DD003","GRUNDFOS       MG90LC4-24FF165-B"]
["4KLA300DD004","ПР8000"]
["4KLA300DD005","ПР8001"]
["4KLA300DD006","ПР8002"]

{"sheet":"Лист2","index":1,"n_rows":19,"n_cols":2,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["KKS","напряжение питания"]
["4KLA100DD001",180]
["4KLA100DD002",170]
["4KLA100DD003",160]
["4KLA100DD004",150]
["4KLA100DD005",140]
["4KLA100DD006",130]
["4KLA200DD001",120]
["4KLA200DD002",110]
["4KLA200DD003",100]
["4KLA200DD004",90]
["4KLA200DD005",80]
["4KLA200DD006",70]
["4KLA300DD001",60]
["4KLA300DD002",50]
["4KLA300DD003",40]
["4KLA300DD004",30]
["4KLA300DD005",20]
["4KLA300DD006",10]

{"sheet":"Лист3","index":2,"n_rows":19,"n_cols":2,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["KKS","Местонахождение"]
["4KLA100DD001","подвал"]
["4KLA100DD002","подвал"]
["4KLA100DD003","подвал"]
["4KLA100DD004","подвал"]
["4KLA100DD005","подвал"]
["4KLA100DD006","подвал"]
["4KLA200DD001","подвал"]
["4KLA200DD002","подвал"]
["4KLA200DD003","подвал"]
["4KLA200DD004","крыша"]
["4KLA200DD005","крыша"]
["4KLA200DD006","крыша"]
["4KLA300DD001","котельная"]
["4KLA300DD002","котельная"]
["4KLA300DD003","котельная"]
["4KLA300DD004","котельная"]
["4KLA300DD005","котельная"]
["4KLA300DD006","котельная"]

{"sheet":"Лист4","index":3,"n_rows":19,"n_cols":2,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["KKS","дата следующего ремонта"]
["4KLA300DD006",2016]
["4KLA300DD005",2016]
["4KLA300DD004",2016]
["4KLA300DD003",2020]
["4KLA300DD002",2020]
["4KLA300DD001",2020]
["4KLA200DD006",2019]
["4KLA200DD005",2019]
["4KLA200DD004",2019]
["4KLA200DD003",2018]
["4KLA200DD002",2018]
["4KLA200DD001",2018]
["4KLA100DD006",2018]
["4KLA100DD005",2017]
["4KLA100DD004",2017]
["4KLA100DD003",2017]
["4KLA100DD002",2017]
["4KLA100DD001",2017]

{"sheet":"Лист5","index":4,"n_rows":19,"n_cols":14,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
[1,2,3,null,4,5,"KKS",7,8,9,10,11,12,13]
["40ABQ2872M","БЛ.4","Кабель №1","00ABC10GS110B","ОРУ 500","","4KLA100DD001","ОРУ 500","","ВВГнг(A)-LS-1","3*6ок","15","1","4"]
["40ABQ2871M","БЛ.5","Кабель №2","00ABC10GS110C","ОРУ 501","","4KLA100DD002","ОРУ 501","","ВВГнг(A)-LS-1","3*6ок","15","1","4"]
["40ABQ2870M","БЛ.6","Кабель №3","01ABQ20GS240C","ОРУ 502","","4KLA100DD003","ОРУ 502","","ВВГнг(A)-LS-1","3*6ок","65","1","4"]
["40ABQ2873M","БЛ.7","Кабель №4","00ABC10GS110A","ОРУ 503","","4KLA100DD004","ОРУ 503","","ВВГнг(A)-LS-1","3*6ок","5","1","4"]
["40ABQ2874M","БЛ.8","Кабель №5","00ABC10GS210A","ОРУ 504","","4KLA100DD005","ОРУ 504","","ВВГнг(A)-LS-1","3*6ок","15","1","4"]
["40ABQ2875M","БЛ.9","Кабель №6","00ABC10GS210B","ОРУ 505","","4KLA100DD006","ОРУ 505","","ВВГнг(A)-LS-1","3*6ок","15","1","4"]
["40ABQ3402M","БЛ.10","Кабель №7","00ABC20GS110B","ОРУ 506","","4KLA200DD001","ОРУ 506","","ВВГнг(A)-LS-1","3*6ок","25","1","4"]
["40ABQ3401M","БЛ.11","Кабель №8","00ABC20GS110C","ОРУ 507",null,"4KLA200DD002","ОРУ 507","","ВВГнг(A)-LS-1","3*6ок","25","1","4"]
["40ABQ3400M","БЛ.12","Кабель №9","03ABQ20GS240C","ОРУ 508","","4KLA200DD003","ОРУ 508",null,"ВВГнг(A)-LS-1","3*6ок","80","1","4"]
["40ABQ3403M","БЛ.13","Кабель №10","00ABC20GS110A","ОРУ 509","","4KLA200DD004","ОРУ 509","","ВВГнг(A)-LS-1","3*6ок","5","1","4"]
["40ABQ3404M","БЛ.14","Кабель №11","00ABC20GS210A","ОРУ 510","","4KLA200DD005","ОРУ 510","","ВВГнг(A)-LS-1","3*6ок","15","1","4"]
["40ABQ3405M","БЛ.15","Кабель №12","00ABC20GS210B","ОРУ 511","","4KLA200DD006","ОРУ 511","","ВВГнг(A)-LS-1","3*6ок","15","1","4"]
["40ABQ3854M","БЛ.16","Кабель №13","00ABC30GS110B","ОРУ 512","","4KLA300DD001","ОРУ 512","","ВВГнг(A)-LS-1","3*6ок","55","1","4"]
["40ABQ3853M","БЛ.17","Кабель №14","00ABC30GS110C","ОРУ 513","","4KLA300DD002","ОРУ 513","","ВВГнг(A)-LS-1","3*6ок","55","1","4"]
["40ABQ3852M","БЛ.18","Кабель №15","04ABQ20GS240C","ОРУ 514","","4KLA300DD003","ОРУ 514","","ВВГнг(A)-LS-1","3*6ок","80","1","4"]
["40ABQ3855M","БЛ.19","Кабель №16","00ABC30GS110A","ОРУ 515","","4KLA300DD004","ОРУ 515","","ВВГнг(A)-LS-1","3*6ок","55","1","4"]
["40ABQ3856M","БЛ.20","Кабель №17","00ABC30GS210A","ОРУ 516","","4KLA300DD005","ОРУ 516","","ВВГнг(A)-LS-1","3*6ок","55","1","4"]
["40ABQ3857M","БЛ.21","Кабель №18","00ABC30GS210B","ОРУ 517","","4KLA300DD006","ОРУ 517","","ВВГнг(A)-LS-1","3*6ок","55","1","4"]