{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Лист1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":25,"n_cols":11,"rows_kept":25,"cut":false,"hidden":false,"merged":[[20,4,20,5],[21,4,21,5],[22,4,22,5],[0,9,0,10],[1,0,1,7],[1,9,2,9],[1,10,2,10],[2,4,2,5],[0,8,2,8],[5,0,5,7],[10,4,10,5],[11,4,11,5],[23,4,23,5],[17,4,17,5],[15,4,15,5],[16,4,16,5],[18,4,18,5],[19,4,19,5],[9,4,9,5],[12,4,12,5],[13,4,13,5],[14,0,14,7],[4,4,4,5],[6,4,6,5],[7,4,7,5],[8,4,8,5],[0,0,0,7],[3,0,3,7]]}
["Счет",null,null,null,null,null,null,null,"Ед. изм.","На конец"]
["Склад",null,null,null,null,null,null,null,null,"Количество","Сумма"]
["Код","Номенклатура","Код технического склада","Классификация","Критичность",null,"Количество минимальное","Количество максимальное"]
[710,null,null,null,null,null,null,null,"шт",1,350]
["T9603000280","Нагреватель канальный водяной.НКВ 600*350-4","TS1RDL1","ERSA","C",null,0,1,"шт",1,350]
["0820.3",null,null,null,null,null,null,null,"шт",5,{"$f":"SUM(K7:K14)","v":2628}]
["T7101020003","Блок питания RN221N","TS1RGL0","ERSA","C",null,0,0,"шт",2,500]
["T7101020002","Вихревой расходомер Prowirl F 200,7F2B40Ду40 в комплекте с флянцами под приваркуDN40 PN40,En 1092-1 B1 P250GN-2шт, монтажными пренадлежностями","TS1RGL0","ERSA","C",null,0,0,"компл",null,375]
["T7101020001","Вихревой расходомер Prowirl F 200,7F2B80Ду80 в комплекте с флянцами под приваркуDN80 PN40,En 1092-1 B1 P250GN-2шт, монтажными пренадлежностями","TS1RGL0","ERSA","C",null,0,0,"компл",null,418]
["T0000000712","Гидравлическая тележка LEMA LM-25","CTR2","ERSA","N",null,0,0,"шт",2,349]
["T9200000096","Кондиционер ART 09 HG","TS1RGL1","ZSIM","Z",null,0,0,"шт",null,308]
["T9200000097","Кондиционер ART 12 HG","TS1RGL1","ZSIM","Z",null,0,0,"шт",null,267]
["T9206030001","Погрузчик HYUNDAI модель 18G-7M","TS1","ZSIM","Z",null,0,0,"шт",null,226]
["WA12188    ","Счетчик электронный Меркурий 230 АRT -03 PQC (R) SIDN","TS1RGL1","ZSIM","Z",null,0,0,"шт",1,185]
["0820.5",null,null,null,null,null,null,null,"шт",97,{"$f":"SUM(K16:K25)","v":9855.8333333333176}]
["T9200000091"," KX-TDE0110XJ Карта расширения Panasonic","TS1RGL1","ZSIM","Z",null,0,0,"шт",null,594]
["T9200000092"," Карта расширения KX-NS5110X ","TS1RGL1","ZSIM","Z",null,0,0,"шт",null,375]
["T9200000094"," Карта расширения KX-NS5173X ","TS1RGL1","ZSIM","Z",null,0,0,"шт",null,817]
["T9202000106","HP Businnes Backpack (сумка для ноутбука)","TS1RGL2","UNBW","N",null,0,0,"шт",null,818.33333333333303]
["T9202000104","HP Elite Desk 800 G2 DM 35W","TS1RGL2","UNBW","N",null,0,0,"шт",80,929.83333333333303]
["T9202000105","HP Elitebook 840 G3","TS1RGL2","UNBW","N",null,0,0,"шт",15,1041.3333333333301]
["T9202000107","HP ProLiant DL380 Gen9 8 SFF","TS1RGL2","UNBW","N",null,0,0,"шт",2,1152.8333333333301]
["T9200000095","Коммутатор KX-NS500UC ","TS1RGL1","ZSIM","Z",null,0,0,"шт",null,1264.3333333333301]
["T9200000093","Монитор Samsung S22D300","TS1RGL1","ZSIM","Z",null,0,0,"шт",null,1375.8333333333301]
["T0000001040","Планшетный компютер HP IDS UMA M5-6Y57 8GB ",null,null,null,null,0,0,"шт",null,1487.3333333333301]