## Лист1
1 | Данные - текст по столбцам - разделитель запятая - ОК - первый столбец в формате дат точку поставьте - данные в В5
2 | Выделяете С6 - жмете Контрл Шифт Енд, жмете Контрл h - меняете точку на запятую (этот шаг ТОЛЬКО если у Вас разделитель целой и дробной части числа запятая, если точка, то п.2 НЕ ДЕЛАЕТЕ)
3 | По полученным данным строите диаграмму
Timestamp,"Irradiance (W/m2)","Ambient temp (°C)","Photovoltaic temp (°C)","PV1 voltage (V)","PV2 voltage (V)","PV3 voltage (V)","PV1 current (A)","PV2 current (A)","PV3 current (A)","PV1 power (W)","PV2 power (W)","PV3 power (W)","PV1 energy (Wh)","PV2 energy (Wh)","PV3 energy (Wh)","Grid voltage L1 (V)","Grid voltage L2 (V)","Grid voltage L3 (V)","Grid current L1 (A)","Grid current L2 (A)","Grid current L3 (A)","Grid power L1 (W)","Grid power L2 (W)","Grid power L3 (W)","Sum of apparent power (VA)","Grid power total (W)","Grid energy L1 (Wh)","Grid energy L2 (Wh)","Grid energy L3 (Wh)","S0 counter (Wh)","Grid current DC L1 (mA)","Grid current DC L2 (mA)","Grid current DC L3 (mA)","Grid residual current (mA)","Grid frequency mean (Hz)","DC Bus upper (V)","DC Bus lower (V)","Temp power (°C)","Temp AUX (°C)","Temp CTRL (°C)","Temp power 1 (°C)","Temp power boost (°C)","Apparent power L1 (VA)","Apparent power L2 (VA)","Apparent power L3 (VA)","S0 value (W)","Reactive power L1 (Var)","Reactive power L2 (Var)","Reactive power L3 (Var)","Op mode (SELECTION)","Latest event (Unitless)","PLA (%)","Reactive power mode (SELECTION)","Overexcited/Underexcited","Reactive power abs(Q)" | Timestamp | Irradiance (W/m2) | Ambient temp (°C) | Photovoltaic temp (°C) | PV1 voltage (V) | PV2 voltage (V) | PV3 voltage (V) | PV1 current (A) | PV2 current (A) | PV3 current (A) | PV1 power (W) | PV2 power (W) | PV3 power (W) | PV1 energy (Wh) | PV2 energy (Wh) | PV3 energy (Wh) | Grid voltage L1 (V) | Grid voltage L2 (V) | Grid voltage L3 (V) | Grid current L1 (A) | Grid current L2 (A) | Grid current L3 (A) | Grid power L1 (W) | Grid power L2 (W) | Grid power L3 (W) | Sum of apparent power (VA) | Grid power total (W) | Grid energy L1 (Wh) | Grid energy L2 (Wh) | Grid energy L3 (Wh) | S0 counter (Wh) | Grid current DC L1 (mA) | Grid current DC L2 (mA) | Grid current DC L3 (mA) | Grid residual current (mA) | Grid frequency mean (Hz) | DC Bus upper (V) | DC Bus lower (V) | Temp power (°C) | Temp AUX (°C) | Temp CTRL (°C) | Temp power 1 (°C) | Temp power boost (°C) | Apparent power L1 (VA) | Apparent power L2 (VA) | Apparent power L3 (VA) | S0 value (W) | Reactive power L1 (Var) | Reactive power L2 (Var) | Reactive power L3 (Var) | Op mode (SELECTION) | Latest event (Unitless) | PLA (%) | Reactive power mode (SELECTION) | Overexcited/Underexcited | Reactive power abs(Q)
23-12-2016 11:10:0,"0","125","127","491.9","0.0","0.0","2.368","0.000","0.000","1325","0","0","224","0","0","157.4","166.1","158.1","2.026","2.074","2.054","418","450","426","1323","1295","72","77","73","0","-2","1","-1","3","37.456","276.3","277.5","10","12","11","8","8","427","460","435","0","2","2","2","60","0","100.0","2","0","0.000" | 2016-12-23 11:10 | 0 | 125 | 127 | 491.9 | 0 | 0 | 2.368 | 0 | 0 | 1325 | 0 | 0 | 224 | 0 | 0 | 157.4 | 166.1 | 158.1 | 2.026 | 2.074 | 2.054 | 418 | 450 | 426 | 1323 | 1295 | 72 | 77 | 73 | 0 | -2 | 1 | -1 | 3 | 37.456 | 276.3 | 277.5 | 10 | 12 | 11 | 8 | 8 | 427 | 460 | 435 | 0 | 2 | 2 | 2 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 11:20:0,"0","125","127","542.0","0.0","0.0","5.482","0.000","0.000","2971","0","0","720","0","0","213.9","221.7","213.1","4.537","4.588","4.582","950","995","957","2965","2903","230","243","233","0","0","16","4","8","49.995","348.3","348.2","13","17","15","13","14","970","1017","976","0","5","5","5","60","0","100.0","2","0","0.000" | 2016-12-23 11:20 | 0 | 125 | 127 | 542 | 0 | 0 | 5.482 | 0 | 0 | 2971 | 0 | 0 | 720 | 0 | 0 | 213.9 | 221.7 | 213.1 | 4.537 | 4.588 | 4.582 | 950 | 995 | 957 | 2965 | 2903 | 230 | 243 | 233 | 0 | 0 | 16 | 4 | 8 | 49.995 | 348.3 | 348.2 | 13 | 17 | 15 | 13 | 14 | 970 | 1017 | 976 | 0 | 5 | 5 | 5 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 11:30:0,"0","125","127","516.5","0.0","0.0","5.924","0.000","0.000","3061","0","0","1230","0","0","215.5","223.3","211.9","4.658","4.722","4.659","985","1033","969","3046","2988","395","416","394","0","-1","13","9","9","50.003","351.2","351.2","13","19","15","16","16","1003","1054","987","0","5","5","5","60","0","100.0","2","0","0.000" | 2016-12-23 11:30 | 0 | 125 | 127 | 516.5 | 0 | 0 | 5.924 | 0 | 0 | 3061 | 0 | 0 | 1230 | 0 | 0 | 215.5 | 223.3 | 211.9 | 4.658 | 4.722 | 4.659 | 985 | 1033 | 969 | 3046 | 2988 | 395 | 416 | 394 | 0 | -1 | 13 | 9 | 9 | 50.003 | 351.2 | 351.2 | 13 | 19 | 15 | 16 | 16 | 1003 | 1054 | 987 | 0 | 5 | 5 | 5 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 11:40:0,"0","125","127","513.4","342.0","0.0","5.488","0.095","0.000","2834","62","0","1701","10","0","216.3","225.2","218.2","4.312","4.399","4.415","913","969","943","2889","2827","547","577","551","0","2","7","10","8","49.997","353.2","353.3","13","20","15","17","18","933","991","963","0","4","4","4","60","0","100.0","2","0","0.000" | 2016-12-23 11:40 | 0 | 125 | 127 | 513.4 | 342 | 0 | 5.488 | 0.095 | 0 | 2834 | 62 | 0 | 1701 | 10 | 0 | 216.3 | 225.2 | 218.2 | 4.312 | 4.399 | 4.415 | 913 | 969 | 943 | 2889 | 2827 | 547 | 577 | 551 | 0 | 2 | 7 | 10 | 8 | 49.997 | 353.2 | 353.3 | 13 | 20 | 15 | 17 | 18 | 933 | 991 | 963 | 0 | 4 | 4 | 4 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 11:50:0,"0","125","127","469.8","495.2","0.0","6.148","1.089","0.000","2918","347","0","2188","68","0","217.1","225.5","216.9","4.849","4.939","4.920","1036","1092","1049","3234","3179","720","759","727","0","3","7","10","9","50.002","353.9","354.0","14","21","16","18","19","1055","1113","1069","0","5","5","5","60","0","100.0","2","0","0.000" | 2016-12-23 11:50 | 0 | 125 | 127 | 469.8 | 495.2 | 0 | 6.148 | 1.089 | 0 | 2918 | 347 | 0 | 2188 | 68 | 0 | 217.1 | 225.5 | 216.9 | 4.849 | 4.939 | 4.92 | 1036 | 1092 | 1049 | 3234 | 3179 | 720 | 759 | 727 | 0 | 3 | 7 | 10 | 9 | 50.002 | 353.9 | 354 | 14 | 21 | 16 | 18 | 19 | 1055 | 1113 | 1069 | 0 | 5 | 5 | 5 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 12:0:0,"0","124","127","458.3","263.6","0.0","6.443","3.239","0.000","2952","853","0","2680","210","0","214.4","226.9","216.9","5.578","5.768","5.712","1181","1292","1224","3745","3699","917","975","931","0","3","7","10","10","50.004","357.5","357.5","16","22","18","19","23","1196","1309","1239","0","5","6","6","60","0","100.0","2","0","0.000" | 2016-12-23 12:00 | 0 | 124 | 127 | 458.3 | 263.6 | 0 | 6.443 | 3.239 | 0 | 2952 | 853 | 0 | 2680 | 210 | 0 | 214.4 | 226.9 | 216.9 | 5.578 | 5.768 | 5.712 | 1181 | 1292 | 1224 | 3745 | 3699 | 917 | 975 | 931 | 0 | 3 | 7 | 10 | 10 | 50.004 | 357.5 | 357.5 | 16 | 22 | 18 | 19 | 23 | 1196 | 1309 | 1239 | 0 | 5 | 6 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 12:10:0,"0","124","127","423.5","267.9","0.0","6.677","3.269","0.000","2828","873","0","3153","356","0","217.7","226.3","214.9","5.495","5.574","5.507","1180","1244","1168","3643","3594","1114","1182","1125","0","3","7","11","10","49.994","356.2","356.2","17","23","19","21","26","1196","1261","1183","0","6","6","5","60","0","100.0","2","0","0.000" | 2016-12-23 12:10 | 0 | 124 | 127 | 423.5 | 267.9 | 0 | 6.677 | 3.269 | 0 | 2828 | 873 | 0 | 3153 | 356 | 0 | 217.7 | 226.3 | 214.9 | 5.495 | 5.574 | 5.507 | 1180 | 1244 | 1168 | 3643 | 3594 | 1114 | 1182 | 1125 | 0 | 3 | 7 | 11 | 10 | 49.994 | 356.2 | 356.2 | 17 | 23 | 19 | 21 | 26 | 1196 | 1261 | 1183 | 0 | 6 | 6 | 5 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 12:20:0,"0","124","127","438.1","264.5","0.0","6.366","3.552","0.000","2787","939","0","3616","513","0","219.1","226.6","214.7","5.552","5.593","5.516","1200","1250","1169","3670","3621","1314","1391","1320","0","3","7","11","10","49.994","355.5","355.5","18","24","20","22","28","1216","1267","1184","0","6","6","6","60","0","100.0","2","0","0.000" | 2016-12-23 12:20 | 0 | 124 | 127 | 438.1 | 264.5 | 0 | 6.366 | 3.552 | 0 | 2787 | 939 | 0 | 3616 | 513 | 0 | 219.1 | 226.6 | 214.7 | 5.552 | 5.593 | 5.516 | 1200 | 1250 | 1169 | 3670 | 3621 | 1314 | 1391 | 1320 | 0 | 3 | 7 | 11 | 10 | 49.994 | 355.5 | 355.5 | 18 | 24 | 20 | 22 | 28 | 1216 | 1267 | 1184 | 0 | 6 | 6 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 12:30:0,"0","124","127","409.5","268.4","0.0","6.501","3.628","0.000","2661","973","0","4060","675","0","219.8","226.4","213.5","5.446","5.459","5.355","1180","1219","1128","3578","3528","1511","1594","1508","0","2","6","10","10","50.004","354.3","354.3","19","25","20","23","29","1197","1236","1143","0","6","6","6","60","0","100.0","2","0","0.000" | 2016-12-23 12:30 | 0 | 124 | 127 | 409.5 | 268.4 | 0 | 6.501 | 3.628 | 0 | 2661 | 973 | 0 | 4060 | 675 | 0 | 219.8 | 226.4 | 213.5 | 5.446 | 5.459 | 5.355 | 1180 | 1219 | 1128 | 3578 | 3528 | 1511 | 1594 | 1508 | 0 | 2 | 6 | 10 | 10 | 50.004 | 354.3 | 354.3 | 19 | 25 | 20 | 23 | 29 | 1197 | 1236 | 1143 | 0 | 6 | 6 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 12:40:0,"0","124","127","420.4","284.2","0.0","6.096","3.507","0.000","2559","997","0","4487","841","0","219.7","226.2","213.7","5.328","5.344","5.262","1153","1191","1108","3505","3454","1703","1793","1693","0","3","7","11","10","50.002","355.3","355.3","20","26","21","23","30","1171","1209","1124","0","6","6","5","60","0","100.0","2","0","0.000" | 2016-12-23 12:40 | 0 | 124 | 127 | 420.4 | 284.2 | 0 | 6.096 | 3.507 | 0 | 2559 | 997 | 0 | 4487 | 841 | 0 | 219.7 | 226.2 | 213.7 | 5.328 | 5.344 | 5.262 | 1153 | 1191 | 1108 | 3505 | 3454 | 1703 | 1793 | 1693 | 0 | 3 | 7 | 11 | 10 | 50.002 | 355.3 | 355.3 | 20 | 26 | 21 | 23 | 30 | 1171 | 1209 | 1124 | 0 | 6 | 6 | 5 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 12:50:0,"0","124","127","424.3","288.7","0.0","5.937","3.372","0.000","2518","974","0","4907","1004","0","218.6","226.1","215.0","5.207","5.248","5.204","1121","1169","1102","3445","3394","1890","1988","1877","0","3","7","11","10","49.999","354.3","354.3","21","27","22","24","30","1138","1187","1119","0","6","6","5","60","0","100.0","2","0","0.000" | 2016-12-23 12:50 | 0 | 124 | 127 | 424.3 | 288.7 | 0 | 5.937 | 3.372 | 0 | 2518 | 974 | 0 | 4907 | 1004 | 0 | 218.6 | 226.1 | 215 | 5.207 | 5.248 | 5.204 | 1121 | 1169 | 1102 | 3445 | 3394 | 1890 | 1988 | 1877 | 0 | 3 | 7 | 11 | 10 | 49.999 | 354.3 | 354.3 | 21 | 27 | 22 | 24 | 30 | 1138 | 1187 | 1119 | 0 | 6 | 6 | 5 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 13:0:0,"0","124","127","434.7","379.5","0.0","5.804","2.713","0.000","2522","940","0","5327","1161","0","217.0","226.1","215.7","5.148","5.231","5.185","1101","1165","1101","3420","3368","2074","2182","2061","0","3","8","11","10","50.001","355.6","355.6","21","28","22","24","29","1117","1182","1118","0","5","6","5","60","0","100.0","2","0","0.000" | 2016-12-23 13:00 | 0 | 124 | 127 | 434.7 | 379.5 | 0 | 5.804 | 2.713 | 0 | 2522 | 940 | 0 | 5327 | 1161 | 0 | 217 | 226.1 | 215.7 | 5.148 | 5.231 | 5.185 | 1101 | 1165 | 1101 | 3420 | 3368 | 2074 | 2182 | 2061 | 0 | 3 | 8 | 11 | 10 | 50.001 | 355.6 | 355.6 | 21 | 28 | 22 | 24 | 29 | 1117 | 1182 | 1118 | 0 | 5 | 6 | 5 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 13:10:0,"0","124","127","446.3","532.9","0.0","5.863","1.712","0.000","2615","914","0","5763","1313","0","217.7","227.6","214.8","5.249","5.357","5.257","1126","1201","1113","3493","3441","2261","2382","2246","0","3","7","11","10","50.003","357.8","357.8","22","28","23","24","28","1142","1219","1129","0","5","6","5","60","0","100.0","2","0","0.000" | 2016-12-23 13:10 | 0 | 124 | 127 | 446.3 | 532.9 | 0 | 5.863 | 1.712 | 0 | 2615 | 914 | 0 | 5763 | 1313 | 0 | 217.7 | 227.6 | 214.8 | 5.249 | 5.357 | 5.257 | 1126 | 1201 | 1113 | 3493 | 3441 | 2261 | 2382 | 2246 | 0 | 3 | 7 | 11 | 10 | 50.003 | 357.8 | 357.8 | 22 | 28 | 23 | 24 | 28 | 1142 | 1219 | 1129 | 0 | 5 | 6 | 5 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 13:20:0,"0","124","127","434.7","559.5","0.0","6.151","1.744","0.000","2674","977","0","6209","1476","0","219.0","227.9","215.7","5.415","5.496","5.426","1169","1235","1154","3611","3560","2456","2588","2439","0","3","7","11","10","49.996","357.8","357.8","22","29","23","24","28","1186","1253","1170","0","6","6","6","60","0","100.0","2","0","0.000" | 2016-12-23 13:20 | 0 | 124 | 127 | 434.7 | 559.5 | 0 | 6.151 | 1.744 | 0 | 2674 | 977 | 0 | 6209 | 1476 | 0 | 219 | 227.9 | 215.7 | 5.415 | 5.496 | 5.426 | 1169 | 1235 | 1154 | 3611 | 3560 | 2456 | 2588 | 2439 | 0 | 3 | 7 | 11 | 10 | 49.996 | 357.8 | 357.8 | 22 | 29 | 23 | 24 | 28 | 1186 | 1253 | 1170 | 0 | 6 | 6 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 13:30:0,"0","124","127","475.2","590.7","0.0","5.880","1.583","0.000","2793","929","0","6675","1631","0","221.0","226.9","216.2","5.546","5.571","5.519","1208","1247","1176","3685","3634","2658","2796","2635","0","2","7","12","10","49.998","357.3","357.3","22","29","23","25","28","1226","1264","1193","0","6","6","6","60","0","100.0","2","0","0.000" | 2016-12-23 13:30 | 0 | 124 | 127 | 475.2 | 590.7 | 0 | 5.88 | 1.583 | 0 | 2793 | 929 | 0 | 6675 | 1631 | 0 | 221 | 226.9 | 216.2 | 5.546 | 5.571 | 5.519 | 1208 | 1247 | 1176 | 3685 | 3634 | 2658 | 2796 | 2635 | 0 | 2 | 7 | 12 | 10 | 49.998 | 357.3 | 357.3 | 22 | 29 | 23 | 25 | 28 | 1226 | 1264 | 1193 | 0 | 6 | 6 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 13:40:0,"0","124","127","509.8","659.4","0.0","5.845","1.424","0.000","2978","941","0","7171","1788","0","219.7","227.2","218.3","5.798","5.862","5.836","1257","1316","1257","3881","3832","2868","3016","2845","0","2","7","11","11","50.003","357.8","357.9","22","29","23","25","28","1273","1332","1274","0","6","6","6","60","0","100.0","2","0","0.000" | 2016-12-23 13:40 | 0 | 124 | 127 | 509.8 | 659.4 | 0 | 5.845 | 1.424 | 0 | 2978 | 941 | 0 | 7171 | 1788 | 0 | 219.7 | 227.2 | 218.3 | 5.798 | 5.862 | 5.836 | 1257 | 1316 | 1257 | 3881 | 3832 | 2868 | 3016 | 2845 | 0 | 2 | 7 | 11 | 11 | 50.003 | 357.8 | 357.9 | 22 | 29 | 23 | 25 | 28 | 1273 | 1332 | 1274 | 0 | 6 | 6 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 13:50:0,"0","124","127","514.2","668.9","0.0","5.856","1.433","0.000","3007","961","0","7672","1948","0","221.4","227.2","217.3","5.900","5.906","5.887","1290","1325","1262","3929","3880","3083","3237","3055","0","2","8","12","11","50.001","357.9","357.9","22","30","24","25","28","1306","1341","1279","0","6","7","6","60","0","100.0","2","0","0.000" | 2016-12-23 13:50 | 0 | 124 | 127 | 514.2 | 668.9 | 0 | 5.856 | 1.433 | 0 | 3007 | 961 | 0 | 7672 | 1948 | 0 | 221.4 | 227.2 | 217.3 | 5.9 | 5.906 | 5.887 | 1290 | 1325 | 1262 | 3929 | 3880 | 3083 | 3237 | 3055 | 0 | 2 | 8 | 12 | 11 | 50.001 | 357.9 | 357.9 | 22 | 30 | 24 | 25 | 28 | 1306 | 1341 | 1279 | 0 | 6 | 7 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 14:0:0,"0","124","127","513.5","695.9","0.0","5.967","1.332","0.000","3057","929","0","8181","2103","0","223.0","227.0","217.6","5.952","5.913","5.898","1308","1324","1265","3954","3899","3301","3457","3266","0","1","9","11","11","50.001","358.1","358.1","22","30","24","26","28","1327","1342","1283","0","6","7","6","60","0","100.0","2","0","0.000" | 2016-12-23 14:00 | 0 | 124 | 127 | 513.5 | 695.9 | 0 | 5.967 | 1.332 | 0 | 3057 | 929 | 0 | 8181 | 2103 | 0 | 223 | 227 | 217.6 | 5.952 | 5.913 | 5.898 | 1308 | 1324 | 1265 | 3954 | 3899 | 3301 | 3457 | 3266 | 0 | 1 | 9 | 11 | 11 | 50.001 | 358.1 | 358.1 | 22 | 30 | 24 | 26 | 28 | 1327 | 1342 | 1283 | 0 | 6 | 7 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 14:10:0,"0","124","127","526.7","655.8","0.0","6.019","1.331","0.000","3170","875","0","8711","2249","0","223.4","227.6","216.4","6.032","6.000","5.948","1331","1350","1272","4002","3955","3523","3683","3478","0","2","7","11","11","50.016","357.9","357.9","22","30","24","26","28","1348","1366","1287","0","7","7","6","60","0","100.0","2","0","0.000" | 2016-12-23 14:10 | 0 | 124 | 127 | 526.7 | 655.8 | 0 | 6.019 | 1.331 | 0 | 3170 | 875 | 0 | 8711 | 2249 | 0 | 223.4 | 227.6 | 216.4 | 6.032 | 6 | 5.948 | 1331 | 1350 | 1272 | 4002 | 3955 | 3523 | 3683 | 3478 | 0 | 2 | 7 | 11 | 11 | 50.016 | 357.9 | 357.9 | 22 | 30 | 24 | 26 | 28 | 1348 | 1366 | 1287 | 0 | 7 | 7 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 14:20:0,"0","124","127","529.5","668.6","0.0","6.069","1.245","0.000","3214","834","0","9246","2388","0","221.8","226.8","218.4","6.009","5.997","6.000","1318","1344","1294","4005","3959","3743","3907","3694","0","2","7","11","11","50.023","357.0","357.1","22","30","24","26","28","1333","1360","1310","0","6","7","6","60","0","100.0","2","0","0.000" | 2016-12-23 14:20 | 0 | 124 | 127 | 529.5 | 668.6 | 0 | 6.069 | 1.245 | 0 | 3214 | 834 | 0 | 9246 | 2388 | 0 | 221.8 | 226.8 | 218.4 | 6.009 | 5.997 | 6 | 1318 | 1344 | 1294 | 4005 | 3959 | 3743 | 3907 | 3694 | 0 | 2 | 7 | 11 | 11 | 50.023 | 357 | 357.1 | 22 | 30 | 24 | 26 | 28 | 1333 | 1360 | 1310 | 0 | 6 | 7 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 14:30:0,"0","124","127","538.7","670.7","0.0","6.080","1.128","0.000","3276","759","0","9793","2515","0","222.4","226.6","218.4","6.000","5.979","5.968","1319","1339","1287","3994","3947","3963","4130","3909","0","2","7","11","11","50.004","357.0","357.1","22","31","24","26","28","1334","1355","1303","0","6","7","6","60","0","100.0","2","0","0.000" | 2016-12-23 14:30 | 0 | 124 | 127 | 538.7 | 670.7 | 0 | 6.08 | 1.128 | 0 | 3276 | 759 | 0 | 9793 | 2515 | 0 | 222.4 | 226.6 | 218.4 | 6 | 5.979 | 5.968 | 1319 | 1339 | 1287 | 3994 | 3947 | 3963 | 4130 | 3909 | 0 | 2 | 7 | 11 | 11 | 50.004 | 357 | 357.1 | 22 | 31 | 24 | 26 | 28 | 1334 | 1355 | 1303 | 0 | 6 | 7 | 6 | 60 | 0 | 100 | 2 | 0 | 0
23-12-2016 14:40:0,"0","124","127","541.9","617.8","0.0","5.935","0.959","0.000","3217","592","0","10329","2614","0","220.9","226.1","220.0","5.632","5.649","5.700","1227","1261","1237","3777","3727","4168","4341","4115","0","2","7","11","10","50.004","355.7","355.8","22","31","24","26","28","1244","1277","1254","0","6","6","6","60","0","100.0","2","0","0.000" | 2016-12-23 14:40 | 0 | 124 | 127 | 541.9 | 617.8 | 0 | 5.935 | 0.959 | 0 | 3217 | 592 | 0 | 10329 | 2614 | 0 | 220.9 | 226.1 | 220 | 5.632 | 5.649 | 5.7 | 1227 | 1261 | 1237 | 3777 | 3727 | 4168 | 4341 | 4115 | 0 | 2 | 7 | 11 | 10 | 50.004 | 355.7 | 355.8 | 22 | 31 | 24 | 26 | 28 | 1244 | 1277 | 1254 | 0 | 6 | 6 | 6 | 60 | 0 | 100 | 2 | 0 | 0