## Лист1
Timestamp,"Irradiance (W/m2)","Ambient temp (°C)","Photovoltaic temp (°C)","PV1 voltage (V)","PV2 voltage (V)","PV3 voltage (V)","PV1 current (A)","PV2 current (A)","PV3 current (A)","PV1 power (W)","PV2 power (W)","PV3 power (W)","PV1 energy (Wh)","PV2 energy (Wh)","PV3 energy (Wh)","Grid voltage L1 (V)","Grid voltage L2 (V)","Grid voltage L3 (V)","Grid current L1 (A)","Grid current L2 (A)","Grid current L3 (A)","Grid power L1 (W)","Grid power L2 (W)","Grid power L3 (W)","Sum of apparent power (VA)","Grid power total (W)","Grid energy L1 (Wh)","Grid energy L2 (Wh)","Grid energy L3 (Wh)","S0 counter (Wh)","Grid current DC L1 (mA)","Grid current DC L2 (mA)","Grid current DC L3 (mA)","Grid residual current (mA)","Grid frequency mean (Hz)","DC Bus upper (V)","DC Bus lower (V)","Temp power (°C)","Temp AUX (°C)","Temp CTRL (°C)","Temp power 1 (°C)","Temp power boost (°C)","Apparent power L1 (VA)","Apparent power L2 (VA)","Apparent power L3 (VA)","S0 value (W)","Reactive power L1 (Var)","Reactive power L2 (Var)","Reactive power L3 (Var)","Op mode (SELECTION)","Latest event (Unitless)","PLA (%)","Reactive power mode (SELECTION)","Overexcited/Underexcited","Reactive power abs(Q)"
23-12-2016 11:10:0,"0","125","127","491.9","0.0","0.0","2.368","0.000","0.000","1325","0","0","224","0","0","157.4","166.1","158.1","2.026","2.074","2.054","418","450","426","1323","1295","72","77","73","0","-2","1","-1","3","37.456","276.3","277.5","10","12","11","8","8","427","460","435","0","2","2","2","60","0","100.0","2","0","0.000"
23-12-2016 11:20:0,"0","125","127","542.0","0.0","0.0","5.482","0.000","0.000","2971","0","0","720","0","0","213.9","221.7","213.1","4.537","4.588","4.582","950","995","957","2965","2903","230","243","233","0","0","16","4","8","49.995","348.3","348.2","13","17","15","13","14","970","1017","976","0","5","5","5","60","0","100.0","2","0","0.000"
23-12-2016 11:30:0,"0","125","127","516.5","0.0","0.0","5.924","0.000","0.000","3061","0","0","1230","0","0","215.5","223.3","211.9","4.658","4.722","4.659","985","1033","969","3046","2988","395","416","394","0","-1","13","9","9","50.003","351.2","351.2","13","19","15","16","16","1003","1054","987","0","5","5","5","60","0","100.0","2","0","0.000"
23-12-2016 11:40:0,"0","125","127","513.4","342.0","0.0","5.488","0.095","0.000","2834","62","0","1701","10","0","216.3","225.2","218.2","4.312","4.399","4.415","913","969","943","2889","2827","547","577","551","0","2","7","10","8","49.997","353.2","353.3","13","20","15","17","18","933","991","963","0","4","4","4","60","0","100.0","2","0","0.000"
23-12-2016 11:50:0,"0","125","127","469.8","495.2","0.0","6.148","1.089","0.000","2918","347","0","2188","68","0","217.1","225.5","216.9","4.849","4.939","4.920","1036","1092","1049","3234","3179","720","759","727","0","3","7","10","9","50.002","353.9","354.0","14","21","16","18","19","1055","1113","1069","0","5","5","5","60","0","100.0","2","0","0.000"
23-12-2016 12:0:0,"0","124","127","458.3","263.6","0.0","6.443","3.239","0.000","2952","853","0","2680","210","0","214.4","226.9","216.9","5.578","5.768","5.712","1181","1292","1224","3745","3699","917","975","931","0","3","7","10","10","50.004","357.5","357.5","16","22","18","19","23","1196","1309","1239","0","5","6","6","60","0","100.0","2","0","0.000"
23-12-2016 12:10:0,"0","124","127","423.5","267.9","0.0","6.677","3.269","0.000","2828","873","0","3153","356","0","217.7","226.3","214.9","5.495","5.574","5.507","1180","1244","1168","3643","3594","1114","1182","1125","0","3","7","11","10","49.994","356.2","356.2","17","23","19","21","26","1196","1261","1183","0","6","6","5","60","0","100.0","2","0","0.000"
23-12-2016 12:20:0,"0","124","127","438.1","264.5","0.0","6.366","3.552","0.000","2787","939","0","3616","513","0","219.1","226.6","214.7","5.552","5.593","5.516","1200","1250","1169","3670","3621","1314","1391","1320","0","3","7","11","10","49.994","355.5","355.5","18","24","20","22","28","1216","1267","1184","0","6","6","6","60","0","100.0","2","0","0.000"
23-12-2016 12:30:0,"0","124","127","409.5","268.4","0.0","6.501","3.628","0.000","2661","973","0","4060","675","0","219.8","226.4","213.5","5.446","5.459","5.355","1180","1219","1128","3578","3528","1511","1594","1508","0","2","6","10","10","50.004","354.3","354.3","19","25","20","23","29","1197","1236","1143","0","6","6","6","60","0","100.0","2","0","0.000"
23-12-2016 12:40:0,"0","124","127","420.4","284.2","0.0","6.096","3.507","0.000","2559","997","0","4487","841","0","219.7","226.2","213.7","5.328","5.344","5.262","1153","1191","1108","3505","3454","1703","1793","1693","0","3","7","11","10","50.002","355.3","355.3","20","26","21","23","30","1171","1209","1124","0","6","6","5","60","0","100.0","2","0","0.000"
23-12-2016 12:50:0,"0","124","127","424.3","288.7","0.0","5.937","3.372","0.000","2518","974","0","4907","1004","0","218.6","226.1","215.0","5.207","5.248","5.204","1121","1169","1102","3445","3394","1890","1988","1877","0","3","7","11","10","49.999","354.3","354.3","21","27","22","24","30","1138","1187","1119","0","6","6","5","60","0","100.0","2","0","0.000"
23-12-2016 13:0:0,"0","124","127","434.7","379.5","0.0","5.804","2.713","0.000","2522","940","0","5327","1161","0","217.0","226.1","215.7","5.148","5.231","5.185","1101","1165","1101","3420","3368","2074","2182","2061","0","3","8","11","10","50.001","355.6","355.6","21","28","22","24","29","1117","1182","1118","0","5","6","5","60","0","100.0","2","0","0.000"
23-12-2016 13:10:0,"0","124","127","446.3","532.9","0.0","5.863","1.712","0.000","2615","914","0","5763","1313","0","217.7","227.6","214.8","5.249","5.357","5.257","1126","1201","1113","3493","3441","2261","2382","2246","0","3","7","11","10","50.003","357.8","357.8","22","28","23","24","28","1142","1219","1129","0","5","6","5","60","0","100.0","2","0","0.000"
23-12-2016 13:20:0,"0","124","127","434.7","559.5","0.0","6.151","1.744","0.000","2674","977","0","6209","1476","0","219.0","227.9","215.7","5.415","5.496","5.426","1169","1235","1154","3611","3560","2456","2588","2439","0","3","7","11","10","49.996","357.8","357.8","22","29","23","24","28","1186","1253","1170","0","6","6","6","60","0","100.0","2","0","0.000"
23-12-2016 13:30:0,"0","124","127","475.2","590.7","0.0","5.880","1.583","0.000","2793","929","0","6675","1631","0","221.0","226.9","216.2","5.546","5.571","5.519","1208","1247","1176","3685","3634","2658","2796","2635","0","2","7","12","10","49.998","357.3","357.3","22","29","23","25","28","1226","1264","1193","0","6","6","6","60","0","100.0","2","0","0.000"
23-12-2016 13:40:0,"0","124","127","509.8","659.4","0.0","5.845","1.424","0.000","2978","941","0","7171","1788","0","219.7","227.2","218.3","5.798","5.862","5.836","1257","1316","1257","3881","3832","2868","3016","2845","0","2","7","11","11","50.003","357.8","357.9","22","29","23","25","28","1273","1332","1274","0","6","6","6","60","0","100.0","2","0","0.000"
23-12-2016 13:50:0,"0","124","127","514.2","668.9","0.0","5.856","1.433","0.000","3007","961","0","7672","1948","0","221.4","227.2","217.3","5.900","5.906","5.887","1290","1325","1262","3929","3880","3083","3237","3055","0","2","8","12","11","50.001","357.9","357.9","22","30","24","25","28","1306","1341","1279","0","6","7","6","60","0","100.0","2","0","0.000"
23-12-2016 14:0:0,"0","124","127","513.5","695.9","0.0","5.967","1.332","0.000","3057","929","0","8181","2103","0","223.0","227.0","217.6","5.952","5.913","5.898","1308","1324","1265","3954","3899","3301","3457","3266","0","1","9","11","11","50.001","358.1","358.1","22","30","24","26","28","1327","1342","1283","0","6","7","6","60","0","100.0","2","0","0.000"
23-12-2016 14:10:0,"0","124","127","526.7","655.8","0.0","6.019","1.331","0.000","3170","875","0","8711","2249","0","223.4","227.6","216.4","6.032","6.000","5.948","1331","1350","1272","4002","3955","3523","3683","3478","0","2","7","11","11","50.016","357.9","357.9","22","30","24","26","28","1348","1366","1287","0","7","7","6","60","0","100.0","2","0","0.000"
23-12-2016 14:20:0,"0","124","127","529.5","668.6","0.0","6.069","1.245","0.000","3214","834","0","9246","2388","0","221.8","226.8","218.4","6.009","5.997","6.000","1318","1344","1294","4005","3959","3743","3907","3694","0","2","7","11","11","50.023","357.0","357.1","22","30","24","26","28","1333","1360","1310","0","6","7","6","60","0","100.0","2","0","0.000"
23-12-2016 14:30:0,"0","124","127","538.7","670.7","0.0","6.080","1.128","0.000","3276","759","0","9793","2515","0","222.4","226.6","218.4","6.000","5.979","5.968","1319","1339","1287","3994","3947","3963","4130","3909","0","2","7","11","11","50.004","357.0","357.1","22","31","24","26","28","1334","1355","1303","0","6","7","6","60","0","100.0","2","0","0.000"
23-12-2016 14:40:0,"0","124","127","541.9","617.8","0.0","5.935","0.959","0.000","3217","592","0","10329","2614","0","220.9","226.1","220.0","5.632","5.649","5.700","1227","1261","1237","3777","3727","4168","4341","4115","0","2","7","11","10","50.004","355.7","355.8","22","31","24","26","28","1244","1277","1254","0","6","6","6","60","0","100.0","2","0","0.000"