{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Lapas"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":9,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Lapas","index":0,"n_rows":28,"n_cols":9,"rows_kept":28,"cut":false,"hidden":false,"merged":[[11,4,11,8],[11,2,12,2],[11,3,12,3]]}
[null,"Asg"]
[null,"Bsg"]
[null,"Cg"]
[null,"Dg "]
[null,"Eg"]
[]
[null,"I"]
[null,"II"]
[null,"III"]
[]
[]
[null,null,"Режим эксплуатации","Конструкция ","Объем резервуара, м3"]
[null,null,null,null,"0,5 < V < 5","5 < V < 50","50 < V < 200","200 < V < 400","400 >"]
[null,"I","I","Asg",2,2,2,3,3]
[null,"I","I","Bsg",2,2,2,3,3]
[null,"I","I"," Cg",2,2,2,3,3]
[null,"I","I","Dg ","–","–",2,2,2]
[null,"II","II","Eg",2,2,2,"–"]
[null,"II","II","Asg","–",2,2,"–"]
[null,"II","II","Bsg","–",2,2,"–"]
[null,"III","III"," Cg",2,2,2,"–"]
[null,"III","III","Dg ","–",2,2,"–"]
[null,"III","III","Eg","–",2,2,"–"]
[]
[]
[]
[null,null,null,null,null,"Режим эксплуатации","Конструкция ","Объем резервуара, Vр, м3","R"]
[null,null,null,null,null,"III","Eg",250,{"$f":"INDEX($E$14:$I$23,MATCH($F$28&$G$28,$C$14:$C$23&$D$14:$D$23,0),LOOKUP($H$28,{0.5,5,50,200,400},{1,2,3,4,5}))","v":"–"}]