{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Лист1","Расчет"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":17,"n_cols":34,"rows_kept":17,"cut":false,"hidden":false,"merged":[]}
["Материал",null,null,"PP-R PN10*",null,null,null,"PP-R PN20*",null,null,null,"СтВГП",null,null,null,"СтЭС",null,null,null,"Чугун",null,null,null,"ВЧШГ",null,null,null,"ПЭ100 SDR 17*",null,null,null,"ПЭ100 SDR 11*"]
["Материал труб","Псевдоним",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t"]
["PP-R PN10*","Трубы1",null,15,20,1.9,null,15,20,3.4,null,15,21.3,2.8,null,50,70,2.5,null,"75/65",81,6.7,null,80,98,9,null,50,63,3.8,null,50,63,5.8]
["PP-R PN20*","Трубы2",null,20,25,2.2999999999999998,null,20,25,4.2,null,20,26.8,2.8,null,60,76,2.5,null,80,98,7.2,null,100,118,9,null,65,75,4.5,null,65,75,6.8]
["СтВГП","Трубы3",null,25,32,3,null,25,32,5.4,null,25,33.5,3.2,null,"75/65",89,2.5,null,100,118,7.5,null,125,144,9,null,80,90,5.4,null,80,90,8.1999999999999993]
["СтЭС","Трубы4",null,32,40,3.7,null,32,40,6.7,null,32,42.3,3.2,null,80,102,3,null,125,144,7.9,null,150,170,9,null,90,110,6.6,null,90,110,10]
["ПЭ100 SDR 17*","Трубы5",null,40,50,4.5999999999999996,null,40,50,8.4,null,40,48,3.5,null,100,121,3,null,150,170,8.3000000000000007,null,200,222,9.3000000000000007,null,100,125,7.4,null,100,125,11.4]
["ПЭ100 SDR 11*","Трубы6",null,50,63,5.8,null,50,63,10.5,null,50,60,3.5,null,125,140,3,null,200,222,9.1999999999999993,null,250,274,9.8000000000000007,null,125,140,8.3000000000000007,null,125,140,12.7]
["Чугун","Трубы7",null,65,75,6.9,null,65,75,12.5,null,65,75.5,4,null,150,168,4.5,null,250,274,10,null,300,326,10.199999999999999,null,150,160,9.5,null,150,160,14.6]
["ВЧШГ","Трубы8",null,80,90,8.1999999999999993,null,80,90,15,null,80,88.5,4,null,200,219,4.5,null,300,326,10.8,null,null,null,null,null,160,180,10.7,null,160,180,16.399999999999999]
[null,null,null,90,110,10,null,90,110,18.399999999999999,null,90,101.3,4,null,250,273,6,null,350,378,12.8,null,null,null,null,null,200,225,13.4,null,200,225,20.5]
[null,null,null,null,null,null,null,null,null,null,null,100,114,4.5,null,300,325,7,null,null,null,null,null,null,null,null,null,225,250,14.8,null,225,250,22.7]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,350,377,7,null,null,null,null,null,null,null,null,null,250,280,16.600000000000001,null,250,280,25.4]
["Качество",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,300,315,18.7,null,300,315,28.6]
["нов."]
["исп."]
[" "]

{"sheet":"Расчет","index":1,"n_rows":31,"n_cols":7,"rows_kept":31,"cut":false,"hidden":false,"merged":[[9,3,11,3],[9,0,11,0],[9,1,11,1],[9,2,11,2],[9,4,11,4]]}
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Материал труб","Качество","Dу, мм","D, мм","t, мм"]
[]
[null,null,null,null,null,null,"ДВССЫЛ(ВПР(A14;Материал;2)&\"[Dy]\")"]
[14,15,17,20,21]
["СтЭС","нов.",200,{"$f":"VLOOKUP(C14,INDIRECT(VLOOKUP(A14,Материал[],2)),2,)","v":219},{"$f":"VLOOKUP(C14,INDIRECT(VLOOKUP(A14,Материал[],2)),3,)","v":4.5}]
["СтВГП","нов.",null,{"$f":"VLOOKUP(C15,INDIRECT(VLOOKUP(A15,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C15,INDIRECT(VLOOKUP(A15,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["PP-R PN10*"," ",null,{"$f":"VLOOKUP(C16,INDIRECT(VLOOKUP(A16,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C16,INDIRECT(VLOOKUP(A16,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["СтВГП","нов.",null,{"$f":"VLOOKUP(C17,INDIRECT(VLOOKUP(A17,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C17,INDIRECT(VLOOKUP(A17,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["Чугун","нов.",null,{"$f":"VLOOKUP(C18,INDIRECT(VLOOKUP(A18,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C18,INDIRECT(VLOOKUP(A18,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["ВЧШГ","нов.",null,{"$f":"VLOOKUP(C19,INDIRECT(VLOOKUP(A19,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C19,INDIRECT(VLOOKUP(A19,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["ПЭ100 SDR 11*"," ",null,{"$f":"VLOOKUP(C20,INDIRECT(VLOOKUP(A20,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C20,INDIRECT(VLOOKUP(A20,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["PP-R PN20*"," ",null,{"$f":"VLOOKUP(C21,INDIRECT(VLOOKUP(A21,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C21,INDIRECT(VLOOKUP(A21,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["ВЧШГ"," ",null,{"$f":"VLOOKUP(C22,INDIRECT(VLOOKUP(A22,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C22,INDIRECT(VLOOKUP(A22,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["PP-R PN10*"," ",null,{"$f":"VLOOKUP(C23,INDIRECT(VLOOKUP(A23,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C23,INDIRECT(VLOOKUP(A23,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["СтВГП","нов.",null,{"$f":"VLOOKUP(C24,INDIRECT(VLOOKUP(A24,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C24,INDIRECT(VLOOKUP(A24,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["СтВГП","нов.",null,{"$f":"VLOOKUP(C25,INDIRECT(VLOOKUP(A25,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C25,INDIRECT(VLOOKUP(A25,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["СтВГП","нов.",null,{"$f":"VLOOKUP(C26,INDIRECT(VLOOKUP(A26,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C26,INDIRECT(VLOOKUP(A26,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["СтВГП","нов.",null,{"$f":"VLOOKUP(C27,INDIRECT(VLOOKUP(A27,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C27,INDIRECT(VLOOKUP(A27,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["PP-R PN20*"," ",null,{"$f":"VLOOKUP(C28,INDIRECT(VLOOKUP(A28,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C28,INDIRECT(VLOOKUP(A28,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["СтВГП","нов.",null,{"$f":"VLOOKUP(C29,INDIRECT(VLOOKUP(A29,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C29,INDIRECT(VLOOKUP(A29,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["СтВГП","нов.",null,{"$f":"VLOOKUP(C30,INDIRECT(VLOOKUP(A30,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C30,INDIRECT(VLOOKUP(A30,Материал[],2)),3,)","v":{"$error":"#N/A"}}]
["СтВГП","нов.",null,{"$f":"VLOOKUP(C31,INDIRECT(VLOOKUP(A31,Материал[],2)),2,)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP(C31,INDIRECT(VLOOKUP(A31,Материал[],2)),3,)","v":{"$error":"#N/A"}}]