{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["дожд сточ воды"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"дожд сточ воды","index":0,"n_rows":53,"n_cols":12,"rows_kept":53,"cut":false,"hidden":false,"merged":[]}
["Наименование сооружения","М2","Слой осадка за хол период, мм","слой талых вод за 10 дневных часов, мм","Га","WT, М3","WTсут, М3","№ по ГП",null,"Наименование здания и сооружения","Суточные расходы м3","№ по ГП"]
[null,{"$f":"IF(B29=\"\",\"\",B29*C29)","v":50},120,15,{"$f":"IF(B2=\"\",\"\",B2/10000)","v":5.0000000000000001E-3},{"$f":"10*C2*0.5*E2","v":3},{"$f":"10*E2*0.5*0.5*D2","v":0.1875},34]
[null,72,{"$f":"IF(B3=\"\",\"\",$C$2)","v":120},{"$f":"IF(B3=\"\",\"\",$D$2)","v":15},{"$f":"IF(B3=\"\",\"\",B3/10000)","v":7.1999999999999998E-3},{"$f":"IF(B3=\"\",\"\",10*C3*0.5*E3)","v":4.32},{"$f":"IF(B3=\"\",\"\",10*E3*0.5*0.5*D3)","v":0.26999999999999996},11]
[null,97.5,120,15,9.75E-3,{"$f":"IF(B4=\"\",\"\",10*C4*0.5*E4)","v":5.85},{"$f":"IF(B4=\"\",\"\",10*E4*0.5*0.5*D4)","v":0.36562500000000003},34]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[null,"","","","","",""]
[]
["Наименование сооружения","Ширина","Длина","Коофициент стока","Осадок суточный летом, мм","Площадь","WTсут, М3","WT3сут, М3","№ по ГП",null,{"$f":"SUMPRODUCT(G2:G26*(H2:H26=H2)+(K2:K26*(L2:L26=H2))+(H29:H53*(I29:I53=H2)))","v":{"$error":"#VALUE!"}}]
[null,10,5,0.95,62,{"$f":"B29*C29","v":50},{"$f":"F29*0.95*E29/1000*20%","v":0.58899999999999997},{"$f":"G29*3","v":1.7669999999999999},null,null,{"$f":"SUMPRODUCT(G2:G26*(H2:H26=H2))","v":{"$error":"#VALUE!"}}]
[null,12,6,0.95,{"$f":"IF(B30=\"\",\"\",$E$29)","v":62},{"$f":"IF(B30=\"\",\"\",B30*C30)","v":72},{"$f":"IF(B30=\"\",\"\",F30*0.95*E30/1000*20%)","v":0.84815999999999991},{"$f":"IF(B30=\"\",\"\",G30*3)","v":2.5444799999999996}]
[null,15,6.5,0.95,62,{"$f":"IF(B31=\"\",\"\",B31*C31)","v":97.5},{"$f":"IF(B31=\"\",\"\",F31*0.95*E31/1000*20%)","v":1.14855},{"$f":"IF(B31=\"\",\"\",G31*3)","v":3.4456499999999997}]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]
[null,null,null,0.95,"","","",""]