{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Лист1","Лист2"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":18,"n_cols":11,"rows_kept":18,"cut":false,"hidden":false,"merged":[]}
["Название обьекта","1","Тип прибора","Название прибора","Номер","Количество","Дата начала","Дата конца"]
["Обьект 1",1,"Расходомер"]
[null,1,"Датчики темп."]
[null,1,"Тепловычислитель","СПТ-961",11821,1,"2016-01-21","2020-01-21"]
[null,1,"Расходомер"]
[null,1,"Датчики темп."]
[null,1,"Тепловычислитель"]
[null,1,"Расходомер"]
[null,1,"Тепловычислитель"]
["Обьект 2",1,"Расходомер","Метран 300-ПР-50","983204 ,  983205",2,"2014-01-21","2018-01-21",null,{"$f":"IF(YEAR(H10)=YEAR(TODAY()),\"поверка\",IF(YEAR(H10)=YEAR(TODAY()+366),\"поверка в следующем году\",\"нет поверки\"))","v":"поверка"},{"$f":"ВНЕДРИТЬ(\"Forms.CommandButton.1\",\"\")","v":{"$error":"#NAME?"}}]
[null,null,"Датчики темп.","КТПТР-01 L= 80",6060,1,"2013-01-21","2017-01-21",null,{"$f":"IF(YEAR(H11)=YEAR(TODAY()),\"поверка\",IF(YEAR(H11)=YEAR(TODAY()+366),\"поверка в следующем году\",\"нет поверки\"))","v":"нет поверки"}]
[null,null,"Тепловычислители","СПТ-941.10",44270,1,"2015-03-21","2019-03-21",null,{"$f":"IF(YEAR(H12)=YEAR(TODAY()),\"поверка\",IF(YEAR(H12)=YEAR(TODAY()+366),\"поверка в следующем году\",\"нет поверки\"))","v":"поверка в следующем году"}]
[null,null,"Тепловычислитель",null,null,null,"2015-01-21","2020-01-21",null,{"$f":"IF(YEAR(H13)=YEAR(TODAY()),\"поверка\",IF(YEAR(H13)=YEAR(TODAY()+366),\"поверка в следующем году\",\"нет поверки\"))","v":"нет поверки"}]
[null,"ГВС","Расходомер"]
[null,null,"Датчики темп."]
[null,null,"Тепловычислитель"]
[null,"ХВС","Расходомер"]
[null,null,"Тепловычислитель",null,null,null,null,null,null," "]

{"sheet":"Лист2","index":1,"n_rows":46,"n_cols":5,"rows_kept":46,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[]
[]
["Название обьекта"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["№","Тип приборов","Название прибора","Дата начала","Дата конца"]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[]
[]
[]
[]
[]
["Название обьекта"]