{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Основной расчет","Доп. расчеты ","Исходные таблицы"],"not_rendered":{"charts":1,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Основной расчет","index":0,"n_rows":10,"n_cols":10,"rows_kept":10,"cut":false,"hidden":false,"merged":[[2,3,2,6]]}
[]
[]
[null,null,null,"Таблица 1"]
[null,null,null,"№","Название","λ","δ",null,"dt =",0.02]
[null,null,null,null,{"$f":"D5+1","v":1},{"$f":"E5+1","v":2},{"$f":"F5+1","v":3}]
[null,null,null,1,"Слой - 1",0.81,2.5000000000000001E-2]
[null,null,null,{"$f":"D6+1","v":2},"Слой - 2",0.87,0.51]
[null,null,null,{"$f":"D7+1","v":3},"Слой - 3",0.93,0.01]
[null,null,null,{"$f":"D8+1","v":4},"Слой - 4",4.8000000000000001E-2,0.11]
[null,null,null,5,"Слой - 5",0.93,0.01]

{"sheet":"Доп. расчеты ","index":1,"n_rows":105,"n_cols":28,"rows_kept":105,"cut":false,"hidden":false,"merged":[[4,10,4,13],[19,5,19,8]]}
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,"Таблица 2"]
[null,null,null,null,null,null,null,null,null,null,"№","Название","λ","δ"]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"K7+1","v":1},{"$f":"L7+1","v":2},{"$f":"M7+1","v":3}]
[null,null,null,null,null,null,null,null,null,null,1,"Слой - 1",0.81,0.02,null,null,null,null,null,null,null,null,null,null,null,null,null,"          "]
[null,null,null,null,null,null,null,null,null,null,{"$f":"K8+1","v":2},"Слой - 1",0.81,5.0000000000000001E-3]
[null,null,null,null,null,null,null,null,null,null,{"$f":"K9+1","v":3},"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,4,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,5,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,6,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,7,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,8,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,9,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,10,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,11,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,12,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,13,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,14,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,15,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,16,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,17,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,18,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,19,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,20,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,21,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,22,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,23,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,24,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,25,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,26,"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,{"$f":"K33+1","v":27},"Слой - 2",0.87,0.02]
[null,null,null,null,null,null,null,null,null,null,{"$f":"K34+1","v":28},"Слой - 2",0.87,0.01]
[null,null,null,null,null,null,null,null,null,null,29,"Слой - 3",0.93,0.01]
[null,null,null,null,null,null,null,null,null,null,30,"Слой - 4",4.8000000000000001E-2,0.02]
[null,null,null,null,null,null,null,null,null,null,31,"Слой - 4",4.8000000000000001E-2,0.02]
[null,null,null,null,null,null,null,null,null,null,32,"Слой - 4",4.8000000000000001E-2,0.02]
[null,null,null,null,null,null,null,null,null,null,33,"Слой - 4",4.8000000000000001E-2,0.02]
[null,null,null,null,null,null,null,null,null,null,34,"Слой - 4",4.8000000000000001E-2,0.02]
[null,null,null,null,null,null,null,null,null,null,35,"Слой - 4",4.8000000000000001E-2,0.01]
[null,null,null,null,null,null,null,null,null,null,36,"Слой - 5",0.93,0.01]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,5," Цементно-песчаный раствор",0.93,0.01]

{"sheet":"Исходные таблицы","index":2,"n_rows":31,"n_cols":20,"rows_kept":31,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[null,null,null,null,null,null,null,null,"t.","°С",0,0.1,0.2,0.3,0.4,0.5,0.6,0.7,0.8,0.9]
[null,null,null,null,null,null,null,null,4,813,819,825,831,836,843,848,855,860,867]
[null,null,null,null,null,null,null,null,5,872,879,885,891,897,904,909,916,923,929]
[null,null,null,null,null,null,null,null,6,935,941,948,956,961,968,975,981,988,995]
[null,null,null,null,null,null,null,null,7,1001,1009,1016,1023,1029,1037,1044,1051,1059,1065]
[null,null,null,null,null,null,null,null,8,1072,1080,1088,1095,1103,1189,1117,1125,1132,1140]
[null,null,null,null,null,null,null,null,9,1148,1156,1164,1172,1180,1188,1196,1204,1212,1220]
[null,null,null,null,null,null,null,null,10,1228,1236,1244,1253,1261,1269,1279,1287,1285,1304]
[null,null,null,null,null,null,null,null,11,1312,1321,1331,1339,1348,1355,1365,1375,1384,1323]
[null,null,null,null,null,null,null,null,12,1403,1412,1421,1431,1440,1449,1459,1468,1479,1488]
[null,null,null,null,null,null,null,null,13,1497,1508,1517,1527,1537,1547,1557,1568,1577,1588]
[null,null,null,null,null,null,null,null,14,1599,1609,1619,1629,1640,1651,1661,1672,1683,1695]
[null,null,null,null,null,null,null,null,15,1705,1716,1727,1739,1749,1761,1772,1784,1795,1807]
[null,null,null,null,null,null,null,null,16,1817,1829,1841,1853,1865,1877,1889,1901,1913,1925]
[null,null,null,null,null,null,null,null,17,1937,1949,1962,1974,1986,2000,2012,2025,2037,2050]
[null,null,null,null,null,null,null,null,18,2064,2077,2089,2102,2115,2129,2142,2156,2169,2182]
[null,null,null,null,null,null,null,null,19,2197,2210,2225,2238,2252,2266,2281,2294,2309,2324]
[null,null,null,null,null,null,null,null,20,2338,2352,2366,2381,2396,2412,2426,2441,2456,2471]
[null,null,null,null,null,null,null,null,21,2488,2502,2517,2538,2542,2564,2580,2596,2612,2628]
[null,null,null,null,null,null,null,null,22,2644,2660,2676,2691,2709,2725,2742,2758,2776,2792]
[null,null,null,null,null,null,null,null,23,2809,2826,2842,2860,2877,2894,2913,2930,2948,2965]
[null,null,null,null,null,null,null,null,24,2984,3001,3020,3038,3056,3074,3093,3112,3130,3149]
[null,null,null,null,null,null,null,null,25,3168,3186,3205,3224,3244,3262,3282,3301,3321,3341]
[null,null,null,null,null,null,null,null,26,3363,3381,3401,3421,3441,3461,3481,3502,3523,3544]
[null,null,null,null,null,null,null,null,27,3567,3586,3608,3628,3649,3672,3692,3714,3796,3758]
[null,null,null,null,null,null,null,null,28,3782,3801,3824,4846,3869,3890,3913,3937,3960,3982]
[null,null,null,null,null,null,null,null,29,4005,4029,4052,4076,4100,4122,4146,4170,4194,4218]
[null,null,null,null,null,null,null,null,30,4246,4268,4292,4317,4341,4366,4390,4416,4441,4466]