{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Лист1","Лист1 (2)"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":18,"n_cols":18,"rows_kept":18,"cut":false,"hidden":false,"merged":[[0,7,0,8],[0,9,0,10],[0,11,0,12],[0,14,0,15],[0,16,1,16],[0,17,1,17],[0,0,1,0],[0,1,1,1],[0,2,1,2],[0,3,1,3],[0,4,0,6]]}
["Дата","tн.о  0С","Т1/Т2 0С","P1/P2 кг/см2","Механический счетчик",null,null,"Корректор",null,"Тепловой счетчик",null,"Счетчик воды",null,"Соль","Электросчетчик",null,"Приме-чание","Работа котель-ной час."]
[null,null,null,null,"Показа-ния","Показа-ния","G м3","Показа-ния","G м3","Показа-ния","Гкал","Показа-ния","Vм3","кг","Показа-ния","кВт*ч"]
[null,null,"57/44","3,8/2,6",24000,null,{"$f":"IF(SUM(E3:F3),E3-MAX($E2:E$3)+F3-MAX($F2:F$3),\"\")","v":0},null,{"$f":"IF(SUM(H3:H3),H3-MAX($H2:H$3),\"\")","v":""},null,{"$f":"IF(SUM(J3:J3),J3-MAX($J2:J$3),\"\")","v":""},16.571000000000002,{"$f":"IF(SUM(L3:L3),L3-MAX($L2:L$3),\"\")","v":0},null,18113,{"$f":"IF(SUM(O3:O3),O3-MAX($O2:O$3),\"\")","v":0},null,24]
[null,null,"57/44","3,8/2,6",24631,null,{"$f":"IF(SUM(E4:F4),E4-MAX($E$3:E3)+F4-MAX($F$3:F3),\"\")","v":631},null,{"$f":"IF(SUM(H4:H4),H4-MAX($H$3:H3),\"\")","v":""},null,{"$f":"IF(SUM(J4:J4),J4-MAX($J$3:J3),\"\")","v":""},16.571000000000002,{"$f":"IF(SUM(L4:L4),L4-MAX($L$3:L3),\"\")","v":0},null,18143,{"$f":"IF(SUM(O4:O4),O4-MAX($O$3:O3),\"\")","v":30},null,24]
[null,null,"57/44","3,7/2,5",24761,null,{"$f":"IF(SUM(E5:F5),E5-MAX($E$3:E4)+F5-MAX($F$3:F4),\"\")","v":130},null,{"$f":"IF(SUM(H5:H5),H5-MAX($H$3:H4),\"\")","v":""},null,{"$f":"IF(SUM(J5:J5),J5-MAX($J$3:J4),\"\")","v":""},16.571000000000002,{"$f":"IF(SUM(L5:L5),L5-MAX($L$3:L4),\"\")","v":0},null,18165,{"$f":"IF(SUM(O5:O5),O5-MAX($O$3:O4),\"\")","v":22},null,24]
[null,null,"57/44","3,7/2,5",24885,null,{"$f":"IF(SUM(E6:F6),E6-MAX($E$3:E5)+F6-MAX($F$3:F5),\"\")","v":124},null,{"$f":"IF(SUM(H6:H6),H6-MAX($H$3:H5),\"\")","v":""},null,{"$f":"IF(SUM(J6:J6),J6-MAX($J$3:J5),\"\")","v":""},16.574000000000002,{"$f":"IF(SUM(L6:L6),L6-MAX($L$3:L5),\"\")","v":3.0000000000001137E-3},null,18187,{"$f":"IF(SUM(O6:O6),O6-MAX($O$3:O5),\"\")","v":22},null,24]
[null,null,"57/44","3,6/2,4",25013,null,{"$f":"IF(SUM(E7:F7),E7-MAX($E$3:E6)+F7-MAX($F$3:F6),\"\")","v":128},null,{"$f":"IF(SUM(H7:H7),H7-MAX($H$3:H6),\"\")","v":""},null,{"$f":"IF(SUM(J7:J7),J7-MAX($J$3:J6),\"\")","v":""},16.577999999999999,{"$f":"IF(SUM(L7:L7),L7-MAX($L$3:L6),\"\")","v":3.9999999999977831E-3},null,18216,{"$f":"IF(SUM(O7:O7),O7-MAX($O$3:O6),\"\")","v":29},null,24]
[null,null,"58/46","3,6/2,4",25147,null,{"$f":"IF(SUM(E8:F8),E8-MAX($E$3:E7)+F8-MAX($F$3:F7),\"\")","v":134},null,{"$f":"IF(SUM(H8:H8),H8-MAX($H$3:H7),\"\")","v":""},null,{"$f":"IF(SUM(J8:J8),J8-MAX($J$3:J7),\"\")","v":""},16.577999999999999,{"$f":"IF(SUM(L8:L8),L8-MAX($L$3:L7),\"\")","v":0},null,18248,{"$f":"IF(SUM(O8:O8),O8-MAX($O$3:O7),\"\")","v":32},null,24]
[null,null,"58/44","3,5/2,3",25289,null,{"$f":"IF(SUM(E9:F9),E9-MAX($E$3:E8)+F9-MAX($F$3:F8),\"\")","v":142},null,{"$f":"IF(SUM(H9:H9),H9-MAX($H$3:H8),\"\")","v":""},null,{"$f":"IF(SUM(J9:J9),J9-MAX($J$3:J8),\"\")","v":""},16.577999999999999,{"$f":"IF(SUM(L9:L9),L9-MAX($L$3:L8),\"\")","v":0},null,18275,{"$f":"IF(SUM(O9:O9),O9-MAX($O$3:O8),\"\")","v":27},null,24]
[null,null,"58/44","3,5/2,3",25422,null,{"$f":"IF(SUM(E10:F10),E10-MAX($E$3:E9)+F10-MAX($F$3:F9),\"\")","v":133},null,{"$f":"IF(SUM(H10:H10),H10-MAX($H$3:H9),\"\")","v":""},null,{"$f":"IF(SUM(J10:J10),J10-MAX($J$3:J9),\"\")","v":""},16.579000000000001,{"$f":"IF(SUM(L10:L10),L10-MAX($L$3:L9),\"\")","v":1.0000000000012221E-3},null,18306,{"$f":"IF(SUM(O10:O10),O10-MAX($O$3:O9),\"\")","v":31},null,24]
[null,null,"58/44","3,5/2,3",25561,null,{"$f":"IF(SUM(E11:F11),E11-MAX($E$3:E10)+F11-MAX($F$3:F10),\"\")","v":139},null,{"$f":"IF(SUM(H11:H11),H11-MAX($H$3:H10),\"\")","v":""},null,{"$f":"IF(SUM(J11:J11),J11-MAX($J$3:J10),\"\")","v":""},16.585000000000001,{"$f":"IF(SUM(L11:L11),L11-MAX($L$3:L10),\"\")","v":6.0000000000002274E-3},null,18345,{"$f":"IF(SUM(O11:O11),O11-MAX($O$3:O10),\"\")","v":39},null,24]
[null,null,"58/44","3,6/2,4",25693,null,{"$f":"IF(SUM(E12:F12),E12-MAX($E$3:E11)+F12-MAX($F$3:F11),\"\")","v":132},null,{"$f":"IF(SUM(H12:H12),H12-MAX($H$3:H11),\"\")","v":""},null,{"$f":"IF(SUM(J12:J12),J12-MAX($J$3:J11),\"\")","v":""},16.588000000000001,{"$f":"IF(SUM(L12:L12),L12-MAX($L$3:L11),\"\")","v":3.0000000000001137E-3},null,18376,{"$f":"IF(SUM(O12:O12),O12-MAX($O$3:O11),\"\")","v":31},null,24]
[null,null,"58/44","3,5/2,3",26276,null,{"$f":"IF(SUM(E13:F13),E13-MAX($E$3:E12)+F13-MAX($F$3:F12),\"\")","v":583},null,{"$f":"IF(SUM(H13:H13),H13-MAX($H$3:H12),\"\")","v":""},null,{"$f":"IF(SUM(J13:J13),J13-MAX($J$3:J12),\"\")","v":""},16.588000000000001,{"$f":"IF(SUM(L13:L13),L13-MAX($L$3:L12),\"\")","v":0},null,18400,{"$f":"IF(SUM(O13:O13),O13-MAX($O$3:O12),\"\")","v":24},null,24]
[null,null,"58/44","3,5/2,3",26859,null,{"$f":"IF(SUM(E14:F14),E14-MAX($E$3:E13)+F14-MAX($F$3:F13),\"\")","v":583},null,{"$f":"IF(SUM(H14:H14),H14-MAX($H$3:H13),\"\")","v":""},null,{"$f":"IF(SUM(J14:J14),J14-MAX($J$3:J13),\"\")","v":""},16.588000000000001,{"$f":"IF(SUM(L14:L14),L14-MAX($L$3:L13),\"\")","v":0},null,18428,{"$f":"IF(SUM(O14:O14),O14-MAX($O$3:O13),\"\")","v":28},null,24]
[null,null,"58/44","3,5/2,3",27442,null,{"$f":"IF(SUM(E15:F15),E15-MAX($E$3:E14)+F15-MAX($F$3:F14),\"\")","v":583},null,{"$f":"IF(SUM(H15:H15),H15-MAX($H$3:H14),\"\")","v":""},null,{"$f":"IF(SUM(J15:J15),J15-MAX($J$3:J14),\"\")","v":""},16.593,{"$f":"IF(SUM(L15:L15),L15-MAX($L$3:L14),\"\")","v":4.9999999999990052E-3},null,18464,{"$f":"IF(SUM(O15:O15),O15-MAX($O$3:O14),\"\")","v":36},null,24]
[null,null,"57/44","3,5/2,3",28025,null,{"$f":"IF(SUM(E16:F16),E16-MAX($E$3:E15)+F16-MAX($F$3:F15),\"\")","v":583},null,{"$f":"IF(SUM(H16:H16),H16-MAX($H$3:H15),\"\")","v":""},null,{"$f":"IF(SUM(J16:J16),J16-MAX($J$3:J15),\"\")","v":""},16.594999999999999,{"$f":"IF(SUM(L16:L16),L16-MAX($L$3:L15),\"\")","v":1.9999999999988916E-3},null,18497,{"$f":"IF(SUM(O16:O16),O16-MAX($O$3:O15),\"\")","v":33},null,24]
[null,null,"56/44","3,4/2,2",28608,null,{"$f":"IF(SUM(E17:F17),E17-MAX($E$3:E16)+F17-MAX($F$3:F16),\"\")","v":583},null,{"$f":"IF(SUM(H17:H17),H17-MAX($H$3:H16),\"\")","v":""},null,{"$f":"IF(SUM(J17:J17),J17-MAX($J$3:J16),\"\")","v":""},16.594999999999999,{"$f":"IF(SUM(L17:L17),L17-MAX($L$3:L16),\"\")","v":0},null,18523,{"$f":"IF(SUM(O17:O17),O17-MAX($O$3:O16),\"\")","v":26},null,24]
["Итого",null,null,null,null,null,{"$f":"SUM(G3:G17)","v":4608},null,{"$f":"SUM(I3:I17)","v":0},null,{"$f":"SUM(K3:K17)","v":0},null,{"$f":"SUM(M3:M17)","v":2.3999999999997357E-2},{"$f":"SUM(N3:N17)","v":0},null,{"$f":"SUM(P3:P17)","v":410},null,{"$f":"SUM(R3:R17)","v":360}]

{"sheet":"Лист1 (2)","index":1,"n_rows":18,"n_cols":18,"rows_kept":18,"cut":false,"hidden":false,"merged":[[0,9,0,10],[0,11,0,12],[0,14,0,15],[0,16,1,16],[0,17,1,17],[0,0,1,0],[0,1,1,1],[0,2,1,2],[0,3,1,3],[0,4,0,6],[0,7,0,8]]}
["Дата","tн.о  0С","Т1/Т2 0С","P1/P2 кг/см2","Механический счетчик",null,null,"Корректор",null,"Тепловой счетчик",null,"Счетчик воды",null,"Соль","Электросчетчик",null,"Приме-чание","Работа котель-ной час."]
[null,null,null,null,"Показа-ния","Показа-ния","G м3","Показа-ния","G м3","Показа-ния","Гкал","Показа-ния","Vм3","кг","Показа-ния","кВт*ч"]
["2017-12-01",null,"57/44","3,8/2,6",24000,null,{"$f":"IF(SUM(E3:F3),E3-MAX($E2:E$3)+F3-MAX($F2:F$3),\"\")","v":0},null,{"$f":"IF(SUM(H3:H3),H3-MAX($H2:H$3),\"\")","v":""},null,{"$f":"IF(SUM(J3:J3),J3-MAX($J2:J$3),\"\")","v":""},16.571000000000002,{"$f":"IF(SUM(L3:L3),L3-MAX($L2:L$3),\"\")","v":0},null,18113,{"$f":"IF(SUM(O3:O3),O3-MAX($O2:O$3),\"\")","v":0},null,24]
["2017-12-02",null,"57/44","3,8/2,6",24631,null,{"$f":"IF(SUM(E4:F4),E4-MAX($E$3:E3)+F4-MAX($F$3:F3),\"\")","v":631},null,{"$f":"IF(SUM(H4:H4),H4-MAX($H$3:H3),\"\")","v":""},null,{"$f":"IF(SUM(J4:J4),J4-MAX($J$3:J3),\"\")","v":""},16.571000000000002,{"$f":"IF(SUM(L4:L4),L4-MAX($L$3:L3),\"\")","v":0},null,18143,{"$f":"IF(SUM(O4:O4),O4-MAX($O$3:O3),\"\")","v":30},null,24]
["2017-12-03",null,"57/44","3,7/2,5",24761,null,{"$f":"IF(SUM(E5:F5),E5-MAX($E$3:E4)+F5-MAX($F$3:F4),\"\")","v":130},null,{"$f":"IF(SUM(H5:H5),H5-MAX($H$3:H4),\"\")","v":""},null,{"$f":"IF(SUM(J5:J5),J5-MAX($J$3:J4),\"\")","v":""},16.571000000000002,{"$f":"IF(SUM(L5:L5),L5-MAX($L$3:L4),\"\")","v":0},null,18165,{"$f":"IF(SUM(O5:O5),O5-MAX($O$3:O4),\"\")","v":22},null,24]
["2017-12-04",null,"57/44","3,7/2,5",24885,null,{"$f":"IF(SUM(E6:F6),E6-MAX($E$3:E5)+F6-MAX($F$3:F5),\"\")","v":124},null,{"$f":"IF(SUM(H6:H6),H6-MAX($H$3:H5),\"\")","v":""},null,{"$f":"IF(SUM(J6:J6),J6-MAX($J$3:J5),\"\")","v":""},16.574000000000002,{"$f":"IF(SUM(L6:L6),L6-MAX($L$3:L5),\"\")","v":3.0000000000001137E-3},null,18187,{"$f":"IF(SUM(O6:O6),O6-MAX($O$3:O5),\"\")","v":22},null,24]
["2017-12-05",null,"57/44","3,6/2,4",25013,null,{"$f":"IF(SUM(E7:F7),E7-MAX($E$3:E6)+F7-MAX($F$3:F6),\"\")","v":128},null,{"$f":"IF(SUM(H7:H7),H7-MAX($H$3:H6),\"\")","v":""},null,{"$f":"IF(SUM(J7:J7),J7-MAX($J$3:J6),\"\")","v":""},16.577999999999999,{"$f":"IF(SUM(L7:L7),L7-MAX($L$3:L6),\"\")","v":3.9999999999977831E-3},null,18216,{"$f":"IF(SUM(O7:O7),O7-MAX($O$3:O6),\"\")","v":29},null,24]
["2017-12-06",null,"58/46","3,6/2,4",25147,null,{"$f":"IF(SUM(E8:F8),E8-MAX($E$3:E7)+F8-MAX($F$3:F7),\"\")","v":134},null,{"$f":"IF(SUM(H8:H8),H8-MAX($H$3:H7),\"\")","v":""},null,{"$f":"IF(SUM(J8:J8),J8-MAX($J$3:J7),\"\")","v":""},16.577999999999999,{"$f":"IF(SUM(L8:L8),L8-MAX($L$3:L7),\"\")","v":0},null,18248,{"$f":"IF(SUM(O8:O8),O8-MAX($O$3:O7),\"\")","v":32},null,24]
["2017-12-07",null,"58/44","3,5/2,3",25289,null,{"$f":"IF(SUM(E9:F9),E9-MAX($E$3:E8)+F9-MAX($F$3:F8),\"\")","v":142},null,{"$f":"IF(SUM(H9:H9),H9-MAX($H$3:H8),\"\")","v":""},null,{"$f":"IF(SUM(J9:J9),J9-MAX($J$3:J8),\"\")","v":""},16.577999999999999,{"$f":"IF(SUM(L9:L9),L9-MAX($L$3:L8),\"\")","v":0},null,18275,{"$f":"IF(SUM(O9:O9),O9-MAX($O$3:O8),\"\")","v":27},null,24]
["2017-12-08",null,"58/44","3,5/2,3",25422,null,{"$f":"IF(SUM(E10:F10),E10-MAX($E$3:E9)+F10-MAX($F$3:F9),\"\")","v":133},null,{"$f":"IF(SUM(H10:H10),H10-MAX($H$3:H9),\"\")","v":""},null,{"$f":"IF(SUM(J10:J10),J10-MAX($J$3:J9),\"\")","v":""},16.579000000000001,{"$f":"IF(SUM(L10:L10),L10-MAX($L$3:L9),\"\")","v":1.0000000000012221E-3},null,18306,{"$f":"IF(SUM(O10:O10),O10-MAX($O$3:O9),\"\")","v":31},null,24]
["2017-12-09",null,"58/44","3,5/2,3",25561,null,{"$f":"IF(SUM(E11:F11),E11-MAX($E$3:E10)+F11-MAX($F$3:F10),\"\")","v":139},null,{"$f":"IF(SUM(H11:H11),H11-MAX($H$3:H10),\"\")","v":""},null,{"$f":"IF(SUM(J11:J11),J11-MAX($J$3:J10),\"\")","v":""},16.585000000000001,{"$f":"IF(SUM(L11:L11),L11-MAX($L$3:L10),\"\")","v":6.0000000000002274E-3},null,18345,{"$f":"IF(SUM(O11:O11),O11-MAX($O$3:O10),\"\")","v":39},null,24]
["2017-12-10",null,"58/44","3,6/2,4",25693,null,{"$f":"IF(SUM(E12:F12),E12-MAX($E$3:E11)+F12-MAX($F$3:F11),\"\")","v":132},null,{"$f":"IF(SUM(H12:H12),H12-MAX($H$3:H11),\"\")","v":""},null,{"$f":"IF(SUM(J12:J12),J12-MAX($J$3:J11),\"\")","v":""},16.588000000000001,{"$f":"IF(SUM(L12:L12),L12-MAX($L$3:L11),\"\")","v":3.0000000000001137E-3},null,18376,{"$f":"IF(SUM(O12:O12),O12-MAX($O$3:O11),\"\")","v":31},null,24]
["2017-12-11",null,"58/44","3,5/2,3",26276,null,{"$f":"IF(SUM(E13:F13),E13-MAX($E$3:E12)+F13-MAX($F$3:F12),\"\")","v":583},null,{"$f":"IF(SUM(H13:H13),H13-MAX($H$3:H12),\"\")","v":""},null,{"$f":"IF(SUM(J13:J13),J13-MAX($J$3:J12),\"\")","v":""},16.588000000000001,{"$f":"IF(SUM(L13:L13),L13-MAX($L$3:L12),\"\")","v":0},null,18400,{"$f":"IF(SUM(O13:O13),O13-MAX($O$3:O12),\"\")","v":24},null,24]
["2017-12-12",null,"58/44","3,5/2,3",26859,null,{"$f":"IF(SUM(E14:F14),E14-MAX($E$3:E13)+F14-MAX($F$3:F13),\"\")","v":583},null,{"$f":"IF(SUM(H14:H14),H14-MAX($H$3:H13),\"\")","v":""},null,{"$f":"IF(SUM(J14:J14),J14-MAX($J$3:J13),\"\")","v":""},16.588000000000001,{"$f":"IF(SUM(L14:L14),L14-MAX($L$3:L13),\"\")","v":0},null,18428,{"$f":"IF(SUM(O14:O14),O14-MAX($O$3:O13),\"\")","v":28},null,24]
["2017-12-13",null,"58/44","3,5/2,3",27442,null,{"$f":"IF(SUM(E15:F15),E15-MAX($E$3:E14)+F15-MAX($F$3:F14),\"\")","v":583},null,{"$f":"IF(SUM(H15:H15),H15-MAX($H$3:H14),\"\")","v":""},null,{"$f":"IF(SUM(J15:J15),J15-MAX($J$3:J14),\"\")","v":""},16.593,{"$f":"IF(SUM(L15:L15),L15-MAX($L$3:L14),\"\")","v":4.9999999999990052E-3},null,18464,{"$f":"IF(SUM(O15:O15),O15-MAX($O$3:O14),\"\")","v":36},null,24]
["2017-12-14",null,"57/44","3,5/2,3",28025,null,{"$f":"IF(SUM(E16:F16),E16-MAX($E$3:E15)+F16-MAX($F$3:F15),\"\")","v":583},null,{"$f":"IF(SUM(H16:H16),H16-MAX($H$3:H15),\"\")","v":""},null,{"$f":"IF(SUM(J16:J16),J16-MAX($J$3:J15),\"\")","v":""},16.594999999999999,{"$f":"IF(SUM(L16:L16),L16-MAX($L$3:L15),\"\")","v":1.9999999999988916E-3},null,18497,{"$f":"IF(SUM(O16:O16),O16-MAX($O$3:O15),\"\")","v":33},null,24]
["2017-12-15",null,"56/44","3,4/2,2",28608,null,{"$f":"IF(SUM(E17:F17),E17-MAX($E$3:E16)+F17-MAX($F$3:F16),\"\")","v":583},null,{"$f":"IF(SUM(H17:H17),H17-MAX($H$3:H16),\"\")","v":""},null,{"$f":"IF(SUM(J17:J17),J17-MAX($J$3:J16),\"\")","v":""},16.594999999999999,{"$f":"IF(SUM(L17:L17),L17-MAX($L$3:L16),\"\")","v":0},null,18523,{"$f":"IF(SUM(O17:O17),O17-MAX($O$3:O16),\"\")","v":26},null,24]
["Итого",null,null,null,null,null,{"$f":"SUM(G3:G17)","v":4608},null,{"$f":"SUM(I3:I17)","v":0},null,{"$f":"SUM(K3:K17)","v":0},null,{"$f":"SUM(M3:M17)","v":2.3999999999997357E-2},{"$f":"SUM(N3:N17)","v":0},null,{"$f":"SUM(P3:P17)","v":410},null,{"$f":"SUM(R3:R17)","v":360}]