{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Структура МГО","Шаблон"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Структура МГО","index":0,"n_rows":32,"n_cols":62,"rows_kept":32,"cut":false,"hidden":false,"merged":[[2,59,2,61],[2,26,2,28],[2,29,2,31],[2,32,2,34],[2,35,2,37],[2,38,2,40],[2,41,2,43],[2,44,2,46],[2,47,2,49],[2,50,2,52],[2,53,2,55],[2,56,2,58],[2,23,2,25],[1,6,3,6],[1,7,3,7],[1,8,3,8],[1,9,3,9],[1,10,3,10],[1,11,3,11],[1,12,3,12],[1,13,3,13],[2,14,2,16],[2,17,2,19],[2,20,2,22],[1,5,3,5],[0,0,3,0],[1,1,3,1],[1,2,3,2],[1,3,3,3],[1,4,3,4]]}
["KKS","-","-","-","-","-","-","*","*","*","-","-","-","-","-","*","*","-","*","*","-","*","*","-","*","*","-","*","*","-","*","*","-","*","*","-","*","*","-","*","*","-","*","*","-","*","*","-","*","*",null,"*","*",null,"*","*",null,"*","*",null,"*","*"]
[null,"№ идентиф.","Наименование оборудования","Цех владелец","Вид оборудования","Заводской тип (марка)","Заводской тип подробный (марка, мощность, обороты, напряжение)","временный",null,null,"Системы из график технологов","код системы"," Обозначение, наименование системы/установки","Заводской номер",null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"ЭД",null,null,"ЭД",null,null,"ЭД",null,null,"ЭД",null,null,"ЭД",null,null,"ЭД",null,null,"ЭД",null,null,"ЭД",null,null,"ЭД",null,null,"ЭД",null,null,"ЭД",null,null,"ЭД"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,2016,"МЕСЯЦ","ЗАТРАТЫ",2017,"МЕСЯЦ","ЗАТРАТЫ",2018,"МЕСЯЦ","ЗАТРАТЫ",2019,"МЕСЯЦ","ЗАТРАТЫ",2020,"МЕСЯЦ","ЗАТРАТЫ",2021,"МЕСЯЦ","ЗАТРАТЫ",2022,"МЕСЯЦ","ЗАТРАТЫ",2023,"МЕСЯЦ","ЗАТРАТЫ",2024,"МЕСЯЦ","ЗАТРАТЫ",2025,"МЕСЯЦ","ЗАТРАТЫ",2026,"МЕСЯЦ","ЗАТРАТЫ",2027,"МЕСЯЦ"," ",2028,"МЕСЯЦ","ЗАТРАТЫ",2029,"МЕСЯЦ","ЗАТРАТЫ",2030,"МЕСЯЦ","ЗАТРАТЫ",2031,"МЕСЯЦ","ЗАТРАТЫ"]
["1",2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24,25,26,27,28,29,30,31,32,33,34,35,36,37,38,39,40,41,42,43,44,45,46,47,48,49,50,51,52,53,54,55,56,57,58,59,60,61,62]
["27GHE02AP001",null,"Электродвигатель циркуляционного насоса","ГОиЧС","ЭД 0,4 кВ","5АИ112М4У3, 5,5кВт, 1440об/мин",null,null,null,null,null,null,null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т","-","-","-","-","-","Т","-","-","-","-","-"]
["27GHE02AP002",null,"Электродвигатель циркуляционного насоса","ГОиЧС","ЭД 0,4 кВ","АИР112М4Б01У2 5,5кВт 1140об/мин",null,null,null,null,null,null,null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-","-","-","Т","-","-","-","-","-","К","-","-"]
["27GHF05AP001",null,"Электродвигатель циркуляционного насоса","ГОиЧС","ЭД 0,4 кВ","АИР112М4Б01У2",null,null,null,null,null,null,null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т","-","-","-","-","-","Т","-","-","-","-","-"]
["4KUK50AN001",null,"Газодувка","ОРБ","ЭД 0,4 кВ","АДМА112M2AУ3",null,null,null,null,null,null,null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4KUK51AN001",null,"Газодувка(лев)","ОРБ","ЭД 0,4 кВ","АДМА100L4А3У3",null,null,null,null,null,null,null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4KUK60AN001",null,"Газодувка","ОРБ","ЭД 0,4 кВ","АДМА112M2AУ3",null,null,null,null,null,null,null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4FCD04AB001D001",null,"Электродвигатель 4FCD04AB001","ОЯБиН","ЭД 0,4 кВ","АИР80В2 2,2кВт           2860об/мин",null,null,null,null,null,null,null,null,"-",null,null,"Т",null,null,"-",null,null,"Т","-","-","-","-","-","К","-","-","-","-","-","Т","-","-","-","-","-","Т","-","-","-","-","-","К","-","-","-","-","-","Т","-","-","-","-","-","Т","-","-"]
["4UKS01AB303D001",null,"Электродвигатель 4UKS01AB303D001","ОЯБиН","ЭД 0,4 кВ","АИР56А8 0,08кВт          750об/мин",null,null,null,null,null,null,null,null,"-",null,null,"Т",null,null,"-",null,null,"К","-","-","-","-","-","Т","-","-","-","-","-","Т","-","-","-","-","-","К","-","-","-","-","-","Т","-","-","-","-","-","Т","-","-","-","-","-","К","-","-"]
["4JEV20AP002",null,"Электродвигатель маслостанции чего то там","РЦ-3","ЭД 0,4 кВ","АИР112М2У3 N=7,5кВт 3000об/мин",null,null,null,null,null,null,null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4KTM70AP001",null,"Переносной вакуумный насос","РЦ-3","ЭД 0,4 кВ","АИР100S4У3 N=3кВт 1500об/мин",null,null,null,null,null,null,null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4KTM80AP001",null,"Переносной вакуумный насос","РЦ-3","ЭД 0,4 кВ","АИР100S4У3 N=3кВт 1500об/мин",null,null,null,null,null,null,null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4GME31AP001",null,"Насос перекачки стоков после пожаротушения помещений маслосистем и отвода стоков, содержащих нефтепродукты в здании UMA  ","ТЦ-3","ЭД 0,4 кВ","Иртыш ПД65/160.165-7,5/2-016",null,null,null,null,null,null,null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-","-","-","Т","-","-","-","-","-","Т","-","-"]
["4GME31AP002",null,"Насос перекачки стоков после пожаротушения помещений маслосистем и отвода стоков, содержащих нефтепродукты в здании UMA  ","ТЦ-3","ЭД 0,4 кВ","Иртыш ПД65/160.165-7,5/2-016",null,null,null,null,null,null,null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4GME31AP003",null,"Насос перекачки стоков после пожаротушения помещений маслосистем и отвода стоков, содержащих нефтепродукты в здании UMA  ","ТЦ-3","ЭД 0,4 кВ","Иртыш ПД65/160.165-7,5/2-016",null,null,null,null,null,null,null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4GME31AP004",null,"Насос перекачки стоков после пожаротушения помещений маслосистем и отвода стоков, содержащих нефтепродукты в здании UMA  ","ТЦ-3","ЭД 0,4 кВ","Иртыш ПД65/160.165-7,5/2-016",null,null,null,null,null,null,null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4GCB70AP001",null,"НПШВ-1","ХЦ","ЭД 0,4 кВ","АИР160S2У3 N=15кВт 3000об/мин",null,null,null,null,null,null,null,null,"К",null,null,"-",null,null,"Т",null,null,"-",4,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"К","-","-","-","-","-","Т","-","-","-","-","-"]
["4GCB70AP002",null,"НПШВ-2","ХЦ","ЭД 0,4 кВ","АИР160S2У3 N=15кВт 3000об/мин",null,null,null,null,null,null,null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"К","-","-","-","-","-","Т","-","-","-","-","-"]
["4GCB80AP001",null,"НБС-1","ХЦ","ЭД 0,4 кВ","4АМ100L2У3 N=5,5кВт 3000кВт",null,null,null,null,null,null,null,null,"Т",null,null,"-",null,null,"К",null,null,"-",4,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т","-","-","-","-","-","К","-","-","-","-","-"]
["4GCB80AP002",null,"НБС-2","ХЦ","ЭД 0,4 кВ","4АМ100L2У3 N=5,5кВт 3000кВт",null,null,null,null,null,null,null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"К",null,null,"-",null,null,"Т",null,null,"-",null,null,"К","-","-","-","-","-","Т","-","-","-","-","-"]
["4KLA10AH001KN01",null,"Электродвигатель вентиляционной системы","ЦВ","ЭД 0,4 кВ","АИР 112 М2А3У ",null,null,null,null,null,null,null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т","-","-","Т","-","-","Т","-","-","К","-","-"]
["4KLA10AH001KP01",null,"Электродвигатель насоса УР","ЦВ","ЭД 0,4 кВ","GRUNDFOS  0,25кВт, 1350об/мин",null,null,null,null,null,null,null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К","-","-","Т","-","-","Т","-","-","Т","-","-","К","-","-","Т","-","-","Т","-","-","Т","-","-","К","-","-","Т","-","-","Т","-","-","Т","-","-","К","-","-"]
["4KLA10GH101",null,"Шкаф САУ (типа ПР-9000)","ЦВ",null,null,null,null,null,null,null,null,null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т","-","-","Т","-","-","Т","-","-","К","-","-"]
["4STP11AW002D001",null,"Пресс гладильный ротационный капусельного типа  4STP11AW002","ЦОРО","ЭД 0,4 кВ","АИР 56А2У3, 2730об/мин, о,18кВт",null,null,null,null,null,null,null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4STP11AW002D002",null,"Пресс гладильный ротационный капусельного типа  4STP11AW002","ЦОРО","ЭД 0,4 кВ","1000об/мин 0,6кВт",null,null,null,null,null,null,null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4STP11AW003",null,"Пресс гладильный прижимной4STP11AW003","ЦОРО","ЭД 0,4 кВ","SM71RB14P|1025",null,null,null,null,null,null,null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"К",null,null,"Т",null,null,"Т",null,null,"Т",null,null,"-","-","-","-","-","-","-","-","-","-","-","-"]
["4NJ10D001",null,"Вентилятор котла №4","ЦОС","ЭД 0,4 кВ","АИ -355М-6УЗ  200кВт  1000 о/м",null,null,null,null,null,null,null,null,"НЕТ",null,null,"НЕТ",null,null,"НЕТ",null,null,"НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-"]
["4NJ30D001",null,"Дымосос котла №4","ЦОС","ЭД 0,4 кВ","АИ -355М-6УЗ  200кВт  1000 о/м",null,null,null,null,null,null,null,null,"НЕТ",null,null,"НЕТ",null,null,"НЕТ",null,null,"НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-","НЕТ","-","-"]

{"sheet":"Шаблон","index":1,"n_rows":11,"n_cols":18,"rows_kept":11,"cut":false,"hidden":true,"merged":[[2,14,2,16],[0,11,0,16],[1,11,1,16],[3,11,3,12],[3,13,3,14],[5,0,5,17],[6,0,6,17],[8,0,9,0],[8,1,9,1],[8,2,9,2],[8,3,8,4],[8,5,9,5],[8,6,8,17]]}
[null,null,null,null,null,null,null,null,null,null,null,"УТВЕРЖДАЮ"]
[null,null,null,null,null,null,null,null,null,null,null,"Главный инженер"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"\"________\"",null,"__________",null,2019]
[]
["СТРУКТУРА"]
["Ремонтного цикла"]
[]
["№ пп","Наименование оборудования","Цех","Обозначение",null,"Мощ-ность, кВт"]
[null,null,null,"Проектное","Заводской тип",null,2018,2019,2020,2021,2022,2023,2024,2025,2026,2027,2028,2029]
[1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18]