{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["ТО-10"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":2,"defined_names":5,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"ТО-10","index":0,"n_rows":186,"n_cols":40,"rows_kept":186,"cut":false,"hidden":false,"merged":[[4,6,4,16],[5,6,5,16],[6,6,6,16],[7,6,7,16],[8,2,10,2],[8,4,8,5],[8,6,8,17],[8,3,10,3],[8,18,8,21],[9,6,9,7],[9,8,9,9],[9,10,9,11],[9,12,9,13],[9,14,9,15],[9,16,9,17],[9,20,9,21]]}
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"УТВЕРЖДАЮ",null,null,null,null,2028]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Зам. главного инженера по эксплуатации",null,null,null,null,null,null,null,null,null,1,2,3,4,5,6,7,8,9,10,11,12,"Среднее значение"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"___________ К.В. Григорьев",null,null,null,null,null,null,null,null,null,305,319,340,278,266,301,326,339,340,270,309,293,307.16666666666669]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\"___\"_____________ ",null,null,null,"2026 г.",null,null,null,null,"Абашев А.А.",72,62,58,65,44,50,60,57,86,59,64,37,59.5]
[null,null,null,null,null,null,"ПЛАН-ГРАФИК",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Зубарев А.П.",83,66,55,47,55,65,84,83,55,53,70,59,64.583333333333329]
[null,null,null,null,null,null,"ТЕХНИЧЕСКОГО ОБСЛУЖИВАНИЯ ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Орлов Р.В.",10,85,83,50,80,85,37,92,87,56,84,80,69.083333333333329]
[null,null,null,null,null,null,"ВЛ 6-10кВ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Сунцов А.И.",74,56,94,81,53,54,79,68,72,63,53,63,67.5]
[null,null,null,null,null,null,"на 2027 год",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Форма ТО-10",null,null,null,null,"Токарев С.Г.",66,50,50,35,34,47,66,39,40,39,38,54,46.5]
[null,null,"Наименование ВЛ","Техническое место","Кап.рем.",null,"Проверки и измерения ",null,null,null,null,null,null,null,null,null,null,null,"Осмотры в планируемом году",null,null,null,null,null,""]
[null,null,null,null,"Последний КР ВЛ-10кВ","Следующий КР ВЛ-10кВ","Проверка загнивания деревянных элементов опор\n(1 раз в 3 года)",null,"Проверка состояния жб опор и приставок \n(1 раз в 6 л.)",null,"Измерение Rзаз. \n у опор с разъедин-ми, разрядниками \n (1 раз в 6 л.)",null,"Измерение ширины просеки, высоты деревьев и кустарников под проводами (1раз в 3 года)",null,"Измерение габаритов проводов, расстояний приблежения (1раз в 6 лет)",null,"Проверка сост. заз-ля, изм. Rзаз. у 2% опор с зазем-ми и жб опор в нас.мест.\n(1раз в 12л.)",null,"Осмотр ВЛ  перед КР ","Плановые осмотры  ВЛ эл.монтерами ","Плановые осмотры  \nВЛ-10кВ инженерно-техническими работниками\n ",null,null,null,""]
[null,null,null,null,"Год","Год","Год","Мес.","Год","Мес.","Год","Мес.","Год","Мес.","Год","Мес.","Год","Мес.","Мес.","Мес.","Мес.","Фамилия И.О.",null,null,"","Монтеры","ИТР",null,"Кол-во ТП"]
["ж/б","дер",1,2,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,25]
[99,19,"ВЛ-10 кВ ф-2 ПС Вавож","VS010-9100001",1953,1968,2028,8,2031,8,2031,8,2028,12,2031,12,2031,8,"",12,5,"Орлов Р.В.",2,"Вавож","2Вавож",12,5,null,2]
[218,40,"ВЛ-10 кВ ф-3 ПС Вавож","VS010-9100002",1955,1970,2027,8,2030,8,2030,8,2027,12,2030,12,2030,8,"",12,5,"Орлов Р.В.",3,"Вавож","3Вавож",12,5,null,4]
[206,30,"ВЛ-10 кВ ф-6 ПС Вавож","VS010-9100003",1953,1968,2029,8,2032,8,2032,8,2029,12,2032,12,2038,8,"",12,5,"Орлов Р.В.",6,"Вавож","6Вавож",12,5,null,13]
[102,4,"ВЛ-10 кВ ф-7 ПС Вавож","VS010-9100004",1958,1973,2029,8,2029,8,2029,8,2029,11,2029,11,2035,8,"",11,5,"Орлов Р.В.",7,"Вавож","7Вавож",11,5,null,11]
[193,33,"ВЛ-10 кВ ф-11 ПС Вавож","VS010-9100005",1954,1969,2028,8,2028,8,2028,8,2028,11,2028,11,2028,8,"",11,5,"Орлов Р.В.",11,"Вавож","11Вавож",11,5,null,3]
[233,416,"ВЛ-10 кВ ф-12 ПС Вавож","VS010-9100006",1956,1971,2027,7,2027,7,2027,7,2027,7,2027,7,2027,7,"",7,5,"Орлов Р.В.",12,"Вавож","12Вавож",7,5,null,10]
[276,134,"ВЛ-10 кВ ф-13 ПС Вавож","VS010-9100007",1956,1971,2028,8,2028,8,2028,8,2028,8,2028,8,2028,8,"",8,5,"Орлов Р.В.",13,"Вавож","13Вавож",8,5,null,26]
[15,78,"ВЛ-10 кВ ф-16 ПС Вавож","VS010-9100008",1954,1969,2027,9,2030,9,2030,9,2027,9,2030,9,2030,9,"",9,5,"Орлов Р.В.",16,"Вавож","16Вавож",9,5,null,4]
[323,23,"ВЛ-10 кВ ф-18 ПС Вавож","VS010-9100009",1956,1971,2027,9,2030,9,2030,9,2027,9,2030,9,2036,9,"",9,5,"Орлов Р.В.",18,"Вавож","18Вавож",9,5,null,11]
[377,0,"ВЛ-10 кВ ф-1 ПС Зямбай","VS010-9100014",1952,1967,"",null,2030,7,2030,7,2027,2,2030,2,2030,7,"",2,5,"Орлов Р.В.",1,"Зямбай","1Зямбай",2,5,null,10]
[409,30,"ВЛ-10 кВ ф-2 ПС Зямбай","VS010-9100015",1952,1967,2027,6,2030,6,2030,6,2027,6,2030,6,2030,6,"",6,5,"Орлов Р.В.",2,"Зямбай","2Зямбай",6,5,null,13]
[196,14,"ВЛ-10 кВ ф-4 ПС Зямбай","VS010-9100016",1950,1965,2029,null,2032,6,2032,6,2029,6,2032,6,2038,6,"",6,5,"Орлов Р.В.",4,"Зямбай","4Зямбай",6,5,null,7]
[206,132,"ВЛ-10 кВ ф-7 ПС Зямбай","VS010-9100017",1958,1973,2027,7,2030,7,2030,7,2027,2,2030,2,2030,7,"",2,5,"Орлов Р.В.",7,"Зямбай","7Зямбай",2,5,null,10]
[50,0,"ВЛ-10 кВ ф-10 ПС Зямбай","VS010-9100305",1952,1967,"",null,2030,7,2030,7,2027,1,2030,1,2030,7,"",1,6,"Орлов Р.В.",10,"Зямбай","10Зямбай",1,6,null,0]
[132,0,"ВЛ-10 кВ ф-13 ПС Зямбай","VS010-9100018",1950,1965,"",null,2027,7,2027,7,2027,1,2027,1,2027,7,"",1,6,"Орлов Р.В.",13,"Зямбай","13Зямбай",1,6,null,0]
[10,25,"ВЛ-10 кВ ф-15 ПС Зямбай","VS010-9100019",1952,1967,2027,6,2030,6,2030,6,2027,1,2030,1,2030,6,"",1,6,"Орлов Р.В.",15,"Зямбай","15Зямбай",1,6,null,0]
[9,7,"ВЛ-10 кВ Ф-1 ПС Ожги","VS010-9100031",1954,1969,2029,10,2032,10,2032,10,2029,10,2032,10,2038,10,"",10,6,"Орлов Р.В.",1,"Ожги","1Ожги",10,6,null,1]
[101,62,"ВЛ-10 кВ Ф-4 ПС Ожги","VS010-9100032",1954,1969,2029,10,2032,10,2032,10,2029,10,2032,10,2038,10,"",10,6,"Орлов Р.В.",4,"Ожги","4Ожги",10,6,null,8]
[174,23,"ВЛ-10 кВ Ф-6 ПС Ожги","VS010-9100295",1953,1968,2028,10,2031,10,2031,10,2028,10,2031,10,2031,10,"",10,6,"Орлов Р.В.",6,"Ожги","6Ожги",10,6,null,7]
[142,48,"ВЛ-10 кВ Ф-8 ПС Ожги","VS010-9100033",1953,1968,2028,9,2031,9,2031,9,2028,9,2031,9,2031,9,"",9,6,"Орлов Р.В.",8,"Ожги","8Ожги",9,6,null,3]
[7,16,"ВЛ-10 кВ Ф-10 ПС Ожги","VS010-9100034",1956,1971,2029,9,2029,9,2029,9,2029,9,2029,9,2029,9,"",9,6,"Орлов Р.В.",10,"Ожги","10Ожги",9,6,null,3]
[129,120,"ВЛ-10 кВ Ф-13 ПС Ожги","VS010-9100237",1954,1969,2028,9,2031,9,2031,9,2028,9,2031,9,2031,9,"",9,6,"Орлов Р.В.",13,"Ожги","13Ожги",9,6,null,4]
[7,61,"ВЛ-10 кВ ф-1 ПС Лыстем","VS010-9100218",1955,1970,2027,4,2027,4,2027,4,2027,4,2027,4,2027,4,"",4,6,"Орлов Р.В.",1,"Лыстем","1Лыстем",4,6,null,0]
[25,0,"ВЛ-10 кВ ф-6 ПС Лыстем","VS010-9100024",1951,1972,null,null,2029,4,2029,4,2029,4,2029,4,2029,4,"",4,6,"Орлов Р.В.",6,"Лыстем","6Лыстем",4,6,null,1]
[7,17,"ВЛ-10 кВ ф-7 ПС Лыстем","VS010-9100025",1955,1970,2027,4,2027,4,2027,4,2027,4,2027,4,2027,4,"",4,6,"Орлов Р.В.",7,"Лыстем","7Лыстем",4,6,null,4]
[2,17,"ВЛ-10 кВ ф-1 ПС Искра","VS010-9100020",1951,1966,2029,4,2029,4,2029,4,2029,4,2029,4,2029,4,"",4,6,"Орлов Р.В.",1,"Искра","1Искра",4,6,null,1]
[22,73,"ВЛ-10 кВ ф-4 ПС Искра","VS010-9100021",1951,1966,2029,4,2029,4,2029,4,2029,4,2029,4,2029,4,"",4,6,"Орлов Р.В.",4,"Искра","4Искра",4,6,null,2]
[11,21,"ВЛ-10 кВ ф-6 ПС Искра","VS010-9100022",1951,1966,2029,4,2029,4,2029,4,2029,4,2029,4,2029,4,"",4,7,"Орлов Р.В.",6,"Искра","6Искра",4,7,null,2]
[258,55,"ВЛ-10 кВ ф-7 ПС Искра","VS010-9100023",1955,1970,2027,4,2027,4,2027,4,2027,4,2027,4,2027,4,"",4,7,"Орлов Р.В.",7,"Искра","7Искра",4,7,null,2]
[3,126,"ВЛ-10 кВ ф-4 ПС Макарово","VS010-9100026",1956,1971,2028,5,2028,5,2028,5,2028,5,2028,5,2028,5,"",5,7,"Орлов Р.В.",4,"Макарово","4Макарово",5,7,null,5]
[12,10,"ВЛ-10 кВ ф-6 ПС Макарово","VS010-9100027",1956,1971,2028,5,2028,5,2028,5,2028,5,2028,5,2028,5,"",5,7,"Орлов Р.В.",6,"Макарово","6Макарово",5,7,null,2]
[22,76,"ВЛ-10 кВ ф-7 ПС Макарово","VS010-9100028",1956,1971,2028,5,2028,5,2028,5,2028,5,2028,5,2028,5,"",5,7,"Орлов Р.В.",7,"Макарово","7Макарово",5,7,null,1]
[42,161,"ВЛ-10 кВ ф-12 ПС Макарово","VS010-9100029",1951,1966,2029,5,2029,5,2029,5,2029,5,2029,5,2029,5,"",5,7,"Орлов Р.В.",12,"Макарово","12Макарово",5,7,null,10]
[23,73,"ВЛ-10 кВ ф-13 ПС Макарово","VS010-9100030",1951,1966,2029,5,2029,5,2029,5,2029,5,2029,5,2029,5,"",5,7,"Орлов Р.В.",13,"Макарово","13Макарово",5,7,null,4]
[42,0,"ВЛ-10 кВ ф-3 ПС Вала","VS010-9100010",1948,1969,null,null,2028,6,2028,6,2028,3,2028,3,2034,6,"",3,7,"Орлов Р.В.",3,"Вала","3Вала",3,7,null,2]
[148,29,"ВЛ-10 кВ ф-4 ПС Вала","VS010-9100011",1953,1968,2029,6,2029,6,2029,6,2029,3,2029,3,2029,6,"",3,7,"Орлов Р.В.",4,"Вала","4Вала",3,7,null,7]
[147,84,"ВЛ-10 кВ ф-5 ПС Вала","VS010-9100012",1955,1970,2027,6,2027,6,2027,6,2027,3,2027,3,2027,6,"",3,7,"Орлов Р.В.",5,"Вала","5Вала",3,7,null,2]
[157,6,"ВЛ-10 кВ ф-6 ПС Вала","VS010-9100013",1951,1966,2029,6,2029,6,2029,6,2029,3,2029,3,2029,6,"",3,7,"Орлов Р.В.",6,"Вала","6Вала",3,7,null,10]
[290,162,"ВЛ-10 кВ ф-2 ПС Селты","VS010-9100115",1956,1971,2027,8,2027,8,2027,8,2027,8,2027,8,2027,8,"",8,9,"Сунцов А.И.",2,"Селты","2Селты",8,9,null,5]
[159,35,"ВЛ-10 кВ ф-3 ПС Селты","VS010-9100116",1956,1971,2027,6,2027,6,2027,6,2027,2,2027,2,2027,6,"",2,6,"Сунцов А.И.",3,"Селты","3Селты",2,6,null,2]
[127,211,"ВЛ-10 кВ ф-4 ПС Селты","VS010-9100117",1958,1973,2029,7,2029,7,2029,7,2029,3,2029,3,2029,7,"",3,6,"Сунцов А.И.",4,"Селты","4Селты",3,6,null,11]
[397,18,"ВЛ-10 кВ ф-8 ПС Селты","VS010-9100118",1953,1968,2029,6,2029,6,2029,6,2029,3,2029,3,2035,6,"",3,9,"Сунцов А.И.",8,"Селты","8Селты",3,9,null,14]
[191,7,"ВЛ-10 кВ ф-10 ПС Селты","VS010-9100119",1958,1973,2027,9,2030,9,2030,9,2027,12,2030,12,2030,9,"",12,7,"Сунцов А.И.",10,"Селты","10Селты",12,7,null,18]
[195,33,"ВЛ-10 кВ ф-13 ПС Селты","VS010-9100120",1956,1971,2027,4,2030,4,2030,4,2027,4,2030,4,2030,4,"",4,6,"Сунцов А.И.",13,"Селты","13Селты",4,6,null,15]
[130,12,"ВЛ-10 кВ ф-15 ПС Селты","VS010-9100121",1956,1971,2028,4,2028,4,2028,4,2028,4,2028,4,2028,4,"",4,3,"Сунцов А.И.",15,"Селты","15Селты",4,3,null,9]
[303,310,"ВЛ-10 кВ ф-16 ПС Селты","VS010-9100122",1958,1973,2028,7,2031,7,2031,7,2028,7,2031,7,2031,7,"",7,8,"Сунцов А.И.",16,"Селты","16Селты",7,8,null,20]
[282,47,"ВЛ-10 кВ ф-20 ПС Селты","VS010-9100123",1950,1965,2027,5,2027,5,2027,5,2027,3,2027,3,2027,5,"",3,3,"Сунцов А.И.",20,"Селты","20Селты",3,3,null,5]
[58,154,"ВЛ-10 кВ ф-1 ПС Монья","VS010-9100107",1955,1970,2028,8,2028,8,2028,8,2028,1,2028,1,2028,8,"",1,4,"Сунцов А.И.",1,"Монья","1Монья",1,4,null,6]
[7,32,"ВЛ-10 кВ ф-2 ПС Монья","VS010-9100108",1953,1968,2028,7,2031,7,2031,7,2028,2,2031,2,2031,7,"",2,1,"Сунцов А.И.",2,"Монья","2Монья",2,1,null,1]
[44,105,"ВЛ-10 кВ ф-6 ПС Монья","VS010-9100109",1957,1972,2028,5,2028,5,2028,5,2028,5,2028,5,2028,5,"",5,4,"Сунцов А.И.",6,"Монья","6Монья",5,4,null,4]
[11,30,"ВЛ-10 кВ ф-7 ПС Монья","VS010-9100110",1955,1970,2028,7,2028,7,2028,7,2028,2,2028,2,2028,7,"",2,3,"Сунцов А.И.",7,"Монья","7Монья",2,3,null,4]
[34,43,"ВЛ-10 кВ ф-10 ПС Монья","VS010-9100111",1957,1972,2028,5,2028,5,2028,5,2028,5,2028,5,2028,5,"",5,9,"Сунцов А.И.",10,"Монья","10Монья",5,9,null,12]
[224,156,"ВЛ-10 кВ ф-11 ПС Монья","VS010-9100112",1957,1972,2027,9,2027,9,2027,9,2027,11,2027,11,2027,9,"",11,7,"Сунцов А.И.",11,"Монья","11Монья",11,7,null,10]
[77,143,"ВЛ-10 кВ ф-15 ПС Монья","VS010-9100113",1953,1968,2028,6,2031,6,2031,6,2028,6,2031,6,2031,6,"",6,6,"Сунцов А.И.",15,"Монья","15Монья",6,6,null,6]
[87,140,"ВЛ-10 кВ ф-16 ПС Монья","VS010-9100114",1957,1972,2029,6,2029,6,2029,6,2029,6,2029,6,2029,6,"",6,10,"Сунцов А.И.",16,"Монья","16Монья",6,10,null,7]
[69,107,"ВЛ-10 кВ ф-1 ПС Копки","VS010-9100102",1957,1972,2029,8,2029,8,2029,8,2029,8,2029,8,2029,8,"",8,10,"Сунцов А.И.",1,"Копки","1Копки",8,10,null,8]
[31,291,"ВЛ-10 кВ ф-5 ПС Копки","VS010-9100104",1956,1971,2029,7,2029,7,2029,7,2029,7,2029,7,2029,7,"",7,10,"Сунцов А.И.",5,"Копки","5Копки",7,10,null,1]
[0,81,"ВЛ-10 кВ ф-8 ПС Копки","VS010-9100105",1955,1970,2028,8,2028,8,2028,8,2028,1,2028,1,2028,8,"",1,12,"Сунцов А.И.",8,"Копки","8Копки",1,12,null,5]
[485,202,"ВЛ-10 кВ ф-1А ПС Копки","VS010-9100103",1954,1969,2027,8,2030,8,2030,8,2027,8,2030,8,2030,8,"",8,8,"Сунцов А.И.","1А","Копки","1АКопки",8,8,null,11]
[31,55,"ВЛ-10 кВ ф-12 ПС Копки","VS010-9100106",1955,1970,2027,7,2030,7,2030,7,2027,7,2030,7,2030,7,"",7,8,"Сунцов А.И.",12,"Копки","12Копки",7,8,null,3]
[12,79,"ВЛ-10 кВ ф-9 ПС Арлеть","VS010-9100098",1956,1971,2028,10,2028,10,2028,10,2028,10,2028,10,2028,10,"",10,11,"Сунцов А.И.",9,"Арлеть","9Арлеть",10,11,null,2]
[0,44,"ВЛ-10 кВ ф-16 ПС Арлеть","VS010-9100099",1949,1964,2028,9,2028,9,2028,9,2028,11,2028,11,2028,9,"",11,4,"Сунцов А.И.",16,"Арлеть","16Арлеть",11,4,null,0]
[56,217,"ВЛ-10 кВ ф-34 ПС Арлеть","VS010-9100100",1958,1973,2029,10,2029,10,2029,10,2029,10,2029,10,2029,10,"",10,11,"Сунцов А.И.",34,"Арлеть","34Арлеть",10,11,null,10]
[35,59,"ВЛ-10 кВ ф-35 ПС Арлеть","VS010-9100101",1956,1971,2028,10,2028,10,2028,10,2028,10,2028,10,2028,10,"",10,11,"Сунцов А.И.",35,"Арлеть","35Арлеть",10,11,null,2]
[17,0,"ВЛ-10 кВ ф-3 ПС Халды","VS010-9100128",1958,1979,null,null,2030,5,2030,5,2027,1,2030,1,2036,5,"",1,1,"Сунцов А.И.",3,"Халды","3Халды",1,1,null,1]
[86,29,"ВЛ-10 кВ ф-4 ПС Халды","VS010-9100129",1956,1977,null,null,2030,5,2030,5,2027,1,2030,1,2036,5,"",1,2,"Сунцов А.И.",4,"Халды","4Халды",1,2,null,3]
[77,73,"ВЛ-10 кВ ф-6 ПС Халды","VS010-9100130",1958,1973,2027,9,2030,9,2030,9,2027,9,2030,9,2030,9,"",9,2,"Сунцов А.И.",6,"Халды","6Халды",9,2,null,4]
[138,0,"ВЛ-10 кВ ф-12 ПС Халды","VS010-9100131",1956,1977,null,null,2028,9,2028,9,2028,9,2028,9,2028,9,"",9,3,"Сунцов А.И.",12,"Халды","12Халды",9,3,null,3]
[29,90,"ВЛ-10 кВ ф-13 ПС Халды","VS010-9100132",1957,1972,2029,9,2032,9,2032,9,2029,9,2032,9,2038,9,"",9,12,"Сунцов А.И.",13,"Халды","13Халды",9,12,null,9]
[11,31,"ВЛ-10 кВ ф-3 ПС Турна","VS010-9100124",1956,1971,2028,8,2028,8,2028,8,2028,2,2028,2,2028,8,"",2,1,"Сунцов А.И.",3,"Турна","3Турна",2,1,null,2]
[11,20,"ВЛ-10 кВ ф-4 ПС Турна","VS010-9100125",1953,1968,2028,8,2031,8,2031,8,2028,2,2031,2,2031,8,"",2,1,"Сунцов А.И.",4,"Турна","4Турна",2,1,null,5]
[54,210,"ВЛ-10 кВ ф-5 ПС Турна","VS010-9100126",1955,1970,2027,5,2030,5,2030,5,2027,11,2030,11,2030,5,"",11,5,"Сунцов А.И.",5,"Турна","5Турна",11,5,null,1]
[68,163,"ВЛ-10 кВ ф-6 ПС Турна","VS010-9100127",1956,1971,2028,9,2028,9,2028,9,2028,11,2028,11,2028,9,"",11,5,"Сунцов А.И.",6,"Турна","6Турна",11,5,null,3]
[263,66,"ВЛ-10 кВ ф-8 ПС Сюмси","VS010-9100143",1952,1967,2027,8,2030,8,2030,8,2027,1,2030,1,2030,8,"",1,2,"Абашев А.А.",8,"Сюмси","8Сюмси",1,2,null,10]
[82,370,"ВЛ-10 кВ ф-10 ПС Сюмси","VS010-9100144",1956,1971,2029,8,2029,8,2029,8,2029,1,2029,1,2029,8,"",1,9,"Абашев А.А.",10,"Сюмси","10Сюмси",1,9,null,13]
[258,130,"ВЛ-10 кВ ф-13 ПС Сюмси","VS010-9100145",1951,1966,2027,5,2030,5,2030,5,2027,2,2030,2,2030,5,"",2,7,"Абашев А.А.",13,"Сюмси","13Сюмси",2,7,null,7]
[190,9,"ВЛ-10 кВ ф-14 ПС Сюмси","VS010-9100146",1956,1971,2028,5,2028,5,2028,5,2028,2,2028,2,2028,5,"",2,6,"Абашев А.А.",14,"Сюмси","14Сюмси",2,6,null,5]
[167,54,"ВЛ-10 кВ ф-17 ПС Сюмси","VS010-9100147",1955,1970,2029,7,2029,7,2029,7,2029,3,2029,3,2029,7,"",3,3,"Абашев А.А.",17,"Сюмси","17Сюмси",3,3,null,12]
[130,20,"ВЛ-10 кВ ф-19 ПС Сюмси","VS010-9100148",1953,1968,2028,6,2031,6,2031,6,2028,11,2031,11,2031,6,"",11,6,"Абашев А.А.",19,"Сюмси","19Сюмси",11,6,null,16]
[50,312,"ВЛ-10 кВ ф-21 ПС Сюмси","VS010-9100149",1957,1972,2027,6,2030,6,2030,6,2027,11,2030,11,2030,6,"",11,5,"Абашев А.А.",21,"Сюмси","21Сюмси",11,5,null,3]
[232,27,"ВЛ-10 кВ ф-24 ПС Сюмси","VS010-9100150",1955,1970,2028,9,2028,9,2028,9,2028,9,2028,9,2034,9,"",9,10,"Абашев А.А.",24,"Сюмси","24Сюмси",9,10,null,28]
[267,18,"ВЛ-10 кВ ф-25 ПС Сюмси","VS010-9100151",1956,1971,2029,5,2029,5,2029,5,2029,2,2029,2,2029,5,"",2,5,"Абашев А.А.",25,"Сюмси","25Сюмси",2,5,null,8]
[247,396,"ВЛ-10 кВ ф-27 ПС Сюмси","VS010-9100152",1953,1968,2027,4,2030,4,2030,4,2027,4,2030,4,2030,4,"",4,10,"Абашев А.А.",27,"Сюмси","27Сюмси",4,10,null,15]
[176,99,"ВЛ-10 кВ ф-1 ПС Сюрек","VS010-9100153",1956,1971,2028,5,2028,5,2028,5,2028,5,2028,5,2028,5,"",5,3,"Абашев А.А.",1,"Сюрек","1Сюрек",5,3,null,3]
[86,0,"ВЛ-10 кВ ф-2 ПС Сюрек","VS010-9100154",1941,1962,null,null,2031,5,2031,5,2028,5,2031,5,2031,5,"",5,4,"Абашев А.А.",2,"Сюрек","2Сюрек",5,4,null,4]
[6,64,"ВЛ-10 кВ ф-5 ПС Сюрек","VS010-9100155",1955,1970,2027,5,2027,5,2027,5,2027,5,2027,5,2027,5,"",5,4,"Абашев А.А.",5,"Сюрек","5Сюрек",5,4,null,3]
[168,0,"ВЛ-10 кВ ф-7 ПС Сюрек","VS010-9100156",1941,1962,null,null,2031,6,2031,6,2028,6,2031,6,2031,6,"",6,4,"Абашев А.А.",7,"Сюрек","7Сюрек",6,4,null,9]
[96,0,"ВЛ-10 кВ ф-23 ПС Орловская","VS010-9100142",1947,1968,null,null,2032,9,2032,9,2029,9,2032,9,2038,9,"",9,5,"Абашев А.А.",23,"Орловская","23Орловская",9,5,null,0]
[144,130,"ВЛ-10 кВ ф-14 ПС Сюрек","VS010-9100157",1955,1970,2029,9,2029,9,2029,9,2029,12,2029,12,2029,9,"",12,3,"Абашев А.А.",14,"Сюрек","14Сюрек",12,3,null,10]
[399,22,"ВЛ-10 кВ ф-1 ПС Гура","VS010-9100133",1952,1967,2027,7,2030,7,2030,7,2027,7,2030,7,2030,7,"",7,12,"Абашев А.А.",1,"Гура","1Гура",7,12,null,2]
[13,48,"ВЛ-10 кВ ф-5 ПС Гура","VS010-9100134",1955,1970,2027,7,2027,7,2027,7,2027,7,2027,7,2027,7,"",7,7,"Абашев А.А.",5,"Гура","5Гура",7,7,null,3]
[80,145,"ВЛ-10 кВ ф-8 ПС Гура","VS010-9100135",1951,1966,2027,7,2027,7,2027,7,2027,7,2027,7,2027,7,"",7,4,"Абашев А.А.",8,"Гура","8Гура",7,4,null,7]
[145,207,"ВЛ-10 кВ ф-12 ПС Гура","VS010-9100136",1950,1965,2028,8,2028,8,2028,8,2028,8,2028,8,2028,8,"",8,5,"Абашев А.А.",12,"Гура","12Гура",8,5,null,8]
[152,127,"ВЛ-10 кВ ф-13 ПС Гура","VS010-9100137",1954,1969,2028,8,2028,8,2028,8,2028,8,2028,8,2028,8,"",8,11,"Абашев А.А.",13,"Гура","13Гура",8,11,null,8]
[200,54,"ВЛ-10 кВ ф-5 ПС Мир","VS010-9100138",1954,1969,2028,10,2031,10,2031,10,2028,10,2031,10,2031,10,"",10,10,"Абашев А.А.",5,"Мир","5Мир",10,10,null,2]
[77,119,"ВЛ-10 кВ ф-6 ПС Мир","VS010-9100139",1955,1970,2027,10,2027,10,2027,10,2027,10,2027,10,2027,10,"",10,8,"Абашев А.А.",6,"Мир","6Мир",10,8,null,4]
[4,30,"ВЛ-10 кВ ф-7 ПС Мир","VS010-9100140",1956,1971,2028,10,2028,10,2028,10,2028,10,2028,10,2028,10,"",10,12,"Абашев А.А.",7,"Мир","7Мир",10,12,null,2]
[101,155,"ВЛ-10 кВ ф-8 ПС Мир","VS010-9100141",1950,1965,2028,10,2028,10,2028,10,2028,10,2028,10,2028,10,"",10,6,"Абашев А.А.",8,"Мир","8Мир",10,6,null,10]
[508,0,"ВЛ-10 кВ ф-7 ПС Ува","VS010-9100175",1954,1975,null,null,2031,6,2031,6,2028,12,2031,12,2037,6,"",12,7,"Зубарев А.П.",7,"Ува","7Ува",12,7,null,9]
[182,2,"ВЛ-10 кВ ф-10 ПС Ува","VS010-9100176",1954,1969,2029,6,2029,6,2029,6,2029,12,2029,12,2035,6,"",12,10,"Зубарев А.П.",10,"Ува","10Ува",12,10,null,2]
[200,2,"ВЛ-10 кВ ф-13 ПС Ува","VS010-9100177",1959,1974,2029,5,2032,5,2032,5,2029,12,2032,12,2038,5,"",12,9,"Зубарев А.П.",13,"Ува","13Ува",12,9,null,5]
[0,0,"КЛ 10 кВ Ф-13 ПС Ува","KS010-9100013","","",null,null,null,null,null,null,null,null,null,null,null,null,"",12,9,"Зубарев А.П.",13,"Ува","13Ува",12,9,null,5]
[0,0,"КЛ 10 кВ Ф-27 ПС Ува","KS010-9100005",2015,2027,null,null,null,null,null,null,null,null,null,null,null,null,"4",4,12,"Зубарев А.П.",27,"Ува","27Ува",4,12,null,0]
[463,124,"ВЛ-10 кВ ф-2 ПС Садовая","VS010-9100166",2022,2028,2027,9,2030,9,2030,9,2027,1,2030,1,2030,9,"",1,5,"Зубарев А.П.",2,"Садовая","2Садовая",1,5,null,21]
[18,0,"ВЛ-10 кВ ф-3 ПС Садовая","VS010-9100167",2024,2036,null,null,2032,9,2032,9,2029,1,2032,1,2038,9,"",1,5,"Зубарев А.П.",3,"Садовая","3Садовая",1,5,null,0]
[351,0,"ВЛ 10 кВ Ф-10 ПС Садовая 1ц","VS010-9100320","","",null,null,2032,5,2032,5,2029,12,2032,12,2032,5,"",12,8,"Зубарев А.П.",10,"Садовая","10Садовая",12,8,null,0]
[5,0,"ВЛ 10 кВ Ф-10 ПС Садовая 2ц","VS010-9100322","","",null,null,2032,5,2032,5,2029,12,2032,12,2032,5,"",12,8,"Зубарев А.П.",10,"Садовая","10Садовая",12,8,null,0]
[26,1,"ВЛ-10 кВ ф-13 ПС Садовая","VS010-9100168",2024,2030,2029,8,2032,8,2032,8,2029,3,2032,3,2038,8,"",3,5,"Зубарев А.П.",13,"Садовая","13Садовая",3,5,null,1]
[326,1,"ВЛ-10 кВ ф-20 ПС Садовая","VS010-9100169",2022,2028,2029,8,2029,8,2029,8,2029,3,2029,3,2035,8,"",3,9,"Зубарев А.П.",20,"Садовая","20Садовая",3,9,null,8]
[50,0,"ВЛ-10 кВ ф-1 ПС Калининская","VS010-9100160",2025,2037,null,null,2031,9,2031,9,2028,9,2031,9,2031,9,"",9,8,"Зубарев А.П.",1,"Калининская","1Калининская",9,8,null,1]
[60,0,"ВЛ-10 кВ ф-3 ПС Калининская","VS010-9100161",2015,2027,null,null,2030,9,2030,9,2027,9,2030,9,2030,9,3,9,3,"Зубарев А.П.",3,"Калининская","3Калининская",9,3,null,8]
[160,0,"ВЛ-10 кВ ф-6 ПС Калининская","VS010-9100162",2025,2037,null,null,2030,9,2030,9,2027,9,2030,9,2030,9,"",9,3,"Зубарев А.П.",6,"Калининская","6Калининская",9,3,null,4]
[17,1,"ВЛ-10 кВ ф-4 ПС Жикья","VS010-9100158",2022,2028,2028,4,2028,4,2028,4,2028,4,2028,4,2028,4,"",4,4,"Зубарев А.П.",4,"Жикья","4Жикья",4,4,null,2]
[146,95,"ВЛ-10 кВ ф-10 ПС Жикья","VS010-9100159",2022,2028,2029,4,2032,4,2032,4,2029,4,2032,4,2038,4,"",4,7,"Зубарев А.П.",10,"Жикья","10Жикья",4,7,null,9]
[33,0,"ВЛ-10 кВ ф-20 ПС Полевая","VS010-9100163",2024,2036,null,null,2029,4,2029,4,2029,4,2029,4,2035,4,"",4,6,"Зубарев А.П.",20,"Полевая","20Полевая",4,6,null,2]
[7,0,"ВЛ-10 кВ ф-1 ПС Удугучин","VS010-9100178",2023,2035,null,null,2029,8,2029,8,2029,3,2029,3,2035,8,"",3,3,"Зубарев А.П.",1,"Удугучин","1Удугучин",3,3,null,1]
[208,4,"ВЛ-10 кВ ф-2 ПС Удугучин","VS010-9100179",2023,2029,2028,8,2031,8,2031,8,2028,3,2031,3,2037,8,"",3,10,"Зубарев А.П.",2,"Удугучин","2Удугучин",3,10,null,7]
[57,2,"ВЛ-10 кВ ф-7 ПС Удугучин","VS010-9100180",2023,2029,2029,4,2029,4,2029,4,2029,2,2029,2,2035,4,"",2,4,"Зубарев А.П.",7,"Удугучин","7Удугучин",2,4,null,9]
[71,3,"ВЛ-10 кВ ф-10 ПС Удугучин","VS010-9100181",2021,2027,2029,6,2029,6,2029,6,2029,6,2029,6,2035,6,3,6,3,"Зубарев А.П.",10,"Удугучин","10Удугучин",6,3,null,8]
[137,0,"ВЛ-10 кВ ф-12 ПС Удугучин","VS010-9100182",2024,2030,2029,6,2032,6,2032,6,2029,6,2032,6,2038,6,"",6,4,"Зубарев А.П.",12,"Удугучин","12Удугучин",6,4,null,2]
[117,4,"ВЛ-10 кВ ф-16 ПС Удугучин","VS010-9100183",2023,2035,null,null,2029,6,2029,6,2029,6,2029,6,2035,6,"",6,9,"Зубарев А.П.",16,"Удугучин","16Удугучин",6,9,null,5]
[54,3,"ВЛ-10 кВ ф-1 ПС Мушковай","VS010-9100282",2022,2034,null,null,2028,10,2028,10,2028,10,2028,10,2028,10,"",10,4,"Зубарев А.П.",1,"Мушковай","1Мушковай",10,4,null,7]
[77,116,"ВЛ-10 кВ ф-4 ПС Мушковай","VS010-9100283",2023,2029,2027,10,2030,10,2030,10,2027,10,2030,10,2036,10,"",10,7,"Зубарев А.П.",4,"Мушковай","4Мушковай",10,7,null,5]
[407,162,"ВЛ-10 кВ ф-6 ПС Мушковай","VS010-9100284",2023,2029,2028,10,2028,10,2028,10,2028,11,2028,11,2028,10,"",11,4,"Зубарев А.П.",6,"Мушковай","6Мушковай",11,4,null,15]
[289,5,"ВЛ-10 кВ ф-10 ПС Мушковай","VS010-9100285",2021,2027,2029,10,2029,10,2029,10,2029,11,2029,11,2035,10,"4",11,9,"Зубарев А.П.",10,"Мушковай","10Мушковай",11,9,null,6]
[29,0,"ВЛ-10 кВ ф-13 ПС Мушковай","VS010-9100286",2012,2024,null,null,2030,10,2030,10,2027,10,2030,10,2036,10,"",10,9,"Зубарев А.П.",13,"Мушковай","13Мушковай",10,9,null,3]
[38,0,"ВЛ-10 кВ ф-6 ПС Тукля","VS010-9100170",2010,2022,null,null,2029,7,2029,7,2029,7,2029,7,2035,7,"",7,7,"Зубарев А.П.",6,"Тукля","6Тукля",7,7,null,5]
[304,0,"ВЛ-10 кВ ф-8 ПС Тукля","VS010-9100171",2010,2022,null,null,2031,5,2031,5,2028,5,2031,5,2031,5,"",5,9,"Зубарев А.П.",8,"Тукля","8Тукля",5,9,null,11]
[390,19,"ВЛ-10 кВ ф-11 ПС Тукля","VS010-9100172",2024,2030,2027,7,2030,7,2030,7,2027,7,2030,7,2036,7,"",7,11,"Зубарев А.П.",11,"Тукля","11Тукля",7,11,null,14]
[11,0,"ВЛ-10 кВ ф-13 ПС Тукля","VS010-9100173",2007,2019,null,null,2031,5,2031,5,2028,5,2031,5,2031,5,"",5,7,"Зубарев А.П.",13,"Тукля","13Тукля",5,7,null,0]
[256,16,"ВЛ-10 кВ ф-18 ПС Тукля","VS010-9100174",2021,2027,2027,8,2027,8,2027,8,2027,8,2027,8,2033,8,"4",8,9,"Зубарев А.П.",18,"Тукля","18Тукля",8,9,null,21]
[22,0,"ВЛ-10 кВ ф-6 ПС Рябово","VS010-9100164",2017,2029,null,null,2030,7,2030,7,2027,2,2030,2,2030,7,"",2,7,"Зубарев А.П.",6,"Рябово","6Рябово",2,7,null,1]
[73,0,"ВЛ-10 кВ ф-11 ПС Рябово","VS010-9100165",2013,2025,null,null,2031,7,2031,7,2028,2,2031,2,2037,7,"",2,7,"Зубарев А.П.",11,"Рябово","11Рябово",2,7,null,5]
[22,0,"ВЛ-10 кВ ф-14 ПС Каркалай","VS010-9100296",2023,2035,null,null,2029,7,2029,7,2029,2,2029,2,2035,7,"",2,7,"Зубарев А.П.",14,"Каркалай","14Каркалай",2,7,null,2]
[16,0,"ВЛ-10 кВ ф-1 ПС Нылга","VS010-9100196",2016,2028,null,null,2028,10,2028,10,2028,10,2028,10,2028,10,"",10,11,"Токарев С.Г.",1,"Нылга","1Нылга",10,11,null,2]
[238,0,"ВЛ-10 кВ ф-3 ПС Нылга","VS010-9100197",2024,2036,null,null,2027,10,2027,10,2027,10,2027,10,2027,10,"",10,6,"Токарев С.Г.",3,"Нылга","3Нылга",10,6,null,7]
[44,7,"ВЛ-10 кВ ф-4 ПС Нылга","VS010-9100198",2022,2028,2029,4,2032,4,2032,4,2029,4,2032,4,2038,4,"",4,11,"Токарев С.Г.",4,"Нылга","4Нылга",4,11,null,4]
[226,1,"ВЛ-10 кВ ф-5 ПС Нылга","VS010-9100199",2022,2028,2028,8,2031,8,2031,8,2028,3,2031,3,2031,8,"",3,4,"Токарев С.Г.",5,"Нылга","5Нылга",3,4,null,4]
[36,0,"ВЛ-10 кВ ф-9 ПС Нылга","VS010-9100200",2025,2037,null,null,2031,4,2031,4,2028,4,2031,4,2037,4,"",4,11,"Токарев С.Г.",9,"Нылга","9Нылга",4,11,null,6]
[376,0,"ВЛ-10 кВ ф-10 ПС Нылга","VS010-9100201",2024,2036,null,null,2029,4,2029,4,2029,2,2029,2,2029,4,"",2,11,"Токарев С.Г.",10,"Нылга","10Нылга",2,11,null,15]
[18,21,"ВЛ-10 кВ ф-11 ПС Нылга","VS010-9100202",2019,2025,2028,8,2031,8,2031,8,2028,3,2031,3,2031,8,"",3,4,"Токарев С.Г.",11,"Нылга","11Нылга",3,4,null,0]
[35,1,"ВЛ-10 кВ ф-15 ПС Нылга","VS010-9100203",2021,2027,2027,10,2027,10,2027,10,2027,3,2027,3,2027,10,4,3,4,"Токарев С.Г.",15,"Нылга","15Нылга",3,4,null,0]
[259,19,"ВЛ-10 кВ ф-16 ПС Нылга","VS010-9100204",2020,2026,2028,6,2028,6,2028,6,2028,1,2028,1,2028,6,"",1,7,"Токарев С.Г.",16,"Нылга","16Нылга",1,7,null,17]
[101,9,"ВЛ-10 кВ ф-19 ПС Нылга","VS010-9100240",2022,2028,2028,8,2028,8,2028,8,2028,8,2028,8,2034,8,"",8,8,"Токарев С.Г.",19,"Нылга","19Нылга",8,8,null,3]
[66,1,"ВЛ-10 кВ ф-21 ПС Нылга","VS010-9100205",2021,2027,2028,4,2031,4,2031,4,2028,3,2031,3,2037,4,4,3,4,"Токарев С.Г.",21,"Нылга","21Нылга",3,4,null,12]
[66,1,"ВЛ-10 кВ ф-1 ПС Кыйлуд","VS010-9100190",2022,2028,2028,8,2028,8,2028,8,2028,8,2028,8,2034,8,"",8,12,"Токарев С.Г.",1,"Кыйлуд","1Кыйлуд",8,12,null,5]
[17,0,"ВЛ-10 кВ ф-4 ПС Кыйлуд","VS010-9100191",2014,2026,null,null,2032,8,2032,8,2029,8,2032,8,2038,8,"",8,9,"Токарев С.Г.",4,"Кыйлуд","4Кыйлуд",8,9,null,2]
[134,1,"ВЛ-10 кВ ф-5 ПС Кыйлуд","VS010-9100192",2021,2027,2028,9,2032,9,2032,9,2029,9,2032,9,2038,9,"4",9,12,"Токарев С.Г.",5,"Кыйлуд","5Кыйлуд",9,12,null,3]
[16,0,"ВЛ-10 кВ ф-9 ПС Кыйлуд","VS010-9100193",2014,2026,null,null,2032,9,2032,9,2029,9,2032,9,2038,9,"",9,10,"Токарев С.Г.",9,"Кыйлуд","9Кыйлуд",9,10,null,1]
[130,0,"ВЛ-10 кВ ф-10 ПС Кыйлуд","VS010-9100194",2014,2026,null,null,2032,9,2032,9,2029,9,2032,9,2038,9,"",9,12,"Токарев С.Г.",10,"Кыйлуд","10Кыйлуд",9,12,null,3]
[80,0,"ВЛ-10 кВ ф-13 ПС Кыйлуд","VS010-9100195",2023,2035,null,null,2030,5,2030,5,2027,5,2030,5,2036,5,"",5,6,"Токарев С.Г.",13,"Кыйлуд","13Кыйлуд",5,6,null,1]
[82,0,"ВЛ-10 кВ ф-1 ПС Урал","VS010-9100206",2014,2026,null,null,2032,6,2032,6,2029,6,2032,6,2038,6,"",6,11,"Токарев С.Г.",1,"Урал","1Урал",6,11,null,10]
[371,2,"ВЛ-10 кВ ф-5 ПС Урал","VS010-9100207",2019,2025,2029,7,2029,7,2029,7,2029,7,2029,7,2029,7,"",7,8,"Токарев С.Г.",5,"Урал","5Урал",7,8,null,6]
[140,0,"ВЛ-10 кВ ф-10 ПС Урал","VS010-9100208",2024,2036,null,null,2030,9,2030,9,2027,11,2030,11,2036,9,"",11,4,"Токарев С.Г.",10,"Урал","10Урал",11,4,null,4]
[323,4,"ВЛ-10 кВ ф-12 ПС Урал","VS010-9100209",2025,2031,2027,5,2030,5,2030,5,2027,12,2030,12,2030,5,"",12,12,"Токарев С.Г.",12,"Урал","12Урал",12,12,null,15]
[12,0,"ВЛ-10 кВ ф-15 ПС Урал","VS010-9100210",2019,2031,null,null,2031,6,2031,6,2028,3,2031,3,2031,6,"",3,4,"Токарев С.Г.",15,"Урал","15Урал",3,4,null,0]
[16,0,"ВЛ-10 кВ ф-1 ПС Булай","VS010-9100184",2015,2027,null,null,2027,7,2027,7,2027,7,2027,7,2027,7,4,7,4,"Токарев С.Г.",1,"Булай","1Булай",7,4,null,1]
[31,0,"ВЛ-10 кВ ф-5 ПС Булай","VS010-9100185",2015,2027,null,null,2027,7,2027,7,2027,7,2027,7,2027,7,4,7,4,"Токарев С.Г.",5,"Булай","5Булай",7,4,null,4]
[168,2,"ВЛ-10 кВ ф-7 ПС Булай","VS010-9100186",2023,2035,null,null,2029,5,2029,5,2029,5,2029,5,2035,5,"",5,6,"Токарев С.Г.",7,"Булай","7Булай",5,6,null,8]
[62,4,"ВЛ-10 кВ ф-10 ПС Булай","VS010-9100187",2023,2029,2029,7,2029,7,2029,7,2029,7,2029,7,2035,7,"",7,4,"Токарев С.Г.",10,"Булай","10Булай",7,4,null,8]
[305,24,"ВЛ-10 кВ ф-11 ПС Булай","VS010-9100188",2025,2031,2027,9,2027,9,2027,9,2027,11,2027,11,2027,9,"",11,12,"Токарев С.Г.",11,"Булай","11Булай",11,12,null,8]
[32,41,"ВЛ-10 кВ ф-14 ПС Булай","VS010-9100189",2021,2027,2029,7,2032,7,2032,7,2029,7,2032,7,2038,7,4,7,4,"Токарев С.Г.",14,"Булай","14Булай",7,4,null,0]
[45,0,"ВЛ-10 кВ Ф-1 ПС Мултан","VS010-9100222","","",null,null,2029,7,2029,7,2029,7,2029,7,2034,7,"",7,8,"Зубарев А.П.",1,"Мултан","1Мултан",7,8,null,0]
[142,9,"ВЛ-10кВ Ф-13 ПС Каркалай (арен)","VS010-9100231","","",2028,7,2031,7,2031,7,2028,2,2031,2,2037,7,"",2,7,"Зубарев А.П.",13,"Каркалай","13Каркалай",2,7,null,1]
[2,0,"ВЛ-10кВ Ф-17 ПС Ува (аб)","VS010-9100224","","",null,null,null,null,null,null,null,null,null,null,null,null,"",12,8,"Зубарев А.П.",17,"Ува","17Ува",12,8,null,0]
[10,0,"ВЛ-10кВ Ф-33 ПС Ува (аб)","VS010-9100041","","",null,null,null,null,null,null,null,null,null,null,null,null,"",12,8,"Зубарев А.П.",33,"Ува","33Ува",12,8,null,1]
[4,0,"ВЛ-10кВ Ф-8 ПС Садовая (аб)","VS010-9100298","","",null,null,null,null,null,null,null,null,null,null,null,null,"",3,5,"Зубарев А.П.",8,"Садовая","8Садовая",3,5,null,1]
[0,0,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,""]
[0,0,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,""]
[0,0,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,""]
[0,0,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,""]
[0,0,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,""]
[0,0,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,""]
[0,0,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,""]