{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Лист1","Лист2","Лист3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":22,"n_cols":22,"rows_kept":22,"cut":false,"hidden":false,"merged":[[0,0,0,15],[0,17,0,19],[1,0,2,0],[1,1,2,1],[1,2,1,15],[1,17,2,17],[1,18,2,18],[1,19,2,19]]}
["Необходимо заполнить",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Выходные данные",null,null,null,"AX2"]
["Артикул","Количество","Параметр",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Артикул","Наименование","Количество"]
[null,null,"A","B","C","D1","D2","D3","D4","DF","X1","X2","X3","X4","X5","H"]
["PTA13ESEF2AA000",1,508,508,508,null,null,null,null,null,null,null,45,null,null,null,null,"PTA13ESEF2AA108","Секция прямая без точек отвода L=500-2999мм, Al, 3P+N+Pe, 1250А, IP55, 508",1]
["PTC50ESEF2AA000",25,501,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"PTC50ESEF2AA03X","Секция прямая без точек отвода L=500-2999мм, Al, 3P+N+Pe, 5000А, IP55, 501",25]
["PTC20ESEF2AA000",67,502,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"PTC20ESEF2AA03Y","Секция прямая без точек отвода L=500-2999мм, Al, 3P+N+Pe, 2000А, IP55, 502",67]
["PTC20ESEF2AA000",0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<<<< Отсутствует условие поиска >>>>"]
["PTC20ESEF2AA000",0,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,"<<<< Отсутствует в базе данных, необходимо обратиться к менеджеру по продукту >>>>"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<<<< Отсутствует в базе данных, необходимо обратиться к менеджеру по продукту >>>>"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<<<< Отсутствует в базе данных, необходимо обратиться к менеджеру по продукту >>>>"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000"]
["PTC20ESEF2AA000",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<<<< Отсутствует в базе данных, необходимо обратиться к менеджеру по продукту >>>>"]

{"sheet":"Лист2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Лист3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}