{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":35,"n_cols":13,"rows_kept":35,"cut":false,"hidden":false,"merged":[[2,9,2,11],[2,0,3,0],[2,1,2,2],[2,3,3,3],[2,4,3,4],[2,5,3,5]]}
[]
[]
["Дата",null,null,"Отгрузка по уровнемерам, тн ","Отгрузка по расходомерам налива, тн ","Дельта, расчетная, тн",null,null,null,"ЕК-2"]
[null,"Масса нефтепродукта до отгрузки, тн (расчет)","Масса нефтепродукта после отгрузки, тн(расчет)",null,null,null,null,"Погрешность уровень","Погрешность Массомер","δ,тонн ","δ,тонн ","КДО\nтонн","отрицательный КДО\nтонн"]
["01.10.2022",124.86499999999999,31.097000000000001,{"$f":"B5-C5","v":93.768000000000001},94.6,{"$f":"D5-E5","v":-0.83199999999999363},null,0.5,0.25,{"$f":"H5*D5/100","v":0.46883999999999998},{"$f":"I5*E5/100","v":0.23649999999999999},{"$f":"1.1*SQRT((J5)^2+(K5)^2)","v":0.57762381068996804},{"$f":"-L5","v":-0.57762381068996804}]
["02.10.2022",121.309,27.518000000000001,93.790999999999997,94.191999999999993,{"$f":"D6-E6","v":-0.40099999999999625},null,0.5,0.25,0.46895500000000001,0.23547999999999999,0.57723239958811223,-0.57723239958811223]
["03.10.2022",119.295,25.582999999999998,90.7,90,0.70000000000000284,null,0.5,0.25,0.45350000000000001,0.22500000000000001,0.55687303086071616,-0.55687303086071616]
["04.10.2022",114.718,21.045999999999999,64,64.55,-0.54999999999999716,null,0.5,0.25,0.32,0.16137499999999999,0.39422669576812025,-0.39422669576812025]
["05.10.2022",111.82899999999999,49.395000000000003,{"$f":"B9-C9","v":62.43399999999999},62.704000000000001,-0.27000000000001023,null,0.5,0.25,0.31216999999999995,0.15676000000000001,0.3842509672922112,-0.3842509672922112]
["06.10.2022",140.25200000000001,46.735999999999997,93.51600000000002,94.093000000000004,-0.57699999999998397,null,0.5,0.25,0.46758000000000011,0.23523250000000001,0.57575873106889375,-0.57575873106889375]
["07.10.2022",140.25200000000001,46.735999999999997,93.51600000000002,92.3,1.2160000000000224,null,0.5,0.25,0.46758000000000011,0.23074999999999998,{"$f":"1.1*SQRT((J11)^2+(K11)^2)","v":0.57355968204625418},-0.57355968204625418]
["08.10.2022",140.25200000000001,46.735999999999997,93.51600000000002,93.998999999999995,-0.48299999999997567,null,0.5,0.25,{"$f":"H12*D12/100","v":0.46758000000000011},{"$f":"I12*E12/100","v":0.2349975},{"$f":"1.1*SQRT((J12)^2+(K12)^2)","v":0.57564260309810522},-0.57564260309810522]
["09.10.2022",114.624,21.045999999999999,93.578000000000003,93,0.57800000000000296,null,0.5,0.25,0.46789000000000003,0.23250000000000001,0.57471952771852119,-0.57471952771852119]
["10.10.2022",114.758,21.045999999999999,93.711999999999989,94.29,-0.57800000000001717,null,0.5,0.25,0.46855999999999992,0.23572500000000002,0.57696520394409401,-0.57696520394409401]
["11.10.2022",110,20,90,90.57,-0.56999999999999318,null,0.5,0.25,0.45,0.22642499999999999,0.55412960537788458,-0.55412960537788458]
["12.10.2022",130,30,100,100.63,-0.62999999999999545,null,0.5,0.25,0.5,0.25157499999999999,0.61569544139635313,-0.61569544139635313]
["13.10.2022",140,25,115,115.79,-0.79000000000000625,null,0.5,0.25,0.57499999999999996,0.28947500000000004,0.70813073546220973,-0.70813073546220973]
["14.10.2022",98,35,63,63.2,-0.20000000000000284,null,0.5,0.25,0.315,0.158,0.38764505672070682,-0.38764505672070682]
["15.10.2022",98,35,63,63.41,-0.40999999999999659,null,0.5,0.25,0.315,0.158525,0.38790432132969338,-0.38790432132969338]
["16.10.2022",98,35.1,62.9,63.45,-0.55000000000000426,null,0.5,0.25,0.3145,0.15862500000000002,0.38746263065778358,-0.38746263065778358]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]
[null,null,null,0,0,0,null,0.5,0.25,0,0,0,0]